Code No: 210256

### OR

II-B.Tech I-Semester Supplementary Examinations May /June, 2004

ELECTRO MECHANICS -I

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 70

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	Derive expression for the forces developed in Electromagnetic system.

b)	All Energy conversion devices use magnetic field as a coupling medium rather than electrical field. Explain Why?

2.	Explain with neat sketches, the difference between progressive and retrogressive winding of a d. c. machine.

3. a) 	With neat sketches, explain the commutation process in d. c. generator.

b)	With the help of neat sketches, explain the effect of armature reaction on the air gap flux in a d. c. generator.

4. 	Estimate the number of series turns/pole for a 500KW compound generator required to develop 500V on load, and 550V at full load, the required ampere-turns per pole being 7900 and 11200 at no load and full load respectively. The shunt winding is designed to give 500V on load where its temperature is 20oC. Its final temperature on load is 60oC.

5. a)	Develop the general expression for the speed of a motor in terms of supply voltage, armature resistance and flux per pole.

b)	Discuss the applications of series motors and compound motors.

6. a)	Discuss about ward-Leonard system method of Speed Control of D.C. machines in detail.

b)	In a shunt machine, running at 500 rpm, the hysteresis and eddy current losses are 250W and 150W respectively.  Find the speed at which the total core losses are reduced by 30%.

7. a)	Explain the merits and demerits of a brake test on a DC motor?

b)	A 230V DC shunt motor having an armature resistance of 0.3W takes 3A excluding a field current of 1A when running on no-load. Determine its efficiency taking currents as i) 30A; ii) 50A and iii) 70A.

8. a)	What are advantages and disadvantages of field test on DC series machines?

b)	A 480 V, 25 HP DC shunt motor took 2.6 A when running light. Find the full load efficiency taking armature resistance 0.5 W, field resistance 600 W and brush drop 2V .

###