Code No: NR-211001

Set No:

1

II-B.Tech. I-Semester Supplementary Examinations, May/June-2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering and Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Explain the constructional features of a D.C. Machine with the help of a neat sketch.

b)	Name the main parts of a D.C. Machine and state the materials of which each part is made.

# c)	Explain different methods of excitation of D.C. Generators with suitable diagrams.

2.a)	Explain back e.m.f. in a D.C. Motor. Explain the effect of field current on the speed of a D.C. Motor.

b)	Derive an expression for the speed of a D.C. Motor in terms of back e.m.f. and flux per pole.

# c)	A 250 V d.c. shunt motor has an armature resistance of 0.5  and a field resistance of 250 . When driving a load of constant torque at 600 rpm, the armature current is 20 A. If it is desired to raise the speed from 600 to 800 rpm, what resistance should be inserted in the shunt field circuit? Assume that the magnetic circuit is unsaturated.

3.a)	Draw the equivalent circuit of a transformer and show how the constants of

primary and secondary windings may be combined to give a simplified equivalent circuit with the values of constants given in terms of secondary winding.

# Explain the constructional details of 1-Phase transformer.

4.a)	Explain the O.C. and S.C. tests on the transformer and hence explain the evaluation of equivalent circuit from it.

b) 	In a 25 kVA, 2000/200 V transformer the iron and copper losses are 350 and     400 W respectively. Calculate the efficiency on upf at (i) full load and (ii) half load. (iii) Determine the load for maximum efficiency and the copper loss in this case.

5.a)	Define voltage regulation of an alternator. Explain synchronous impedance method of determining regulation of an alternator.

# b) 	Calculate the voltage induced per phase in a 3phase 50 Hz, alternator having a flux per pole of 0.1515 wb. The no. of conductors in series are 360. Assume full pitch coil with a distribution factor of 0.96.

Contd…2

Code No. NR-211001		     		       -2-				         Set No.1

6.a)	Explain why the rotor of polyphase induction motor can never attain synchronous speed.

# b) 	A 10 kW, 400 V, 3-phase, 4-pole, 50 Hz delta connected induction motor is running at no load with a line current of 8 A and an input power of 660 watts. At full load, the line current is 18 A and the input power is 11.20 kW. Stator effective resistance per phase is 1.2  and friction, windage loss is 420 watts. For negligible rotor ohmic losses at no load, calculate, (i) stator core loss ; (ii) total rotor losses at full load ; (iii) total rotor ohmic losses at full load ; (iv) full load speed; (v) internal torque, shaft torque and motor, efficiency.

7.a)	Draw the phasor diagram of the synchronous generator on load. Explain the meaning synchronous reactance.

# b)	 A 4 pole, 400 V, 50 HZ, 3 phase star connected synchronous motor has a synchronous reactance of 2.0 ohm per phase. The resistance of the stator winding is negligible. The field excitation is so adjusted that the e.m.f induced is equal to the supply voltage. On application of a certain load the rotor is retarded by 4 mechanical degrees. Find the armature current drawn by the motor.

# 8.a)	Describe the construction and working principle of shaded pole induction motor.

# b)	Discuss the differences between capacitor start, capacitor run and permanent split capacitor motors.

# ^^^

Code No: NR-211001

Set No:

2

II-B.Tech. I-Semester Supplementary Examinations, May/June-2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering and Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Enumerate the various losses and their remedy to minimize them in a D.C. Machine.

b)	How do hysteresis, eddy current, friction and windage losses depend upon the speed of a D.C. Machine? Explain.

c)	A 200V D.C. Shunt machine has armature and field resistances 0.2 and 200 

respectively. The line current is 40 A. Find i) output as generator, ii) input as motor iii) power developed in armature and iv) copper losses in both the cases.

2.a)	What is the significance of the back e.m.f. of a D.C. Motor?

b)	Deduce the condition for maximum power for a D.C. Motor?

# c)	A 220 V shunt motor with an armature resistance of 0.5  is excited to give constant main field. At full load the motor runs at 500 rpm and takes an armature current of 30 A. If a resistance of 1.0  is placed in the armature circuit, find the speed at (i) full-load torque (ii) double full-load torque.

3.a)	Explain the principle of operation of a single-phase transformer when it supplies lagging power factor load. Draw the phasor diagram under this condition.

b) 	A 4 kVA, 200 / 400 V, 50 Hz, transformer gave the following the test figures:

No Load:	 Low voltage data: 200 V, 0.7 A, 60 W;

Short Circuit: High voltage data: 9 V, 6 A, 21.6 W.

Calculate the magnetizing current and component corresponding to iron loss at normal voltage and frequency.  Find the efficiency on full load at unity power factor.  Also determine the regulation at half-full load 0.707 leading power factor.

4.a)	Derive the expression for approximate regulation for a transformer operating on lagging power factor load.

b) 	A 50 Hz, 1-phase transformer has a turn ratio of 6. The resistances are 0.9  and 0.03 , and the reactances are 5  and 0.13  per high voltage and low voltage windings respectively. Find (i) the voltage to be applied to the high voltage side to obtain full load current of 200 A in the low voltage winding on short circuit, (ii) the power factor on short circuit.

Contd…2

Code No. NR-211001		     		       -2-				         Set No.2

5.a)	With a neat sketch, explain the construction of a 3-phase induction motor.

b) 	3-phase, 4-pole, 1440 rpm, 50 Hz induction motor has star-connected rotor winding, having a resistance of 0.2  per phase and a standstill leakage reactance of 1  per phase. When the stator is energised at rated voltage and frequency, the rotor-induced e.m.f at standstill is 120 V per phase.

i) calculate the rotor current, rotor power factor and torque both at starting and at full load and compare these results

# ii) If an external resistance of 1 ohm per phase is inserted in rotor circuit, calculate rotor current, rotor power factor and torque at the time of starting.

6.a)	Explain the synchronous impedance method of computing the voltage regulation.

b) 	A 3 phase, 12 pole, star connected alternator has 180 slots with 10 conductors per slot and the conductors of each phase are connected in series. The coil span is 144 degrees (electrical). Determine the phase and line value of e.m.f. If the machine runs at 1600 r.p.m and the flux per pole is 0.06 Weber distributed sinusoidally over the pole.

7.a)	Explain the principle of synchronous motors.

# b) 	A 3-phase alternator is rated at 5 KVA, 110 V, 26.3 A, 50 Hz and 1200 r.p.m. The stator resistance between terminals as measured with dc is 0.2 ohm. With no load and rated speed the stator line voltage is 160 V for a field current of 4A.At rated speed, the short circuit stator current per terminal is 50 A for a field current of 4A. Compute voltage regulation of alternator at 0.8 p.f. Lagging, using synchronous impedance method.

8.a)	Draw a diagram showing the construction of a stepper motor and discuss  its operation.

b) 	Discuss the various applications of stepper motor.

# ^^^

Code No: NR-211001

Set No:

3

II-B.Tech. I-Semester Supplementary Examinations, May/June-2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering and Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Explain the basic principle of operation of a D.C. Generator?

b)	Discuss the reasons for failure of self excitation, and suggest the remedies.

# c)	A 250 V d.c. shunt machine has line current of 80 A. It has armature and field resistances of 0.1  and 125  respectively. Calculate power developed in armature when running as i) generator  ii) motor.

2.a)	Explain the various methods of speed control of a D.C. Shunt Motor.

# b)	A 460 V d.c. series motor runs at 1000 rpm taking a current of 40 A. Calculate the speed and percentage change in torque if the load is reduced so that the motor is taking 30 A. Total resistance of the armature and field circuits is   0.8 . Assume flux is proportional to the field current.

3.a)	Explain the principal of operation of transformer.  Derive its e. m. f. equation.

b) 	A 1-phase transformer has 180 turns respectively in its secondary and primary windings. The respective resistances are 0.233  and 0.067 . Calculate the equivalent resistance of (i) the primary in terms of the secondary winding, (ii) the secondary in terms of the primary winding, and (c) the total resistance of the transformer in terms of the primary.

4.a)	Efficiency and regulation can be predicted from OC and SC tests’. Justify.

b) 	A 5 kVA, 1-phase transformer rated at 50 Hz, 200 / 400 volts gave the following test data:

S.C. Test: 9 Volts, 6 Amps, and 21.6 Watts (on HV side);

O. C. Test: 200 Volts, 0.7 Amps, 60 Watts (on LV side);

For the above transformer: Draw the equivalent circuit and insert the various parameters on it referred to I) primary and ii) secondary.

5.a)	Explain the constructional details of a synchronous machine giving the reasons for making two different types of rotors.

# b)	A 100 KVA, 3000 V, 50 Hz,3-phase star connected alternator has effective armature resistance of 0.2 ohm. A field current of 40 A produces short circuit current of 200 A and on open circuit e.m.f of 1100 V(line value). Calculate the full load percentage regulation at a power factor of 0.8 lagging.

Contd…2

Code No. NR-211001		     		       -2-				         Set No.3

6.a)	How the torque-speed characteristics of a motor are modified, (i) if rotor resistance is increased.

# b)	(i) A 3-phase, 6-pole, slip-ring induction machine is directly driven from the shaft by a 4-polo 3-phase synchronous motor. If stator of both the machines are given a 50 Hz supply, what frequencies are available at the rotor slip-rings of the induction machine. (ii) A 3-phase, 50 Hz, induction motor has a starting torque which is 1.25 times full-load torque and a maximum torque which is 2.50 times full-load torque. Neglecting stator resistance and rotational losses and assuming constant rotor resistance, find (i) the slip at full-load (ii) the slip at maximum torque and (iii) the rotor current at starting in per unit of full-load rotor current.

7.a)	Describe any two methods of starting the synchronous motors.

# b)	The input to an 1100 V, 3 phase star connected synchronous motor is 60 A. The effective resistance and synchronous reactance per phase is 1 ohm and 30 ohm respectively. Find the power supplied to the motor and the induced e.m.f for a power factor of 0.95 leading.

8.a)	Give the description of A.C tachometer and mention its applications.

b) 	Write a short note on shaded pole type servo-motor.

# ^^^

Code No: NR-211001

Set No:

4

II-B.Tech. I-Semester Supplementary Examinations, May/June-2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering and Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Draw and explain typical no-load & load characteristics of a D.C. Series Generator.

b)	A shunt generator has following magnetizing curve:

If (amps)	0	0.5	1.0	1.5	2.0

E(Volts)	4	42	78	93	100

Calculate the value of critical field resistance. Also find the value of open-circuit voltage when field resistance is 60 ohms.

2.a)	From the first principles, derive an equation for torque developed in a D.C. Motor.

b)	A 20 kw, 250 V d.c. shunt generator has armature and field resistances of 0.04and 200 respectively. Determine the total armature power developed when working    i) as generator delivering 20 kw output and ii) as a motor taking 20 kw input.

3.a)	Derive the condition for maximum efficiency of a transformer.

b) 	The parameters of the equivalent circuit for a 1-phase transformer are                  R0 = 400 , X0 = 231 , Rt = 0.16  and Xt = 0.7 . The input voltage is 200 V, and load 5.96+j 4.44 . (All values are referred to primary.) The ratio of secondary to primary turns is 10. Find the secondary terminal voltage; the primary current; and the efficiency.

4.a)	Define regulation of a transformer. Derive the expression for the regulation.

b) 	Explain with neat circuit diagrams, the open circuit and short circuit tests to be carried out in the laboratory on a 1.5 kVA, 230 V / 40 V, 50 Hz, 1-phase transformer, for the determination of the parameters of the equivalent circuit.

5.a)	Explain the Autotransformer starters used in induction motors. What are its advantages?

b) 	A 200 kW, 3300 V, 6-pole, 50 Hz star-connected slip-ring induction motor has a star connected rotor. Stator to rotor turns ratio is 3.2. Rotor resistance and leakage reactance are 0.1  and 1  respectively. Neglect stator impedance. Find (i) current and torque at starting on rated voltage and with slip rings short circuited and (ii) the external resistance required to reduce the starting current to 50 A with across-the-line starting. Compute also the starting torque under these conditions.

Contd…2

Code No. NR-211001		     		       -2-				         Set No.4

6a)	Explain how open circuit and short circuit tests are conducted on a synchronous machine.

b)	The synchronous reactance per phase of a 3-phase star connected 6600 V synchronous motor is 10 ohm. For certain load, the input is 100 kW at normal voltage and the induced e.m.f is 9000 V. Determine the line current and the power factor. Neglect the armature resistance.

7.a)	Explain the principle of a  pole synchronous motor.

b) 	A 750 KW, 11 KV, 3 phase, star connected synchronous motor has a synchronous reactance of 35 ohm per phase and negligible armature resistance. Determine the excitation e.m.f per phase when the motor is operating on full load at 0.6 p.f leading. Its efficiency under this condition is 90%.

8.a)	How is the direction of rotation reversed for each of the following:

(i) 	Resistance –start induction run motor and

(ii)	Capacitor start induction run motor.

b) 	Explain the construction and operation of split – phase induction motor.

^^^