Code No: RR-212203

Set No:

1

II-B.Tech. I-Semester Supplementary Examinations, May/June-2004

TRANSDUCERS AND INSTRUMENTATION COMPONENTS

(Instrumentation and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Define the following static characteristics with necessary examples and graphs:

(i) Accuracy  (ii) sensitivity (iii) static error (iv) Dead space  (v) Drift

b)	A voltage has a true value of 1.50 volts. An Analog indicating instrument with a scale range of 0-2.50 volts shows a voltage of 1.46 volts. What are the values of absolute error and correction. Express the error as a traction of the true value and the full-scale deflection.

2.a) 	With a neat diagram explain the working of LVDT. Indicate the phase sensitive detection system for an LVDT .

b) 	In digital systems how synchro can be used. Explain.

3.a)   	Explain with relevant diagrams a capacitance level indicators.

b)   	Describe briefly about diaphragm type capacitive transducer and mention its advantages and disadvantages.

4.	Describe the construction and working of bimetallic thermometers. Derive the expression for radius of curvature when the bimetallic element is used as a cantilever.

5.a)	Mention different applications of gear trains.

b)	Describe the system where power is transmitted through gear train for speed control.

6.a)	Explain how absolute pressure can be measured using different techniques.

b)	Mention few application of different type of bellown.

7.a)	Mention different types of potentiometers as applied to control systems.

b)	Describe the construction and working of a wire wound potentiometer.

c)	Mention important application of potentiometers.

8.a)	Arrive at the transfer function of an armature control dc motor.

b)	With a neat diagram describe the working of an armature control DC motor.

c)	Show how a dc motor can be used as a component of a control system.

-*-*-*-

Code No: RR-212203

Set No:

2

II-B.Tech. I-Semester Supplementary Examinations, May/June-2004

TRANSDUCERS AND INSTRUMENTATION COMPONENTS

(Instrumentation and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Classify various transducers and give an example of each and mention their applications.

b)	What is the true value of voltage across the 500 KΩ resistor connected between terminals A and B as shown in fig. below ?  What would a voltmeter with a sensitivity of 20 KΩ/v read on the following ranges: 50, 15,5 volts when connected across terminals C and D.

2.a)	Discuss the advantages, disadvantages and applications of hot wire anemometers.

b) 	What are the practical problems encountered in the application of hotwire anemometer.

3.a) 	Describe the properties of materials used for Piezo-electric transducers.

b) 	Derive the expressions for voltage and charge sensitivities.

4.a)	Explain the construction and  operation of a Photo Diode.

b)	Show how photo diodes can be used as transducer for various applications in instrumentation system.

5.a)	Derive the expression for n of a spiral gear.

b)	Describe in detail a system which uses spiral gear.

6.a)	What do you understand by pneumatic indicators?

b)	Briefly explain the construction and working details of pneumatic indicator.

7.a)	Explain how a potentiometer can be used as a control component in servo control           system.

b)	Explain in detail the various characteristics of potentiometer.

8.a)	Derive the expression for the transfer function of a field control dc motor.

b)	Explain the working of a dc servomotor with a neat sketch.

c)	Mention atleast two uses of servomotors as control element.

-*-*-*-

Code No: RR-212203

Set No:

3

II-B.Tech. I-Semester Supplementary Examinations, May/June-2004

TRANSDUCERS AND INSTRUMENTATION COMPONENTS

(Instrumentation and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Describe mathematical model of measurement system.

b)	A 0-150V voltmeter has a guaranteed accuracy of 1% of full scale reading. The voltage measured by this instrument is 75V. Calculate the limiting error in percent. Comment upon the result.

2 a)	Explain the calibration procedure for an hotwire anemometer with necessary sketches

b) 	Mention the differences between thermistor, RTD and anemometers.

3.a) 	Derive the expressions for frequency response characteristics of piezo electric transducers.

b) 	Describe the uses of piezo electric materials and transducers.

4.a)	Describe the construction, theory and working of thermocouples.

b)	Show how a thermo couple can be used as temperature Transducers

5.a)	Derive the expression for power transmitted by chain drive.

b)	Categorise the different chain drives and describe in detail the using of one type chain drive.

6. a)	Discriminate between an indicator and recorder as control component.

b)	Briefly explain the construction and working details of pneumatic recorder.

7.  	Explain how d.c potentiometers are used for error detection and give the transfer

characteristic of potentiometers.

8.a)	How can a stepper motor be used in numerical control of m/a – explain.

b)	Draw the diagram of a variable inductance stepper motor and explain its working.

-*-*-*-

Code No: RR-212203

Set No:

4

II-B.Tech. I-Semester Supplementary Examinations, May/June-2004

TRANSDUCERS AND INSTRUMENTATION COMPONENTS

(Instrumentation and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1. a)	Explain the terms:

(i) Resolution	(ii) Linearity (iii) Threshold IV Range as applied to measuring instruments with illustrative examples.

b)	The sensitivity of a voltmeter is 20k/Volt.  If the minimum range of the instrument is 0-500mv.  What is the range of the current meter?

- In the following circuit the voltage across 1M resistance is measured with an ideal voltmeter (i) What it will read?  (ii) If a meter whose resistance is 10k, what does it read across the same resistance.

2.a)	What are the different types of anemometers available? Explain their principle of operation.

b) 	Explain the constructional features of RTD.

3.a) 	Derive the expression for impulse response of piezo electric transducers.

b) 	Sketch the response curves.

4.a)	Why is cold junction compensation necessary in temperature 
 measuring schemes using thermocouples?

b)	What is the recent trend in making such compensation.

5.a)	Classify different types of bearings.

b)	Where ball and roller bearings are used in preference to one another in special applications.

6. a)	What is the importance of safely precautions in control system.

b)	List some methods of implementing safly measures in control system.

c)	Describe how values can be used to avoid failures in control system

(Contd…2)

Code No: RR-212203			:: 2 ::				Set No: 4

7.a) 	What is the difference between a switch and a relay.

b) 	Explain the working of a electromechanical relay with a neat sketch and give the

applications.

8.a)	Discriminate between ac and dc servomotors.

b)	Explain with a neat diagram the working of a dc servomotor.

c)	How does a servomotor fit into a control system?

-*-*-*-