Code No: RR-211001

Set No:

1

II-B.Tech. I-Semester Supplementary Examinations, May/June-2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering and Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Explain the basic principle of operation of a D.C. Generator?

b)	Discuss the reasons for failure of self excitation, and suggest the remedies.

# c)	A 250 V d.c. shunt machine has line current of 80 A. It has armature and field resistances of 0.1  and 125  respectively. Calculate power developed in armature when running as i) generator  ii) motor.

2.a)	Explain various power  stages of  in a D.C. Motor.

b)	What will happen when a D.C. Series  Motor is started without a load connected to it?

c)	A 200 V d.c. series motor runs at 750 rpm when taking a current of 30 A. The resistance of the armature is 0.5  and that of field is 0.3 . If the current remains constant, calculate the resistance necessary to reduce the speed to 250 rpm.

3.a)	Discuss the constructional features of transformers. Draw neat diagrams.

b) 	Calculate the flux in the core of a single-phase transformer having a primary voltage of 230 V, at 50 Hz and 50 turns. If the flux density in the core is 1Tesla, calculate the net cross-sectional area of the core.

4.a)	Define regulation. Obtain the condition for zero regulation of a transformer.

b) 	In a 20 kVA, 2000/200 V transformer the iron and copper losses are 300 W and 400 W respectively. Calculate the efficiency on 0.8 power factor at (i) full load and (ii) 60% of full load. (iii) Determine the load for maximum efficiency and the iron and copper loss in this case.

5.a)	Explain the Autotransformer starters used in induction motors. What are its advantages?

b) 	A 200 kW, 3300 V, 6-pole, 50 Hz star-connected slip-ring induction motor has a star connected rotor. Stator to rotor turns ratio is 3.2. Rotor resistance and leakage reactance are 0.1  and 1  respectively. Neglect stator impedance. Find (i) current and torque at starting on rated voltage and with slip rings short circuited and (ii) the external resistance required to reduce the starting current to 50 A with across-the-line starting. Compute also the starting torque under these conditions.

Contd…2

Code No. RR-211001				-2-				Set No.1

6.a)	Explain how open circuit and short circuit tests are conducted on a synchronous machine.

# b)	The synchronous reactance per phase of a 3-phase star connected 6600 v synchronous motor is 10 ohm. For certain load, the input is 100 kw at normal voltage and the induced e.m.f is 9000 v. Determine the line current and the power factor. Neglect the armature resistance.

7.a)	Expain clearly the difference between the working of an induction motor and synchronous motor.

# b)	The input to an 1100 v, 3phase star connected synchronous motor is 60 A.The effective resistance and synchronous reactance per phase is 1 ohm and 30 ohm respectively. Find the power supplied to the motor and the induced e.m.f for a power factor of 0.95 leading.

# 8.a)	Explain the working of a single phase induction motor on the basis of Double revolving field held theory.

# b)	Compare the performance of capacitor start, and shaded pole type of motors.

# ^^^

Code No: RR-211001

Set No:

2

II-B.Tech. I-Semester Supplementary Examinations, May/June-2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering and Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	List out applications of D.C. Generators and motors.

b)	A 400 V shunt generator has full load current of 200 A, its armature resistance is 0.06 , field resistance 100 ;the stray losses are 2,000 W. Find the horse power of its prime-mover when it is delivering full load and find the load for which the efficiency of the generator is maximum.

2.a)	Deduce the condition for maximum efficiency of a D.C. Generator.

b)	What do you understand by Constant losses in a D.C. Machine

c)	A shunt generator has a full load current of 195 A at 250 V. The stray losses are 720 W and the shunt field coil resistance is 50 . It has a full load efficiency of 90%. Find the armature resistance. Also find the current corresponding to maximum efficiency.

3.a)	Explain the operation of transformer on load.

b) 	A single-phase transformer with a ratio of 440 / 110 V takes a no-load current of 5 A at 0.2 power factor lagging. If the secondary supplies a current of 120 A at a power factor of 0.8 lagging, estimate the current taken by the primary.

4.a)	Obtain the equivalent circuit of a 1-phase transformer from the fundamentals?

What are the assumptions made to obtain approximate equivalent circuit?

b) 	A 20-kVA transformer has its maximum efficiency of 0.98 at 15 kVA at upf. The   iron loss is 350 W. Calculate the efficiency at full load 0.8 p f lag and upf.

5.a)	Explain the rotor resistance starter for an induction motor.

# b) 	A 3-phase, 400 V, 50 Hz induction motor. takes a power input of 35 kW at its full-load speed of 890 r.p.m. The total stator losses are 1 kW and the friction and windage losses are 1.5 kW Calculate (i) slip (ii) rotor ohmic losses (iii) shaft power (iv) shaft torque and (v) efficiency.

Contd…2

Code No. RR-211001				-2-				Set No.2

6.a)	Explain neatly the constructional features of an alternator.

# b) 	A 3 ph, 10-pole alternator has 2 slots per pole per phase on its stator with 10 conductors per slot. The air gap flux is distributed sinusoidally and equals to 0.005 wb.The stator has a double layer winding with a coil span of 150 electrical degrees. If the alternator is running at 600 r.p.m, Calculate the e.m.f generated per phase at no load.

7.a)	Explain the working principle of the synchronous motor on no load and on load with the help of phasor diagrams.

# b) 	A 3 phase, 440 V, 50 HZ Star connected synchronous motor develops 7.4 kW. The effective resistance per phase of the stator winding is 0.5 ohm. The motor operates at power factor of 0.75 lagging. Iron and mechanical losses amount to 500 W and the excitation loss is 650 W. Calculate (i) armature current (ii) efficiency of the motor.

8.a)	Give the description of A.C tachometer and explain its working.

b) 	Write a short note on shaded pole type servo-motor.

# ^^^

# Code No: RR-211001

II-B.Tech. I-Semester Supplementary Examinations, May/June-2004

Set No:

3

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering and Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Explain how a.c. Voltage generated is converted to D.C. Voltage in a generator?

b)	What is the main purpose of laminating the armature core of a D.C. Generator.

# c)	A 4-pole, long shunt, lap wound generator supplies 25 kw at a terminal voltage of 500 V. The armature resistance is 0.03 , series field resistance is 0.04  and shunt field resistance is 200 . The brush drop may be taken as 1 V. Determine the emf generated.

2.a)	Derive an expressions for torque of a d.c. motor.

b)	Explain how the torque of a D.C. Shunt and D.C. Series Motor varies with the speed of the motor.

# c)	The armature resistance of a 220 V d.c. shunt motor is 0.4  and it takes a no-load armature current of 2 A and runs at 1,350 rpm. Find the speed when taking an armature current of 50 A if armature weakens the flux by 2%.

3.a)	Draw the phasor diagram of a transformer on (i) no load, (ii) full load with

inductive load and explain.

b) 	A 1-phase transformer is supplied 6000 V. The terminal voltage on the secondary side when loaded at power factor 0.8 is 254 V. The equivalent resistance and reactance drops are 1 and 5%. Find the turn ratio.

4.a)	Derive the expression for regulation of a 1-phase transformer when it delivers

leading power factor load.

b) 	The efficiency, at unity power factor, of a 6600/384 V, 200 kVA, 1-phase transformer is 98% both at full load and half load. The power factor on no-load is 0.2 and the full load regulation at lagging power factor of 0.8 is 4%. Draw the equivalent circuit referred to L.V. side and insert all values.

5.a)	Sketch the torque-speed curve of an induction motor and indicate how this will change when the rotor resistance is doubled keeping stator voltage and frequency unchanged.

b)	A 3-phase star-connected, 440 V, 50 Hz, 4-pole induction motor has the following constants in ohms per phase referred to stator side r1 = 0.294, x1 = 0.503, r2 = 0.144, x2 = 0.209. The stator core losses are negligible. Total friction and other losses (assumed constant) = 1400 W. Find the power output in kW and the rated output in Nm if the motor is being operated at rated voltage and frequency with 5 percent slip.

Contd…2

Code No. RR-211001				-2-				Set No.3

6.a)	How emf is induced in the armature of alternator.  What are the factors that cause a change of the alternator terminal voltage?

b) 	A 3phase, 10 pole star connected alternator runs at 700 r.p.m. It has 120 stator slots with 10 conductors per slot, if the flux per pole is 0.056 wb. Determine the phase and line induced e.m.f.

7.a)	Draw the phasor diagram of the synchronous motor on load. Explain the meaning synchronous reactance.

b)	 A 4 pole, 400V, 50HZ, 3 phase star connected synchronous motor has a synchronous reactance of 2.0 ohm per phase. The resistance of the stator winding is negligible. The field excitation is so adjusted that the e.m.f induced is equal to the supply voltage. On application of a certain load the rotor is retarded by 4 mechanical degrees. Find the armature current drawn by the motor.

8.a)	Describe the construction and working principle of shaded pole induction motor.

b) 	Discuss the difference of capacitor start, split phase, permenant capacitor, shaded pole induction motors.

^^^

Code No: RR-211001

Set No:

4

II-B.Tech. I-Semester Supplementary Examinations, May/June-2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering and Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Mention the reasons for compounding D.C. Generator. Neatly sketch and explain the external characteristics of a D.C. Compound Generator.

b)	A short shunt compound generator delivers a load current of 30 A at 220 V and has armature, series field and shunt field resistances of 0.05 , 0.03  and 200  respectively. Calculate the induced emf and the armature current. Allow 1.0 V per brush for contact drop.

2.a)	What are the applications of i) D.C. Shunt motor ii) D.C. Series Motor and iii) D.C. Cumulative Compound Motor.

b)	Draw typical Load-Speed characteristics of a D.C. Series and Shunt Motors and give difference in them.

c)	A 220 V d.c. shunt motor with constant field drives a load whose torque is proportional to the speed. When running at 1000 rpm it takes 30 A. Find the speed at which it will run if a 10  resistance is connected in series with its armature. The resistance of armature may be neglected.

3.a)	Derive the condition for maximum efficiency of a transformer.

b) 	The parameters of the equivalent circuit for a 1-phase transformer are R0 = 400 , X0 = 231 , Rt = 0.16  and Xt = 0.7 . The input voltage is 200 V, and load 5.96+j 4.44 . (All values are referred to primary.) The ratio of secondary to primary turns is 10. Find  the secondary terminal voltage; the primary current; and the efficiency.

4.a)	Write short notes on open circuit and short circuit tests on 1-phase transformers.

b) 	Calculate interms of the primary the effective resistance and leakage reactance of a transformer, which gave the following data on test with the secondary terminals, short-circuited: Applied voltage, 60 V; current, 100 A; Power input, 1.2 kW.

Contd…2

Code No. RR-211001				-2-				Set No.4

5.a)	Sketch torque-speed characteristics of an induction motor working at rated voltage and frequency, deriving necessary expressions.

b) 	A 3-phase, 50 Hz, 400 V, wound-rotor induction motor runs at 960 r.p.m. at full-load. The rotor resistance and standstill reactance per phase are 0.2  and 1 respectively. If a resistance of 1.8  is added to each phase of the rotor at standstill, what would be the ratio of starting torque with full voltage and the added resistance to the full-load torque under normal running conditions?

6.a)	Explain the synchronous impedance method of computing the voltage regulation.

b) 	A 3 phase, 12 pole, star connected alternator has 180 slots with 10 conductors per slot and the conductors of each phase are connected in series. The coil span is 144 degrees (electrical). Determine the phase and line value of e.m.f. If the machine runs at 1600 r.p.m and the flux per pole is 0.06 Weber distributed sinusoidally over the pole.

7.a)	Explain why a synchronous motor doesn’t have self-starting torque.

b)	A 3 phase, 3300 v, star connected synchronous motor has a synchronous reactance of 5 ohm per phase. The input to the motor is 1000 kw at a normal voltage and the induced line e.m.f is 4000 v.  Calculate the line current. Neglect armature resistance.

8.a)	Single phase induction motors are not self starting.  Explain Why?

b) 	How is single phase induction motors made self started.  Explain one method.

^^^