Code No: 221053

OR

II-B.Tech. II-Semester Supplementary Examinations, April/May-2004

INSTRUMENTATION ENGINEERING-I

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

# Time: 3 Hours							Max. Marks: 70

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Define the following static characteristics with necessary examples and graphs:

(i) Accuracy  (ii) sensitivity (iii) static error (iv) Dead space  (v) Drift

# b)	A voltage has a true value of 1.50 volts. An Analog indicating instrument with a scale range of 0-2.50 volts shows a voltage of 1.46 volts. What are the values of absolute error and correction. Express the error as a traction of the true value and the full-scale deflection.

# 2.	Derive an expression for time response of a 2nd order under damped system when subjected to unit ramp input. Show that the nature of the response is the same as that for a unit step input. Find an expression for the steady state error.

3.a) 	Describe in brief two types of wire wound strain gauges mentioning their typical size, resistance, maximum excitation voltage, and construction material.

b)	The resistance of a strain gauge is 120 ohm and Gf  = 2. It is connected to a current sensitive Wheatstone bridge in which resistance on all arms is 120 ohm.

If the input voltage is 4V and the resistance of the galvanometer is 100 ohm, calculate the detector current in μA for μ strain.

4.a)  	How is angular displacement measured using capacitive transducer?

b)  	How is the rotational displacement measured by using capacitive transducer?

5.	Explain clearly the concept of loading effects and frequency response of piezo            electric transducer.

6.a)  	Draw the block diagram of the generalized feedback system of a Force-balance transducer and explain its each block.

b)  	Explain the dynamic response of Force-balance transducers to sinusoidal excitation with respect to sensitivity and phase angle.

7.a) 		What is a RTD? Where it is used?

b) 	Explain a 4 lead measurement scheme of temperature measurement using resistance thermometer.

8.a)	Explain the principle of working and applications of photo transistors.

b)	Explain why they are preferred for digital applications.

-*-*-*-