Code No: NR/RR-221002

Set No:

1

II-B.Tech. II-Semester Regular Examinations, April/May-2004

TRANSDUCERS IN INSTRUMENTATION

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Define the following static characteristics with necessary examples and graphs:

(i) Accuracy  (ii) sensitivity (iii) static error (iv) Dead space  (v) Drift

# b)	A voltage has a true value of 1.50 volts. An Analog indicating instrument with a scale range of 0-2.50 volts shows a voltage of 1.46 volts. What are the values of absolute error and correction. Express the error as a traction of the true value and the full-scale deflection.

# 2.	Derive an expression for time response of a 2nd order under damped system when subjected to unit ramp input. Show that the nature of the response is the same as that for a unit step input. Find an expression for the steady state error.

3.a) 	Describe in brief two types of wire wound strain gauges mentioning their typical size, resistance, maximum excitation voltage, and construction material.

b)	The resistance of a strain gauge is 120 ohm and Gf  = 2. It is connected to a current sensitive Wheatstone bridge in which resistance on all arms is 120 ohm.

If the input voltage is 4V and the resistance of the galvanometer is 100 ohm, calculate the detector current in μA for μ strain.

4.a)  	How is angular displacement measured using capacitive transducer?

b)  	How is the rotational displacement measured by using capacitive transducer?

5.	Explain clearly the concept of loading effects and frequency response of piezo            electric transducer.

6.a)  	Draw the block diagram of the generalized feedback system of a Force-balance transducer and explain its each block.

b)  	Explain the dynamic response of Force-balance transducers to sinusoidal excitation with respect to sensitivity and phase angle.

7.a) 		What is a RTD? Where it is used?

b) 	Explain a 4 lead measurement scheme of temperature measurement using resistance thermometer.

8.a)	Explain the principle of working and applications of photo transistors.

b)	Explain why they are preferred for digital applications.

-*-*-*-

Code No: NR/RR-221002

Set No:

2

II-B.Tech. II-Semester Regular Examinations, April/May-2004

TRANSDUCERS IN INSTRUMENTATION

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1. a)	Define accuracy and precision of a measuring instruments with suitable examples.

b)	An Instrument reads the values for four different readings 4.0, 4.1, 3.9, 4.2.  What is the absolute error and mean error.

c)	An Instrument measures 4.1V, 4.1V, 4.1V and 4.1V in four readings.  Is the instrument precise explain.  If the true value is 4V what is the error?

# d)	Is the precise Instrument is better than the erraneous instrument – Explain.

2.a)	Differentiate between static the dynamic characteristics of a measurement system.

b)	Derive the equations for time response of a first order system when subjected to unit ramp input. Draw the response curves and find the steady error.

3.a) 	Describe, in brief, a piezo resistive type strain gauge, mentioning its merits and demerits. 							          	8 marks

b) 	Name two materials, which are used to construct piezo electric transducers.

4.	Describe clearly the principle of constructing a capacitive transducer using

(i)   Cantilever spring plate.   		   	(ii)   Quartz diaphragms.

5.a) 	Derive the expression for impulse response of piezo electric transducers.

b) 	Sketch the response curves.

6.a)  	Draw the basic circuit diagram of passive phase-advancing network and explain the performance of this network with respect to transfer factor and phase angle.

b)	Draw and explain the schematic diagram of feedback type linear-acceleration transducer with velocity compensation and also give the necessary equations.

7.a)	What are different kinds of photosensitive devices?

b)	Explain with diagram the working of one of them in detail.

8. a) 	List the detectors used in radiation and optical pyrometers.

b) 	Explain the factors affecting the static accuracy of filled in thermometers.

-*-*-*-

Code No: NR/RR-221002

Set No:

3

II-B.Tech. II-Semester Regular Examinations, April/May-2004

TRANSDUCERS IN INSTRUMENTATION

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Classify various transducers and give an example of each and mention their applications.									-8

b)	What is the true value of voltage across the 500 KΩ resistor connected between terminals A and B as shown in fig. below ?  What would a voltmeter with a sensitivity of 20 KΩ/V read on the following ranges: 50, 15, 5 volts when connected across terminals C and D.						-8

2.a)	Derive the expression for  frequency response of a second order system. Draw the magnitude and phase versus frequency plots for damping ratio smaller than 0.707.

b)	A first order system which has a time constant of 0.7 sec. is subjected to an input of 5sin 5t + 6 sin 50t. Find the response of the system.

3.a) 	Explain in detail the constructional features and the theory of operation of  the wire type strain gauge.

# b)	In an equal arm wheatstone bridge, the single active gauge has nominal resistance of 120 ohms, and is made of advanced material having a thermal coefficient of expansion of 30x10-6 m/m0C and temperature coefficient of resistance of 12x10-6ohm/ohm0C. The other three arms are fixed resistors having negligible temperature coefficients. If the gauge is bounded to steel having a thermal coefficient of expansion of 13x10-6 m/m0C. Calculate the bridge output for a 6°C rise in specimen temperature, if the gauge current is 0.25 mA.

4.a)   	How the capacitive transducer is useful for the measurement of level of a non-conducting liquid?

# b)   	Explain the principle of capacitive transducer which uses the principle of change in dielectric constant for measurement of displacement.

(Contd…2)

Code No: NR/RR-221002			:: 2 ::				Set No:3

5.a) 	Derive the expressions for frequency response characteristics of piezo electric transducers.

# b) 	Describe the uses of piezo electric materials and transducers.

6.a)  	Explain the dynamic performance of feedback type acceleration transducer to sinusoidal excitation, with velocity compensation.

b)  	Draw and explain the schematic diagram of feedback type angular-acceleration transducer with velocity compensation.

7.a)	Where are bimetallic elements used as temperature sensors?

b)	Explain the construction and working of bimetallic temperature transducer.

8.	Describe the working and construction of resistance thermometers. Describe the materials used   for RTDs along with their properties. Sketch this typical characteristic curve.

-*-*-*-

Code No: NR/RR-221002

Set No:

4

II-B.Tech. II-Semester Regular Examinations, April/May-2004

TRANSDUCERS IN INSTRUMENTATION

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1. a)	Explain the terms:

(i) Resolution	(ii) Linearity (iii) Threshold IV Range as applied to measuring instruments with illustrative examples.

b)	The sensitivity of a voltmeter is 20k/Volt.  If the minimum range of the instrument is 0-500mv.  What is the range of the current meter?

- In the following circuit the voltage across 1M resistance is measured with an ideal voltmeter (i) What it will read?  (ii) If a meter whose resistance is 10k. what does it read across the same resistance.

2.a)	Derive the expression for magnitude and phase of a first order system when subjected to a sinusoidal  input signal. Draw the magnitude and phase versus frequency plots.

b)	A first order instrument which has a time constant of 0.5 sec. is subjected to an input of 2 sin 3t 5 sin 30t find the response of the instrument.

3.a) 	Define gauge factor Gf for an electrical strain gauge. Compare the characteristics of metallic and semi conductor type strain gauges.

b)	Explain with the aid of a circuit diagram the principle of operation of a strain measurement system with temperature compensation technique.

4.a)   	Describe the principle of operation of capacitive transducer using change in area of plates.

b)   	Explain the principle of operation of capacitive transducer using change in distance between plates.

5.a) 	Describe the properties of materials used for Piezo-electric transducers.

b) 	Derive the expressions for voltage and charge sensitivities.

(Contd…2)

Code No: NR/RR-221002			:: 2 ::				Set No: 4

6.a)  	Draw the schematic diagram and explain about Force  balance type linear- acceleration transducer with gold–plated pendulous mass and torsion springs.

b)	Draw the schematic diagram and explain about Three-point suspension of servo-coil.

7.a) 		Write short notes on resistance thermometers.

b) 	What are the possible sources of errors in filled in thermometers and 
         	how are they minimized.

8.	Describe the working and construction of resistance thermometers. Describe the materials used for RTDs along with their properties. Sketch this typical characteristic curve.

-*-*-*-