Code No: RR-220402

Set No:

1

II-B.Tech II-Semester Regular Examinations April/May, 2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Communication Engineering, Computer Science and Engineering, Electronics and Telematics, Electronics and Computer Engineering, Computer Science and Systems Engineering, Computer Science and Information Technology and Instrumentation and Control Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	What is the difference between the short-shunt and long-shunt Compound Generators?

b)	What is the function of an armature in a D.C. Generator?

c)	Enumerate the conditions necessary for self excitation of a D.C. Generator.

d)	A 20 kw, 200V shunt generator has an armature resistance of 0.05 and a shunt field resistance of 200. Calculate the power developed in the armature when it delivers rated output.

2. a)	Why is starter necessary for a DC Motor?

b)	Explain the working of a 3-point starter with a circuit diagram for a DC shunt motor.

c)  	A 230 V shunt motor has an armature resistance of 0.2. The starting armature current must not exceed 50 A. If the number of sections are 5, calculate the values of resistance steps to be used in the starter.

3. a)	Draw the equivalent circuit of a transformer and show how the constants of primary and secondary windings may be combined to give a simplified equivalent circuit with the values of constants given in terms of secondary winding.

b) 	Explain the constructional details of 1-Phase transformer.

4.	The maximum efficiency of a 500 kVA, 3300 / 500 volts, 50 Hz, single-phase transformer is 97% and occurs at 3/4th full load. If the impedance is 10%, calculate the regulation at full load and 0.8 p.f. lagging.

5. a) 	Define slip. Hence deduce the expression for i) Frequency of rotor current          ii) Rotor induced e.m.f under running condition of a 3-phase induction motor.

b) 	A 60 kW, 400 V, 3-phase, 6-pole, 50 Hz wound rotor induction motor has a full-load slip of 0.04 when operating at rated voltage and frequency with rotor winding short circuited at slip rings. The slip at maximum torque is 0.2. Stator resistance and rotational losses are neglected. Determine (i) the maximum torque and (ii) full-load rotor ohmic losses. Rotor resistance is now doubled by adding external series resistance in each rotor phase. For the rated power output, determine (iii) slip at maximum torque (iv) full-load slip and (v) full-load torque.

Contd…2

Code No: RR-220402			.2.				Set No: 1

6. a) 	Draw the open circuit and short circuit characteristics of a synchronous generator. Explain the shape of the characteristics.

b) 	Determine the voltage regulation of a 200V peer phase alternator giving a current of 100A is produced on short circuit by a field excitation of 2.5A.An e.m.f of 500V is produced on open circuit by the same excitation. The armature resistance is 0.8 ohm.

7. a)	Explain why a synchronous motor doesn’t have self-starting torque. Explain one method of starting a synchronous motor.

b)	A 3phase, 3300v, star connected synchronous motor has a synchronous reactance of 5ohm per phase. The input to the motor is 1000kw at a normal voltage and the induced line e.m.f is 4000v.Calculate the line current. Neglect armature resistance.

8. a) 	Single phase induction motors are not self started.  Explain Why?

b) 	How is single phase induction motors made self started?  Explain one method.

###

Code No: RR-220402

Set No:

2

II-B.Tech II-Semester Regular Examinations April/May, 2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Communication Engineering, Computer Science and Engineering, Electronics and Telematics, Electronics and Computer Engineering, Computer Science and Systems Engineering, Computer Science and Information Technology and Instrumentation and Control Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	Enumerate the various losses and their remedy to minimize them in a D.C. Machine.

b)	How do hysteresis, eddy current, friction and windage losses depend upon the speed of a D.C. Machine? Explain.

c)	A 200V D.C. Shunt machine has armature and field resistances 0.2 and          200 respectively. The line current is 40A. Find i) output as generator, ii) input as motor iii) power developed in armature and iv) copper losses in both the cases.

2. a)	Explain with a neat sketch the principle of operation of a D.C. Motor.

b)	A 4-pole series motor has 944 wave-connected armature conductors. At a certain load the flux per pole is 34.6 mWb and the total mechanical torque developed is 209 Nm. Calculate the line current taken by the motor and the speed at which it will run with an applied voltage of 500V. Total armature resistance is 3.

3. a) 	Draw the phasor diagram of transformer under loaded conditions.

b) 	Explain the principle of working of 1-Phase transformer on no-load conditions.  Also explain the nature of no-load current.

4. a) 	Define regulation of a transformer. Derive the expression for the regulation.

b) 	Explain with neat circuit diagrams, the open circuit and short circuit tests to be carried out in the laboratory on a 1.5 kVA, 230 V / 40 V, 50 Hz, 1-phase transformer, for the determination of the parameters of the equivalent circuit.

5. a) 	With usual notation deduce the expression for starting torque of a 3-phase induction motor.

b) 	The rotor of a 3-phase induction motor has 0.04  resistance per phase and 0.2  standstill reactance per phase. What external resistance is required in the rotor circuit in order to get half of the maximum torque at starting? Neglect stator impedance. By what percentage will this external resistance change the current and pf at starting?

Contd…2

Code No: RR-220402			.2.				Set No: 2

6. a) 	Draw a neat sketch showing the various parts of a synchronous machine and explain each part briefly.

b) 	A 3ph, 50 Hz, 20 poles Salient pole alternator with star connected stator winding has 180 slots on the stator. Each slot consists of 8 conductors. The flux per pole is 25mwb and is sinusoidally distributed. The coils are full pitch. Calculate (i) the speed (ii) the generated e.m.f per phase and (iii) the line e.m.f.

7. a)	Explain the working principle of the synchronous motor on no load and on load with the help of phasor diagrams.

b) 	A 3phase, 440V, 50HZ Star connected synchronous motor develops 7.4KW. The effective resistance per phase of the stator winding is 0.5 ohm. The motor operates at power factor of 0.75 lagging. Iron and mechanical losses amount to 500W and the excitation loss is 650W. Calculate (i) armature current                  (ii) efficiency of the motor.

8. a)	Explain the operation of a single phase induction motor on the basis of double revolving field theory.

b) 	Draw a typical torque-speed curve of a single phase induction motor on the basis of double revolving field theory.

###

Code No: RR-220402

Set No:

3

II-B.Tech II-Semester Regular Examinations April/May, 2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Communication Engineering, Computer Science and Engineering, Electronics and Telematics, Electronics and Computer Engineering, Computer Science and Systems Engineering, Computer Science and Information Technology and Instrumentation and Control Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	Deduce the equation for the e.m.f. induced in a D.C. Machine.

b)	A long shunt dynamo running at 1,000rpm supplies 22kw at a terminal voltage 220V. The resistance of armature, shunt field and series field are 0.05, 110 and 0.06 ohms respectively. The overall efficiency at above load is 88%. Find             i) copper loss, ii) iron and friction losses.

2. a)	Explain the various methods of speed control of a D.C. Shunt Motor.

b)	A 460V d.c. series motor runs at 1000rpm taking a current of 40A. Calculate the speed and percentage change in torque if the load is reduced so that the motor is taking 30A. Total resistance of the armature and field circuits is 0.8. Assume flux is proportional to the field current.

3. a) 	Draw the phasor diagrams of a transformer: (i) on open circuit (ii) on load indicating in each case what the various phasors represent.

b) 	Derive the emf equation of 1-Phase transformers and evaluate the emf/turn, if flux is 0.01wb, at a frequency of 50 Hz.

4. a) 	Develop the equivalent circuit of a single-phase transformer.

b) 	A 200 kVA, 1- phase, 3300 / 400 V transformer gave the following results in the short circuit test with 200 V applied to the primary and secondary short circuited, the primary current was full load value and the input power was 1650 W.  Calculate the secondary potential difference and the % of regulation when the full load current was passing at a 0.707 p. f. lagging with normal primary voltage.

5. a) 	With usual notation deduce the expression for running torque of a 3-phase induction motor.

b)	A 3 phase, 50 Hz, 6-pole induction motor has a shaft output of 10 kW at 930 r.p.m. Friction and windage loss amount to 1% of output. Total stator losses are 600 W. (i) Determine the rotor input and stator input. (ii) If maximum torque is developed at 800 r.p.m., compute the starting torque with rated-voltage starting.

Contd…2

Code No: RR-220402			.2.				Set No: 3

6. a) 	A 6-pole 3-phase, 50HZ alternator has 12 slots per pole and four conductors per slot. The winding is five-sixths pitch. The flux per pole is 1.5wb; the armature coils are all connected in series. The winding is star connected. Calculate the induced e.m.f per phase.

b) 	A 3-phase, 10KVA, 400V, 50HZ alternator has per phase armature resistance and synchronous reactance of 0.5ohm and 2.5 ohm respectively. Calculate the generated voltage corresponding to (i) full load unity power factor (ii) full load 0.85 lagging power factor.

7. a)	A 500v, 50 Hz, Single-phase synchronous motor takes 50A current at a power factor of 0.8 lagging. The motor has a synchronous reactance of 2ohm and negligible resistance. The armature has 120 full pitch coil s in series, with a distribution factor of 0.95.Assuming a sinusoidal variation of flux in the air gap. Calculate the flux per pole.

b)	Draw the phasor diagram of a synchronous Motor.

8. a) 	Discuss the differences between capacitor start, capacitor start.  Capacitor run and permanent split capacitor motors.

b)	A small motor has an output torque of 0.25 N.m and a speed of 100 rad/sec.  If the input current is 0.6 A at 230 V and 0.6 lagging p.f find (i) output power in watts (ii) efficiency.

###

Code No: RR-220402

Set No:

4

II-B.Tech II-Semester Regular Examinations April/May, 2004

ELECTRICAL TECHNOLOGY

(Common to Electronics and Communication Engineering, Computer Science and Engineering, Electronics and Telematics, Electronics and Computer Engineering, Computer Science and Systems Engineering, Computer Science and Information Technology and Instrumentation and Control Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	Sketch the Magnetisation and Load characteristics of a D.C. shunt Generator? Explain them.

b)	The open-circuit characteristic of a shunt generator at 800rpm gives:

Field Current (A)	0	0.5	1.0	2.0	3.0	4.0	5.0

Induced emf (V)	10	50.0	100.0	175.0	220.0	245.0	262.0

Find graphically the critical resistance of shunt field circuit. If the field circuit resistance is changed to 75, what will be the critical speed for the machine to build up?

2. a)	Explain  speed control of a D.C. Series Motor.

b)	A 200V d.c. series motor runs at 1000 rpm when operating at its full load current of 30A. The motor resistance is 0.5 and the magnetic circuit can be assumed unsaturated What will be the speed if i) the load torque is increased by 44% ii) the motor current is 20A.

3. 	Discuss the constructional details of single-phase transformer and hence obtain the expression for induced e. m. f. of transformer.

4. a) 	With neat circuit diagrams, explain the procedure for conducting OC & SC tests on a given single-phase transformer to predetermine its regulation and efficiency.

b) 	A 100 kVA, 1000 V / 10,000 V, 50 Hz, single-phase transformer has an iron loss of 1200 W. Find the maximum efficiency at 0.8 power factor lagging if the copper loss is 500 W with 6 A in high voltage winding.  Also calculate the corresponding regulation if the equivalent leakage reactance referred to HV is 10 ohms.

5. a) 	Derive the condition for maximum torque at starting of a 3-phase induction motor

b) 	A 100 kW, 3-phase, 420 V, 6-pole, 50 Hz wound rotor induction motor, with its rotor winding short circuited, has a full-load slip of 0.04 and the slip at maximum torque of 0.2 when operating at rated voltage and frequency. Neglect stator resistance and rotational losses. Find (i) maximum torque, (ii) starting torque and (iii) full-load rotor ohmic loss. The rotor resistance is now doubled by adding external series resistance. Determine (iv) slip at full-load output (v) full-load torque (vi) slip at maximum torque.

Contd…2

Code No: RR-220402			.2.				Set No: 4

6. a)	Explain the tests to be conducted for determining synchronous impedance

b) 	A 100KVA, 6.6KV, 3phase star connected synchronous generator has a synchronous reactance of 25 ohm per phase. It supplies full load current at 0.75 p.f lagging and a rated terminal voltage. Compute the terminal voltage for the same excitation when the generator supplies full load current at 0.8 p.f leading.

7. a)	 Explain the principle of a  pole synchronous motor.

b) 	A 750KW, 11KV,3 phase ,star connected synchronous motor has a synchronous reactance of 35 ohm per phase and negligible armature resistance .Determine the excitation e.m.f per phase when the motor is operating on full load at 0.6 p.f leading. Its efficiency under this condition is 90%.

8. a)  	What is a stepper motor?  Enumerate its advantages and applications.

b) 	With neat sketch, explain the working principle of shaded-pole single-phase Induction Motor.

###