Code No:220255

OR

II-B.Tech. II-Semester Supplementary Examinations, April/May-2004.

ELECTROMECHANICS-II

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Explain the constructional features of a single phase transformer.  Also explain the principle of operation.

b)	A 660V/220V single phase transformer takes a no-load current of 2A at a power factor of 0.225 lagging.  A transformer supplies a load of 30A at a power of 0.9 lagging.  Calculate the current drawn by the primary from the mains and the primary power factor.  Neglect the winding resistances and reactances.

2.a)	Explain with a diagram, how a transformer can be represented by an equivalent circuit?  Derive an expression for the equivalent resistance and reactance referred to the primary winding.

b)	A 50 Hz single phase transformer has a turns ratio of 6.  The resistances are          9 ohm, 0.03 ohm and reactances are 5 ohm and 0.13 ohm for high voltage and low voltage windings respectively.  Find the voltage to be applied to the high-voltage side to obtain full load current of 200A in the low-voltage winding on short circuit.  Find also the power factor on short circuit

3.a)	Explain with neat diagram the working principle of scott connection.  Draw vector diagram for a lagging load.

b)	Two 1- transformers, one at 300 KVA and the other 200 KVA operate in parallel and supply a load of 400 KVA at 0.8 pf lagging.  Their respective resistances and reactances are (1% and 6%) and (1.2% and 4.8%).  Calculate the loading and p.f of each transformer.

4.a)	What is an auto-transformer?  Derive an expression for saving of copper when an auto-transformer is used?  Compare this with two-winding transformer.

b)	A 5 KVA, single phase 50 Hz transformer has full-load efficiency of 95 percent and an iron loss of 50w.The transformer is now connected to an auto transformer to a 220V supply.  If it delivers a 5Kw load at unity power factor to a 110V circuit, calculate the efficiency of the operation and the current drawn by the high voltage side.

Contd……2

Code No:220255					-2-				OR

5.a)	With the help of phasor diagram, explain how a rotating magnetic field is produced in a polyphase induction motor.

b)	A 3-phase induction motor has a synchronous speed of 250 rpm and 4% slip at full load.  The rotor has a resistance of 0.02 ohm per phase and a stand-still reactance of 0.15 ohms per phase.  Calculate:

(i) the speed at which maximum torque occurs.

(ii) the ratio of maximum to full load torque.

(iii) ratio of maximum torque to starting torque.

(iv) the value of resistance per phase so that starting torque is half of maximum torque.

6.a)	Explain the terms:

(i) air gap power, (ii) Mechanical power developed and shaft power.  Deduce the relation between copper loss, mechanical power developed and airgap power of an induction motor.

b)	A 15 kW, 400V, 4-pole, 50 Hz, 3-phase star connected induction motor gave the following test results:

No-load Test:	line voltage 400V, current 9 Amp, power input 1310W.

Blocked Rotor Test: Line voltage 200V, current 50 Amp, power input is 7100 W.

Stator and rotor copper losses are assumed to be equal at standstill.  Draw the circle diagram and calculate:

- current, pf, slip, torque and efficiency at full load.

- Maximum possible p.f and the corresponding line current.

- Maximum power output and maximum torque.

7.a)	Explain the operation of Schrage motor.

b)	Brief about cascade method of speed control of induction motor.

8.a)	Explain why a starter is necessary for starting of Induction motor.

b)	A 3- squirrel cage induction motor has a short circuit current of 5 times the full-load value.  If full load slip is 5%, calculate the starting torque as percentage of full-load torque if the motor is started by: (i) Direct on-line starter,  (ii) Star-delta starter,  (iii) Auto transformer starter limiting the supply line starting current to twice the full-load value.  Find the auto-transformer tapping in this case.

- - -