Code No: RR-220305

Set No:

1

II-B.Tech II-Semester Regular Examinations April/May, 2004

INSTRUMENTATION AND CONTROL SYSTEMS

(Common to Mechanical Engineering and Production Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	Classify different transducers based on operation with examples.

b)	Compare the following:

i) 	Primary transducers Versus Secondary transducers

ii)	Active transducers Versus Passive transducers

2. a)	Explain operation of ionization transducer with a neat sketch and write the applications.

b)	Describe the construction and principle of

i)  LVDT	ii) Variable reluctance displacement transducer.

3. 	State the laws of thermocouples with a block diagram.

4. a)	Describe the working principle of pirani gauge.

b)	Describe the method of measurement of differential pressure using an inductive transducer.

5.	Explain in detail with neat sketches

a)	Liquid level measurement using capacitive transducer

b)	Cryogenic fuel level indicator

6. a)	What are the advantages of piezoelectric type accelerometer?

b)	Why vibrations has to be measured. How vibrations are measured?

c)	What is a psychrometer? Explain the working of a psychrometer with neat sketch

7. a)		Classify strain gauges

b)	Describe the method of surface preparation and bonding techniques while fixing strain gauge on a metallic member.

8. a)	A computer controlled fuel injection system that automatically adjusts the fuel-air mixture ratio could improve gas mileage and reduce unwanted polluting emissions significantly. Sketch a block diagram for such a system for an automobile and explain its working.

b)	Explain with the help of a block diagram the working of the variable speed dc drive control system. State its characteristic and applications.

###

Code No: RR-220305

Set No:

2

II-B.Tech II-Semester Regular Examinations April/May, 2004

INSTRUMENTATION AND CONTROL SYSTEMS

(Common to Mechanical Engineering and Production Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	Explain the use of wire wound potentiometers for the measurement of linear and rotary motions. Point out the advantages and limitations of such transducers.

b)	Give the essential features of inductive and capacitive transducers when used for the measurement of displacement.

2. a)	Give the classification of inductive transducers indicating their principle.

b)	Describe in detail the construction and working of an inductive and a capacitive transducers to measure linear displacement.

3.	What is thermocouple? With a neat sketch explain its construction, working principle and applications.

4. 	Describe the following methods used for measurement of low pressure using.

- Thermo couple vacuum gauge

b)	Ionization type vacuum gauge.

5. a)	With neat sketch describe the principle of operation, construction, advantages and limitations of rotameter.

b)	Explain the working of vane type flow meter.

6. a)	Explain the principle of a hydrometer.

b)	What is a vibrometer?  Explain any one of them.

7. a)	Mention the principle of a vibrometer.

b)	With the sketch explain the measurement of the following:

- Force measurement in a beam.

(ii)	Torque transmitted by a shaft.

8. a)	The presence of disturbances is the main reason for using feedback control. Justify this statement. Discuss the commonly occurring disturbances in various control systems.

b)	What are feedforward-feedback control system? Give some examples.

c)	Explain with the help of a block diagram any one feedforward-feedback control system.

###

Code No: RR-220305

Set No:

3

II-B.Tech II-Semester Regular Examinations April/May, 2004

INSTRUMENTATION AND CONTROL SYSTEMS

(Common to Mechanical Engineering and Production Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. 	Explain the various physical principles involved in the operation of various categories of inductive transducers.

2. a)	Explain the concept of resistive transducer for  measuring displacement.

b)	What is variable capacitance device and explain how it is useful to measure displacement industrially?

3.	What is pyrometry? Explain in detail total radiation pyrometer, discuss its relative merits and demerits with respect to total radiation pyrometer.

4. a)	Define pressure.  What is it due to?  How is it different from stress?

b)	Describe the construction of a U-tube manometer and explain how it can be used for measurement of absolute, gauge and differential pressures.

5. 	With neat sketches explain in detail the functioning of any two flow measuring instruments working on Faraday's law of induced voltage

6. a)	Compare the working of a servo and digital accelerometers.

b)	Name the different types of hydrometers used for measuring humidity.

7. a)	What is the need for temperature compensation in a strain gauge? How it is done.

b)	Comment on the characteristics of seismic instruments when used as vibration pickup.

8. a)	Distinguish between open-loop and closed loop control systems with the help of a suitable diagram.

b)	Illustrate your answer using block diagram schematics.

c)	Identify the system parameters and components in each case.

###

Code No: RR-220305

Set No:

4

II-B.Tech II-Semester Regular Examinations April/May, 2004

INSTRUMENTATION AND CONTROL SYSTEMS

(Common to Mechanical Engineering and Production Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.	Describe the principle of operation of a piezo-electric transducer. Identify the input and output of the system.

2. a)	How the ionization transducer is used to measure displacement? Explain the same.

b)	Discuss in detail about the concept of photoelectric transducer for measuring displacement.

3.	What are the types of pyrometers? Explain any one of them in detail with a neat diagram.

4. a)	Describe different sources of errors in U-tube manometer and how corrections can be applied to minimize these errors.

b)	Explain how sensitivity can be increased by using inclined tube manometer.  Describe its construction, advantages and limitations.

5. a)	List out the importance of calibration of flow measuring instruments

b)	Explain the principle of operation of ‘Laser Doppler’ flow meter.

6. a)	Explain the general theory of seismic instruments used for vibration/accelerator measurement

b)	Explain the working of a bonded strain gauge accelerometer with neat sketch.

7. a)	List the applications of electrical strain gauges.

b)	Why is calibration of vibrometer/accelerometer important? How calibration is done on the above instruments.

c)	How is the biaxial stress situation the stress measurement is done?

8. a)	Distinguish between  manual and automatic control systems  and list some of the engineering situations where automatic control becomes obligatory.

b)	Define a process control system. Sketch the schematics of a shower bath, which operates by a manual closed loop control arrangement.

###