Code No: NR-220204

Set No:

1

II-B.Tech II-Semester Supplementary Examinations April/May, 2004

POWER SYSTEMS-I

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. 	Write short notes on:-

a)	Precipitation			b)	Evaporation

c)	Storage			d)	Pondage.

2. 	Describe the schematic arrangement of a thermal power station and explain the function of each briefly

3. 	Write notes on auxiliaries of boilers.

4. a)	Mention the advantages and disadvantages of Nuclear power plants.

b)	Name the different types of radiants. Explain any two of them in detail.

5. 	Discuss various radiations that are emitted from a nuclear fission process?

6. 	A 3 phase ring distributor ABCD fed at A at 11 KV supplies balanced loads of 40 A at 0.8 p.f lagging at B, 50 A at 0.707 pf lagging at C and 30 A at 0.8 pf lagging at D, the load currents being referred to the supply voltage at A.

The impedance per phase of the various sections are

Section AB = (1+j2) ohms;

Section BC = (2+j3) ohms;

Section CD = (1+j1) ohms;

Section DA = (3+j4) ohms;

Calculate the currents in various sections and station bus bar voltages at B,C and D.

7. 	Write short notes on the following:

a)	Load curves

b)	Load factor

c)	Plant capacity factor

d)	Montion their practical significance.

8. 	Write short notes on the following:

a)  	Two – part tariff

b) 	Power factor tariff

c)	Three – part tariff.

###

Code No: NR-220204

Set No:

2

II-B.Tech II-Semester Supplementary Examinations April/May, 2004

POWER SYSTEMS-I

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. 	Write short notes on

a)	Hydrograph			b)	Flow duration curve

2. a)	What are the requirements of a boiler being used for a power station? How do you classify them?

b)	Explain briefly horizontal straight water tube boiler. What are its merits against fire tube boiler?

3. a)	Explain with neat diagram the concept of regenerative heating and mention its advantages.

b)	Discuss the natural and forced draughts and list out the difference between them.

4. 		Discuss the following:

a)	Half life period

b)	Energy mass equivalence

c)	Binding energy

5. 	Explain clearly with the a suitable example the various processes that can take place, when a neutron collides with a heavy atom.

6. 	Draw the layout of a typical 11 KV / 400 V indoor substation and explain the equipments in detail.

7. a)	Explain how load curves help in the selection of size and number of generating units.

b)	A factory has a maximum load of 240 kW at 0.8 pf lagging with an annual consumption of 50 000 units. The tariff is Rs. 350 per kVA maximum demand plus Rs. 2 per unit. Calculate the flat rate of energy consumption. What will be the annual saving if pf is raised to unity?

8. 	Write short notes on the following:

(a)	Advantages of high load factor.

(b)	Sinking found method of depreciation.

###

Code No: NR-220204

Set No:

3

II-B.Tech II-Semester Supplementary Examinations April/May, 2004

POWER SYSTEMS-I

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. 	With the help of neat sketches, explain what are the following:-

a) Dam		b) Spillway	c) Penstock	d) Tail race	e) Draft tube.

2. 	What are the systems used for firing the boilers? Explain by giving sketches. Also mention the advantages and disadvantages of pulverizing the fuel used in boilers?

3. a)	Explain the function of chimney and precipitator.

b)	Discuss the need of cooling towers and list out various types of cooling towers.

4. a)	Define Half life period. Derive the expression for half life period. Mention the significance of it.

b)	Discuss various factors which affect the selection of site for a nuclear power plant.

5. 	Compare thermal and fast breeder reactors.

6. 	What are the different types of bus-bar arrangements used in sub-stations? Illustrate your answer with suitable diagrams.

7. a) 	Describe some of the important types of tariff commonly used .

b) 	A power supply is having the following loads: -

Type of load          Max. demand (kW)     Diversity of group        Demand factor

Domestic                    1 500                             1.2                                  0.8

Commercial                2 000                             1.1                                  0.9

Industrial                   10 000                            1.25                                1.0

If the overall system diversity factor is 1.35, determine (i) the maximum demand and (ii) connected load of each type.

8. a)	Describe the desirable characteristics of a tariff.

b)	A generating station has a maximum demand of 20 MW, load power factor of 60%, a plant capacity of 48% and a plant use factor of 80%. Find (i) the daily energy produced, (ii) the reserve capacity of the plant and (iii) the maximum energy that could be produced daily if the plant running all the time.

###

Code No: NR-220204

Set No:

4

II-B.Tech II-Semester Supplementary Examinations April/May, 2004

POWER SYSTEMS-I

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. 	Sketch a layout of a hydraulic power plant suitable for high heads.  Label the various parts and explain their functions.

2. 	What do you understand by dry bottom furnace and wet bottom furnace? Explain with relevant diagrams.

3. 	What are the functions of Economizer and superheater in a thermal power plant?

4. a)	Explain the structure of a atom. What is the difference between Atomic no. and Mass no. and Mention their relevance in nuclear reaction?

b)	Write shot notes on:

i)	Isotopes with examples.

ii)	Rate of Radio-active decay

5.	Explain the following with neat diagrams:

a) AC 3 phase 3 wire distribution system

b) AC 3 phase 4 wire system

6. a) 	Explain the procedural steps that should be adopted for designing a sub-station.

b) 	What are the equipments present in typical sub-station? Explain them in detail.

7. a)	Define the term “Diversity factor” and prove that the load factor of a supply system is improved by increase in diversity of load.

b)	Calculate annual bill of a consumer whose maximum demand is 100 kW, pf = 0.8 lagging and load factor = 60%. The tariff used is Rs. 475 per kVA of maximum demand plus Rs. 2.5 per kWh consumed.

8. a)	Define and explain the importance of the following terms in generati A distribution transformer costs Rs. 4 00 000 and has a useful life of 25 years. If the salvage value is Rs 20 000 and rate of annual compound interest is 8%, calculate the amount to be saved annually for replacement of the transformer after the end of 25 years by sinking fund method.

ons:

(i) connected load, (ii) maximum demand, (iii) demand factor and (iv) average load.

b)	An equipment in a power station costs Rs. 15 60 000 and has a salvage value of Rs. 60 000 at the end of 25 years. Determine the depreciated value of the equipment at the end of 25 years on the following methods:

- Straight line method;

- Diminishing value method.

###