Code No: NR-220402

Set No:

1

II-B.Tech. II-Semester Suppl. Examinations, April/May-2004

ELECTRICAL TECHNOLOGY

(Common to Computer Science and Engineering, Computer Science and Information Technology, Electronics and Communication Engineering, Computer Science and Systems Engineering, Electronics and Telematics and Electronics and Computer Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	State the reasons for a self exited DC shunt generator to fail to build up voltage and suggest the necessary modifications.

b)	Explain the importance of critical field resistance and how it can be determined.

# c)	A 4-pole generator having wave-wound armature winding has 51 slots. Each slot contains 20 conductors. What will be the voltage generated in the machine when driven at 1,500 rpm assuming the flux per pole to be 7.0 mWb?

2.a)	With the help of neat sketches, explain torque-speed characteristics of the i) D.C. Series  ii) D.C. Shunt	motors.

# b)	Find the torque in N-m exerted by a 4-pole series motor whose armature has 1200 conductors connected up in a 2-circuit winding. The motor current is 10A and the flux per pole is 0.02 Wb.

3.a)	Draw the phasor diagram of a transformer on (i) no load, (ii) full load with

inductive load and explain.

b) 	A 1-phase transformer is supplied 6000 V. The terminal voltage on the secondary side when loaded at power factor 0.8 is 254 V. The equivalent resistance and reactance drops are 1 and 5%. Find the turn ratio.

4.a)	Explain how the equivalent circuit parameters can be obtained from open circuit and short circuit tests.

# b) 	A 300 kVA, 11000 / 440 V, single phase, 50 Hz, transformer gave the following test results. Open circuit test on LV side a normal voltage and frequency input 1.3 kW, 21.1 amp; short circuit test HV side with voltage 600 V, input 2.80 kW, 15.0 amps. Calculate the efficiency and regulation for full load at 0.8 p f lagging.

5.a)	Explain the rotor resistance starter for an induction motor.

b) 	A 3-phase, 400 V, 50 Hz induction motor. takes a power input of 35 kW at its full-load speed of 890 r.p.m. The total stator losses are 1 kW and the friction and windage losses are 1.5 kW Calculate (i) slip (ii) rotor ohmic losses (iii) shaft power (iv) shaft torque and (v) efficiency.

Contd…2

# Code No. NR-220402			    	   -2-				      Set No. 1

6.a)	Deduce an expression for  induced emf of a 3-phase alternator.

# b)	A 24 pole, 300 r.p.m, 3phase star connected salient pole alternator has 5 slots per pole per phase and each slot takes two coil sides of 10 conductors each. The flux per pole is 0.01 wb and is distributed sinusoidally. Calculate the e.m.f induced between the lines if the coils are short pitched by 3 slots.

7.a)	Explain the principle of working of synchronous motor.

b) 	A 3 phase, 1385 v star connected synchronous motor having synchronous reactance of 2 ohm per phase and negligible resistance takes an input of 207.8 kw with an induced e.m.f of 916.5 v per phase. Calculate the motor line current and its power factor.

8.a)	Give the description of A.C tachometer and mention its applications.

b) 	Write a short note on shaded pole type servo-motor.

# ^^^

Code No: NR-220402

Set No:

2

II-B.Tech. II-Semester Suppl.Examinations, April/May-2004

ELECTRICAL TECHNOLOGY

(Common to Computer Science and Engineering, Computer Science and Information Technology, Electronics and Communication Engineering, Computer Science and Systems Engineering, Electronics and Telematics and Electronics and Computer Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Why brushes and commutator are necessary for operation of a D.C. Machine?

b)	How D.C. Generators are classified?

c)	The armature of a 6-pole d.c. generator has a wave winding containing 664 conductors. Calculate the generated e.m.f. when flux per pole is 0.06 weber and the speed is 250 rpm. At what speed must the armature be driven to generate an e.m.f. of 250 V if the flux per pole is reduced to 0.058 weber?

2.a)	What are all the various losses in a D.C. Machine?

b)	A series motor of resistance 1 ohm between terminals runs at 1,000 rpm at 250 V with a current of 20 A. Find the speed at which it will run when connected in series with a 6 resistance and taking the same current at the same supply voltage.

c)	Derive an expression for efficiency of a D.C. Machine.

3.a)	Discuss the constructional features of transformers by drawing neat diagrams.

b) 	Calculate the flux in the core of a single-phase transformer having a primary voltage of 230 V, at 50 Hz and 50 turns. If the flux density in the core is 1Tesla, calculate the net cross-sectional area of the core.

4.	Describe the exact and approximate equivalent circuit of a single-phase transformer.  Also describe experiments to obtain the parameters of the equivalent circuits.

5.a)	Explain the Autotransformer starters used in induction motors. What are its advantages?

b) 	A 200 kW, 3300 V, 6-pole, 50 Hz star-connected slip-ring induction motor has a star connected rotor. Stator to rotor turns ratio is 3.2. Rotor resistance and leakage reactance are 0.1  and 1  respectively. Neglect stator impedance. Find            (i) current and torque at starting on rated voltage and with slip rings short circuited and (ii) the external resistance required to reduce the starting current to 50 A with across-the-line starting. Compute also the starting torque under these conditions.

Contd…2

# Code No. NR-220402			    	   -2-				      Set No. 2

6.a)	Explain the tests to be conducted for determining synchronous impedance.

b) 	A 100 KVA, 6.6 KV, 3phase star connected synchronous generator has a synchronous reactance of 25 ohm per phase. It supplies full load current at       0.75 p.f lagging and a rated terminal voltage. Compute the terminal voltage for the same excitation when the generator supplies full load current at 0.8 p.f leading.

7.a)	Explain why a synchronous motor doesn’t have self-starting torque. Explain one method of starting a synchronous motor.

b)	A 3 phase, 3300 v, star connected synchronous motor has a synchronous reactance of 5 ohm per phase. The input to the motor is 1000 kw at a normal voltage and the induced line e.m.f is 4000 v.Calculate the line current. Neglect armature resistance.

8.a)	Single phase induction motors are not self starting.  Explain Why?

b) 	How is single phase induction motors made self started.  Explain one method.

^^^

Code No: NR-220402

II-B.Tech. II-Semester Suppl. Examinations, April/May-2004

Set No:

3

ELECTRICAL TECHNOLOGY

(Common to Computer Science and Engineering, Computer Science and Information Technology, Electronics and Communication Engineering, Computer Science and Systems Engineering, Electronics and Telematics and Electronics and Computer Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Deduce the equation for the e.m.f. induced in a D.C. Machine.

# b)	A long shunt dynamo running at 1,000 rpm supplies 22 kw at a terminal voltage 220 V. The resistance of armature, shunt field and series field are 0.05, 110 and 0.06 ohms respectively. The overall efficiency at above load is 88%. Find             i) copper loss, ii) iron and friction losses.

2.a)	Deduce the condition for maximum efficiency of a D.C. Generator.

b)	What do you understand by Constant losses in a D.C. Machine?

# c)	A shunt generator has a full load current of 195 A at 250 V. The stray losses are 720 W and the shunt field coil resistance is 50 . It has a full load efficiency of 90%. Find the armature resistance. Also find the current corresponding to maximum efficiency.

3.a)	Develop the equivalent circuit of a single-phase transformer and draw its phasor diagram for a leading power factor load.

b) 	A single phase 230/115V, 50 Hz, 2.5 KVA, transformer has 110 turns as Primary as HV side.  Determine the emf/turn, number of turns of LV side, full load currents as ht/LV sides.

4.a)	Derive the expression for regulation of a 1-phase transformer when it delivers

leading power factor load.

b) 	The efficiency, at unity power factor, of a 6600/384 V, 200kVA, 1-phase transformer is 98% both at full load and half load. The power factor on no-load is 0.2 and the full load regulation at lagging power factor of 0.8 is 4%. Draw the equivalent circuit referred to L.V. side and insert all values.

5.a)	Sketch the torque-speed curve of an induction motor and indicate how this will change when the rotor resistance is doubled keeping stator voltage and frequency unchanged.

b)	A 3-phase star-connected, 440 V, 50 Hz, 4-pole induction motor has the following constants in ohms per phase referred to stator side r1 = 0.294, x1 = 0.503, r2 = 0.144, x2 = 0.209. The stator core losses are negligible. Total friction and other losses (assumed constant) = 1400 W. Find the power output in kW and the rated output in Nm if the motor is being operated at rated voltage and frequency with 5 percent slip.

Contd…2

# Code No. NR-220402			    	   -2-				      Set No. 3

6.a)	Draw a neat sketch showing the various parts of a synchronous machine and explain each part briefly.

# b) 	A 3ph, 50 Hz, 20 poles Salient pole alternator with star connected stator winding has 180 slots on the stator. Each slot consists of 8 conductors. The flux per pole is 25 mwb and is sinusoidally distributed. The coils are full pitch. Calculate (i) the speed (ii) the generated e.m.f per phase and (iii) the line e.m.f.

7.a)	Draw the phasor diagram of the synchronous generator on load. Explain the meaning synchronous reactance.

# b)	A 4 pole, 400 V, 50 HZ, 3 phase star connected synchronous motor has a synchronous reactance of 2.0 ohm per phase. The resistance of the stator winding is negligible. The field excitation is so adjusted that the e.m.f induced is equal to the supply voltage. On application of a certain load the rotor is retarded by 4 mechanical degrees. Find the armature current drawn by the motor.

8.a)	Explain the operation of a single phase induction motor on the basis of double revolving field theory.

b) 	Draw a typical torque-speed curve of a single phase induction motor on the   basis of double revolving field theory.

# ^^^

Code No: NR-220402

Set No:

4

II-B.Tech. II-Semester Suppl.Examinations, April/May-2004

ELECTRICAL TECHNOLOGY

(Common to Computer Science and Engineering, Computer Science and Information Technology, Electronics and Communication Engineering, Computer Science and Systems Engineering, Electronics and Telematics and Electronics and Computer Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Mention the reasons for compounding D.C. Generator. Neatly sketch and explain the external characteristics of a D.C. Compound Generator.

b)	A short shunt compound generator delivers a load current of 30A at 220V and has armature, series field and shunt field resistances of 0.05 , 0.03  and 200  respectively. Calculate the induced emf and the armature current. Allow 1.0V per brush for contact drop.

2.a)	What are the applications of i) D.C. Shunt motor ii) D.C. Series Motor and        iii) D.C. Cumulative Compound Motor.

b)	Draw typical Load-Speed characteristics of a D.C. Series and Shunt Motors and give difference in them.

c)	A 220 V d.c. shunt motor with constant field drives a load whose torque is proportional to the speed. When running at 1000 rpm it takes 30A. find the speed at which it will run if a 10  resistance is connected in series with its armature. The resistance of armature may be neglected.

3.a)	Draw the phasor diagram of transformer under loaded conditions.

b) 	Explain the principle of working of 1-Phase transformer on no-load conditions.  Also explain the nature of no-load current.

4.a)	Why is the efficiency to be maximum and regulation to be zero in transformers?

b) 	A 250 kVA, 10000 / 400 V, single phase, 50 Hz, transformer gave the following test results. Open circuit test on LV side a normal voltage and frequency input   1.2 kW, 21 amp; short circuit test HV side with voltage 500 V, input 2.5 kW, rated current circulated. Calculate the efficiency and regulation for full load 0.8 power factor lagging.

5.a)	With usual notation deduce the expression for running torque of a 3-phase induction motor.

b)	A 3 phase, 50 Hz, 6-pole induction motor has a shaft output of 10 kW at             930 r.p.m. Friction and windage loss amount to 1% of output. Total stator losses are 600 W. (i) Determine the rotor input and stator input. (ii) If maximum torque is developed at 800 r.p.m., compute the starting torque with rated-voltage starting.

Contd…2

# Code No. NR-220402			    	   -2-				      Set No. 4

6.a)	Derive e.m.f equation for an alternator and explain distribution factor and pitch factor used in e.m.f. Equation.

b)	Write the expression showing the relationship between speed frequency and no. of poles of a synchronous machine. The speed of rotation of the turbine driving an alternator is 166.7 r.p.m. What should be the no. of poles of the alternator if it is to generate voltage at 50 HZ.

7.a)	Explain the working principle of the synchronous motor on no load and on load with the help of phasor diagrams.

b) 	A 3 phase, 440 V, 50 Hz star connected synchronous motor develops 7.4 kW. The effective resistance per phase of the stator winding is 0.5 ohm. The motor operates at power factor of 0.75 lagging. Iron and mechanical losses amount to 500 W and the excitation loss is 650 W. Calculate (i) armature current (ii) efficiency of the motor.

8.a)	Discuss the function of an a.c.tacho.meter.  Explain its construction and 	operations.

b) 	What are the applications of stepper motor and synchros?

^^^