Code No: NR/RR 221106.

Set. No:

1

II-B.Tech -II-Semester Regular Examination April/May 2004

# BASIC CLINICAL SCIENCES - I

(Bio-Medical Engineering)

Time: 3 hours.							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Describe the procedure of Hemodialysis with a suitable block diagram.

2.	Explain Electro Encephalography in detail.

3. a)	Discuss some possible uses of Electromyography.

b) 	What is meant by Spinal Reflex?

c) 	How Spinal Reflex is related to the functions of Brain?

4. 	Sketch and explain the operation of Heart-Lung Machine.

5. a)	Describe the generation of ECG.

b) 	Explain the operation of a pacemaker and why is it needed.

6. a)	What are the important characteristics of Ultrasonic Waves?

b) 	Write a note on Diagnostic Ultra Sound.

7.	Comment on Clinical Significant Investigations.

8.	Discuss about the necessity of “Nutritional Support” and it’s process within a Human Body.

~ ~ ~ ~

Code No: NR/RR 221106.

Set. No:

2

II-B.Tech -II-Semester Regular Examination April/May 2004

# BASIC CLINICAL SCIENCES - I

(Bio-Medical Engineering)

Time: 3 hours.							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Describe the procedure of peritoneal dialysis with a suitable block diagram.

2.	Write a note on:

a) 	Diseases of nervous system.

b) 	Diseases of muscle.

3. a) 	Explain the working  principle of Angiography.

b) 	What is Tomography?

c) 	Explain the principle of CT.

4. 	Explain the working of Heart-Lung Machine?

5. a) 	Sketch the ECG wave form and state its amplitudes and intervals.

b) 	What are the Objectives of Cardiac Monitor?

6. a) 	Write a short note on Cardiac Assist Devices.

b) 	Write a brief note on Treadmill.

7.	Explain Laproscopy and its uses in various surgeries.

8.	Discuss about the Signs and Diseases of GI Tract.

~ ~ ~ ~

Code No: NR/RR 221106.

Set. No:

3

II-B.Tech -II-Semester Regular Examination April/May 2004

# BASIC CLINICAL SCIENCES - I

(Bio-Medical Engineering)

Time: 3 hours.							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	List eight sections of a Hemodialysis machine and draw a neat block diagram.

2. a)	Explain the differences between a Motor Nerve and Sensory Nerve.

b) 	What do you mean by Myastheviagravis?

3. a) 	Name few applications of Computer Tomography?

b) 	Differentiate between conventional X-ray imaging and CT.

4.	Sketch and explain the Cardiac Cycle.

5. a) 	Write a note on Clinical ECG classifications.

b) 	What do you mean by Cardiac Pacing?

6. a) 	What do you mean by “Ergometer?

b) 	Give few applications of Cardiac Assist Devices.

7.	Discuss about the I.C.C.U organization and its clinical aspects.

8.	Explain Optical principle of Flexible Endoscope.

~ ~ ~ ~

Code No: NR/RR 221106.

Set. No:

4

II-B.Tech -II-Semester Regular Examination April/May 2004

# BASIC CLINICAL SCIENCES - I

(Bio-Medical Engineering)

Time: 3 hours.							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Explain the process of Chronic Ambulatory Peritoneal Dialysis.

2. a)	Give few clinical applications of EEG measurements.

b) 	Write a brief note on:  Neuropathy.

3. a) 	What is the basic principle of Computer Tomography?

b) 	Explain Pneumoencephalography?

4.	Describe the Anatomy and Physiology of Human Heart.

5. a) 	Distinguish between Normal and Abnormal ECG.

b) 	What part of ECG is most useful for determining the Heart Rate?  Explain.

6. a) 	Give few clinical applications of “Ergometer”.

b) 	Name the different types of Ultrasound Scanners used in the diagnostic      purposes.

7.	Distinguish between Open Heart and By-pass Surgeries?

8.	Explain the anatomy and physiology of GI Tract.

~ ~ ~ ~