Code No: NR-312002

Set No:

1

## III-B.Tech. I-Semester Supplementary Examinations, May/June-2004

METROLOGY AND QUALITY CONTROL

(Production Engineering)

# Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.a)	What do you understand by the term cosine error while reading a linear scale.

b)	 Illustrate a case I which combined sine and cosine error occurs.

2.   	Write a neat sketch of Dial Indicator Micrometer and explain how it is advantageous to use this than other types of micrometers. Show by means of a sketch how you measure the diameter of a- Rod with dial indicator micrometer.

3.a)     Write a neat sketch of Sine Table and explain its uses by means of a neat sketch.

- What are Angle Gages? Explain the use of Angle gages by means of a neat sketch           	Show how do you set 570 34’9”.

4.a)	How the accuracy of Straight Edge specified? How it can be checked?

- Describe three methods of testing a Straight Edge, one meter long stating the   advantage and source of error in each.

5.a)	Write a neat sketch of a Profile Projector and explain the function and uses of it.

Neatly sketch the following and give the names of each part of the gage.

- (i) Snap Limit Gage 		(ii) Pilot Gage 		(iii) Taper Plug gage.

6.a)	Give a neat sketch of Reed Type of Mechanical Comparator and explain how it

functions.

b)     What are the errors in Screw threads mention them and explain any one of them detail by means of a neat sketch.

7.a)       Differentiate between Inspection and Quality Control.

- Explain what do you mean by Chance causes and Assignable causes of variation.

- List the types of Quality characteristics and explain them.

8.a)	What is Quality Assurance? List out the Quality Assurance Functions.

- Write a note on Quality Circles.

- What do you mean by Lot Control?

^*^*^

Code No: NR-312002

Set No:

2

## III-B.Tech. I-Semester Supplementary Examinations, May/June-2004

METROLOGY AND QUALITY CONTROL

(Production Engineering)

# Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Explain how Slip gages are manufactured.

b)	How do you Calibrate Slip gages.

2.a)    Give a neat sketch of Sine Bar and explain how it is used in measuring and angle by means of a neat sketch.

b)    Explain by means of a neat sketch the uses of Optical Flat and Angle Constant       Deviation Prism.

3.a)	Explain by means of a neat sketch how do you test squareness by using an Optical    Square.

b)	Explain how do you measure the Flatness of a surface plate.

4.a)	What are the geometrical irregularities of a machined surface? Give their classification.

- Explain the following terms:

i) Surface Roughness, ii) primary Texture, iii) secondary Texture, iv) Mean Line of the profile.

5.a)	Sketch the following:

i) Doubled ended Limit plug Gage  ii) Single ended Limit plug Gage.

iii) Dial Gage, iv) Ring gage.

b)      Explain Taylor’s principle in designing the Go and No Go Gages.

6.a)      Give a neat sketch of pneumatic comparator and explain its uses.

b) 	Compare the advantages and limitations of Mechanical and Electrical Comparators.

7.a)	Give a neat sketch of Wickman type of gage for gauging thread elements.

- Explain the use of Gear pitch checking instrument with a neat sketch.

8.a)	Distinguish between variable data and attribute data.

- The following is the data showing the number of defectives in samples of 100 casting.

| Sample No | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Number of defectives | 19 | 20 | 18 | 12 | 10 | 18 | 20 | 30 | 25 | 05 |

Draw a C-chart.  Use graph sheet.

^*^*^

Code No: NR-312002

Set No:

3

## III-B.Tech. I-Semester Supplementary Examinations, May/June-2004

### METROLOGY AND QUALITY CONTROL

(Production Engineering)

# Time: 3 hours							Max. Marks: 80

## Answer any Five questions

## All questions carry equal marks

- - -

1.a)	Distinguish between Line Standard and End standard of measurements.

- Sketch a Dial Indicator and name the components and explain its uses.

- Distinguish between Accuracy and Procession.

2.a)	With a neat sketch explain how do you measure the angles by means of an Angle Dekkor.

- Explain the use of a Sine plate by means of a neat sketch.

3.a)	Sketch and comment upon five typical interference patterns while testing a small

plane surface by means of an Optical flat.

- With a neat sketch explain the use of an Autocollimator.

4.a)  	With a neat sketch explain how a Tomlinson Surface Meter is used for testing

flatness of a surface.

- Explain what is the meaning of Root Mean Square value and Centerline Average.

5.a)	Explain Taylor’s Principal of Limit gauging. Can this principle be strictly

followed in practice? Justify your answer. Determine the limit of dimensions of

the gauge for checking hole of 30+0.02mm. diameter and give a sketch of the

limit gauge.

- Explain by sketches the use of profile gages and feeler gages.

6.a)	What is a comparator? Classify the different types of comparators.

- Describe a Mechanical Comparator and clearly explain the magnification method

adopted in it.

- Explain the difference between Gauging and measuring.

7.a)	What are the three most important dimensions of v-form of screw threads.

- Explain with a neat sketch the use of wickman type of Screw thread gage.

- Give a neat sketch of Spur gear tooth and show what are the important features

needs checking while gear is being tested for its accuracy.

8.a)	Explain the construction procedure for an Attribute chart.

- Write a note on C-Chart and U-Chart.

c)      Give a neat sketch of O.C.Curve and explain its uses.

^*^*^

Code No: NR-312002

Set No:

4

## III-B.Tech. I-Semester Supplementary Examinations, May/June-2004

METROLOGY AND QUALITY CONTROL

(Production Engineering)

# Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	What is the relationship between sensitivity and range? What is the disadvantage

of very sensitive instruments?

- Give a neat sketch of Vernier Height Gage and give its nomenclature.

- What are Slip gages? With M112 set of slip gages how do you build a length of 58.975mm?

2.a)	With neat sketch explain how you work with Dowell Prism and Optical square.

- Select the sizes of Angle gages required in building the following angles:

i) 22o ,  ii) 11o 20’ 29”, iii)54”, iv)31o 49 ‘24”

3.a)	How do you test the accuracy of slip gages by using Optical flat.

- Give brief description of four methods used for checking the squareness and

Parallelism of machine parts.

4.a)	Explain by a sketch the working of Taylor-Hobson Talysurf.

- How do you do surface Inspection by comparison Method. Explain.

5.a)	Explain why a GO gauge should be of full form and a NO GO gauge should    check only one dimension or element or feature of the work.

- What is the Taylor’s principle as applied to the design of limit gauges?

- Sketch and explain the use of Feeler Gauge and Position Gauge.

6.a)	How does a Comparator differ from a Measuring Machine?

- Explain the Principle and operation of an Optical Comparator.

7.a)	How will you check the pitch of a screw ring gage? Explain with the help of a neat sketch the principle of the instrument used clearly incorporating therein the

mechanism of stylus moment. What will be the expected accuracy of the instrument?

- What are the different elements of a Spur Gear, Which require inspection? Name the instruments used in the inspection of these elements with their expected accuracies.

8.a)	What is the meaning of Quality of Conformance? Explain the factors, which              influence the quality of conformance.

- Define the term quality Control and explain its objectives.

- Explain what is Total Quality Management.

^*^*^