Code No: NR-311304

Set No:

1

III-B.Tech. I-Semester Supplementary Examinations, May/June-2004

PROCESS CONTROL

(Electronics and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.a)	What is a mathematical model of process? Why it is required?

b)	Obtain the mathematical model of a process shown below.

2.a)	Discuss about the selection of controllers for various processes.

b)	In an electronic PID controller, how to remove the action of I and D modes.

3.a)	Explain the principle of operation of a differential pressure cell and explain how it can be used to measure level.

b)	Explain the principle of operation of a displacement type pneumatic proportional controller.

4.a)	Discuss about the characteristics of control values.

b)	Explain the principle of operation of a current to pressure converter, with a neat sketch.

5.a)	Explain about the operation of a relay type electric actuator.

b)	Discuss about sliding stem control values.

6.	Explain the controlling of reactant flows with suitable examples when the reactants and products are immiscible.

7.	Discuss the controlling aspects for maximum product recovery under constraints.

8.	What is composition feedback? Explain in detail its effect on controller gain.

-x-x-x-

Code No: NR-311304

Set No:

2

III-B.Tech. I-Semester Supplementary Examinations, May/June-2004

PROCESS CONTROL

(Electronics and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.a)	What is integral wind up? Explain.

b)	Discuss about two-position control and single speed floating control.

2.a)	What is meant by rate before reset action?

b)	Explain about any one method for implementing anti-reset windup and business transfer.

3.a)	Explain about ratio control system.

b)	Discuss about tuning of cascade controllers.

4.a)	Discuss about rotating shaft control valves .

b)	Level is to be controlled in a tank. The inlet flow range is 100-1000gpm. The liquid is mineral oil, having a specific gravity of 0.88, the line pressure is 100-150psi and throttling pressure drop varies from 150-110 psi .  Temperature varies from 70-1400F.  Determine the size of the control valve.

5.	The level in a drum boiler exhibits an inversion time of 12 sec. Estimate the optimum  settings of proportional band and integral time, if the time constant of the drum is 50 sec.

6.	What is inferential control? Explain. How is it used in controlling the rate of drying?

7.	Discuss the use of  feed forward control of steam flow in an evaporator.

8.	Write a short notes on controlling conversion in a reactor.

-x-x-x-

Code No: NR-311304

Set No:

3

III-B.Tech. I-Semester Supplementary Examinations, May/June-2004

PROCESS CONTROL

(Electronics and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.a)	Differentiate between batch and continuous process.

b)	What is a self-regulating process?  Explain it with an example.

2.a)	What is controller tuning? Why it is required?

b)	Explain about Ziegler Nicol’s method in detail.

3.a)	Discuss about the selection of temperature sensors for various applications.

b)	Compare pneumatic transmission with electric transmission.

4.a)	Explain about any two non-contact type of flow measurement.

b)	Explain about the design of air supply system for pneumatic instruments.

5.a)	Discuss about the advantages and disadvantages of feed forward control system.

b)	Can a feed forward controller alone be used to control a process?-Discuss.

c)	Give an example for feed forward control scheme and explain it.

6.	Design a simplified decoupling  system for the control of temperature and flow of a mixture of hot and cold water, whose flow rates are the manipulated variables.

7.	A reboiler is heated with hot oil at varying temperature. Explain in detail how the heat transfer rate can be controlled.

- Discuss the relative gain analysis in the context of distillation columns.

-x-x-x-

Code No: NR-311304

Set No:

4

III-B.Tech. I-Semester Supplementary Examinations, May/June-2004

PROCESS CONTROL

(Electronics and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.a)	Explain about the different variables of a process.

b)	Define degrees of freedom. What does it specify?

c)	Obtain the degrees of freedom of a liquid to liquid heat exchanger.

2.a)	Compare the response of a base thermocouple and thermocouple with a thermocouple,	for step change in input.

b)	Explain the operation of a hydraulic P+I controller.

3.a)	How to convert a proportional controller, in to an ON-OFF controller?

b)      Design an analog PID controller,  having a proportional gain of 5,  integral time of 2 S-1, derivative time of 0.5s and offset of 25%.The out put range of the controller is 4-20 mA.

4.a)	Explain the concept of cascade control.

b)	Give an example for cascade control and explain .

5.	Write a detailed note on pneumatic and hydraulic actuators.

6.	The temperature of condensate leaving a condenser is being controlled by manipulating the flow of cooling water. Assume U≈ k wc . Derive the variation of Q with Wc .  What are the limitations of this approximation?

- Discuss the stability of an exothermic reactor.

- A triple-effect evaporator concentrates fructose from 35 to 70 weight percent solids. The density of feed is 1540Kg /min/m3.  Estimate the steam flow in kgs/min required to concentrate each cubic meter per minute of feed.

-x-x-x-