Code No:  310854

OR

III B.Tech I-Semester Supplementary Examinations, May 2004

PROCESS INSTRUMENTATION

(Chemical Engineering)

Time: 3 hours							Max. Marks: 70

## Answer any FIVE questions

## All questions carry equal marks

---

1. 	What are the different elements of a measuring instrument? Describe in detail.

2. a)	Briefly compare the relative merits of the material used in resistance thermometers. Why are the resistance thermometer better than thermocouples?

b)	Discuss the resistance thermometer circuits commonly employed in the industry.

3. 	Explain the principle of Fourier transform spectrometry. How is it adopted in IR methods of analysis.

4.	What are the types of recorders used in Gas chromatography for data handling? Explain their features.

5.	With a neat diagram explain the constructional features and the working with the circuitry of a thermocouple (thermal type) vacuum gauge.

6. a)	What are the two modes of measurement   of liquid level and which variable is             measured in each mode?

b) 	Explain the functioning of a float and tape liquid level gage with the help of a             figure. What is its range of operation?

7. 	Explain the various types of area flow meters used in industries.

8.	Draw and discuss the instrumentation diagram for a steam power plant.

###