Code No: NR-321002

Set No:

1

III-B.Tech II-Semester Examinations April/May, 2004

OPTO ELECTRONICS AND LASER INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a) 	What is a Multimode graded index fibre and explain about it with the necessary figures and equations.

b) 	What are the single mode fibres and explain them in detail with the necessary figures and equations.

2. a)	Explain about the various applications of optical fibers for instrumentation.

b)	With the help of a block diagram explain the various elements of an Optical fiber Transmission Link.

3. a)	Obtain an expression for intensity for each mode in mode locked system; what is the value of peak intensity of each mode locked pulse.

b)	For a three level laser medium obtain an expression for rate equation, peak power and pulse duration.

4. a)	Explain how the Moire-Fringe modulation fiber optic sensor helps in eliminating the instability encountered with fiber optic intensity modulated sensor.

b)	With a neat diagram explain the interferometric method of measurement of length.

5. a)	Differentiate between a transducer and a sensor.

b)	Explain a method for measurement of current by a single mode fiber optic sensor with the help of a diagram.

c)	How do you estimate the transmission line loss using the above sensor.

6. 	With neat diagrams explain:

a)	Lasers in precision length measurement.

b)	Lasers in velocity measurement.

7. a)	With the help of neat sketches explain holographic interferometry?

b)	With the help of neat sketches explain holographic computer memories?

8. a)	What is meant by modulation?

b)	Explain the phenomenan of electro – optic effect. Discuss the operation of a linear electro – optic modulator.

###

Code No: NR-321002

Set No:

2

III-B.Tech II-Semester Examinations April/May, 2004

OPTO ELECTRONICS AND LASER INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a) 	Briefly explain about the optical fibre construction details and show a figure for transmission of light rays and discuss about the refractive index distribution with a graph.

b) 	Discuss about the Pulse dispersion in step index optical fibre with the necessary graphs.

2. a)	Give a point – to – point fiber optic communication link block diagram and explain the use of each block in detail.

b)	Give any three applications of optical fibers for instrumentation and explain them with the necessary figures.

3. a)	Obtain an expression for spatial length of pulse in an inhomogenously broadened laser

b) 	Explain mode locking setup for He- Ne laser.

4. a)	Describe the working of Moire-fringe modulation fiber optic sensor.

b)	Write in detail about IR sources.

5. a)	Differentiate between an extrinsic and intrinsic fiber optic sensor.

b)	Describe the arrangement and working of an optical fiber liquid level detector.

c)	Explain how the above sensor is superior over the other liquid level sensors.

6. a)	With a neat sketches explain the operation of Laser Doppler velocity meter.

b)	With a neat diagram explain the operation of laser endoscope.

7. a)	With the help of neat sketches explain holographic character recognition?

b)	With the help of neat. Sketches explain recording and reconstruction of Fourier

Transform hologram?

8. a)	Discuss the mechanism of electro – optic effect for modulation of phase.

b)	What is pockets effect?

###

Code No: NR-321002

Set No:

3

III-B.Tech II-Semester Examinations April/May, 2004

OPTO ELECTRONICS AND LASER INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a) 	Compare the various guiding medias, in respect to frequencies, Attenuation and other possible losses with the optical fibre guiding media with a necessary diagram and a graph.

b) 	What is a Numerical aperture? Explain with the necessary equations.

2. 	Explain about the following with the necessary figures.

a)	Optical fibers for communication.

b)	Optical fibers for Instrumentation.

3. a)	Explain synchronously mode-locked laser system.

b)	Find maximum power, threshold population density, pulse duration and total energy of a Q switched pulse for a ruby laser with following characteristics Length of the rod = 0.1m, area of cross section = 1 cm2,

resonator length = 10 cm, mirror reflectivity = 1 and 0.7,

Cr3+ population  density = 1.58* 1019 /cm3 , o = 6943 Ao ,

no= 1.76, tsp = 3*10-3s, g(o)= 1.1*10-12 s.

4. a)	Compare and contrast double exposure interferometry and real time interferometry.

b)	Write in detail about IR detectors.

5. a)	Differentiate between a transducer and a sensor

b)	Describe the arrangement and working of an optical fiber liquid level detector.

6. 	With neat diagrams explain:

a)	Lasers in material processing

b)	Lasers in medicine.

7. a)	Explain the terms coherence requirements, resolution in connection with hologram?

b)	With the help of neat sketches explain the recording mechanism of hologram?

8. a)	What is meant by modulation of a signal? Discuss Raman – Nath acousto-optic modulator.

b)	Why this modulator has a limited modulation bandwidth.

###

Code No: NR-321002

Set No:

4

III-B.Tech II-Semester Examinations April/May, 2004

OPTO ELECTRONICS AND LASER INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	Give the brief introduction about the following with the necessary figures.

(i)	Optical Fibre.

- Losses in Optical Fibers.

b)	List the advantages of Optical fibers over conventional cables.

2. a) 	What is the necessity of optical fibers in communication explain the steps involved in developing a communication system using optical fibers with figures.

b) 	List out the applications of optical fibers in Instrumentation and explain the operation of one instrument using optical fibers with a figure.

3. a)	Explain the working of a Ruby laser.

b) 	Explain the working of a 4 level laser system.

4. a)	Explain how the Moire-Fringe modulation fiber optic sensor helps in eliminating the instability encountered with fiber optic intensity modulated sensor.

b)	Differentiate between an intensity modulated sensor and interferometric fiber optic sensor.

5. a)	What is an Evanescent sensor?  Explain.

b)	Explain a method for measurement of current by a single mode fiber optic sensor with the help of a diagram.

6. 	With neat diagrams explain:

a)	Lasers in weather monitorning.

b)	Lasers in surgery.

7. 	Write short notes on

(a) Holographic recording materials

(b) Recording and Reconstruction of Fourier Transform Hologram.

8. a)	Discuss the acousto – optic Bragg modulator.

b)	Why Bragg diffraction modulators are preferred over Raman – nath modulator.

###