Code No: 321054

### OR

III-B.Tech II-Semester Supplementary Examinations, May, 2004

# TELEMETRY AND TELECONTROL

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering)

# Time: 3 hours.							Max. Marks: 70

## Answer any FIVE questions

## All questions carry equal marks

---

1	Explain the principle and operation of hydraulic and optical telemetry systems with figures.

2.a)	Explain the principle and operation of voltage telemetry system with figures.

b)	Explain the principle and operation of current telemetry system with figures.

3.a)	What is a Amplitude Modulation give a scheme for obtaining amplitude modulation with a figure, derive the expression for the output and draw the input and output waveforms.

b)	Define modulation index in the Amplitude Modulation give the expression and derive the expression for the Total Power in the Amplitude Modulation, in terms of the modulation index.

4.a)	Draw the block schematic for obtaining the pulse code modulation line waveform and explain the operation of each block with the necessary graphs.

b)	Explain the Pulse Position Modulation and the Pulse Width Modulation with waveforms.

5.a)	Explain the principle and operation of a FSK with waveforms.  Draw the figure of a set of modems using FSK and explain its operation with graphs.

b)	Explain the operation of FSK using two carrier oscillators with a block diagram and waveforms.

6.a)	Explain the reflection – refraction mechanism in a optical cable with step –index profile and derive the expression for the “Numerical Apenture”.

b)	Explain the Dispersion in optical fibres with figures and with the necessary expressions.

7.a)	Briefly explain about the optical telemetry system with a example.

b)	Briefly explain the tele control system with a example.

8.a)	Briefly explain about the Tele control using information theory.

b)	Explain the Principle and operation of Synchro – Position telemetry system with a figure and with the necessary expressions.

#$#$#.