Code No: 320251

OR

III-B.Tech. II-Semester Supplementary Examinations, April/May-2004

POWER SYSTEMS-II

(Electronics and Electrical Engineering)

# Time: 3 Hours							Max. Marks: 70

## Answer any FIVE questions

## All questions carry equal marks

---

1.a)	How can the inductance of a two sub-conductor bundled conductor single phase line be calculated? Derive expressions for GMR and GMD of the arrangement.

b)	A 3-phase transposed line has conductors of diameter 2cm and spaced at distance of 3, 5 and 8 meter between the centers. Calculate the inductance per phase per km of line length.

2.	What is method of images? Derive an expression for the capacitance per unit length of a 3-phase transposed line. What is the effect of earth on the capacitance of the line?

3.a)	Draw the phasor diagram of a short transmission lines and derive the expression for voltage regulation.

b)	A three phase transmission line having a series impedance of 20 + j30 ohms delivers 7MW at 33KV and 0.85 lagging power factor. Find the sending end voltage, regulation, efficiency and power angle. Neglect capacitance.

4.a)	Explain the various methods for equalizing the potential across the various units in an insulator string and discuss the methods for improving the string efficiency in a string of insulators.

b)	Explain the limitations of pin-type insulators.

5.a)	Derive the expressions for sag and tension when the supports are at unequal heights.

b)	A transmission line conductor having a dia of 19.5mm weighs 0.85kg/m. The span is 275 meters. The wind pressure is 40kg/m2 of projected area with ice coating of 13mm. The ultimate strength of the conductor is 8000Kg. Calculate the maximum sag, if the factor of safety is 2 and ice weighs 910kg/m3.

6.a)	With a neat diagram, show the various parts of a high voltage single core cable.

b)	Find the diametral dimensions for the 1-core, metal-sheathed cable giving the greatest economy of insulating material for a working voltage of 85 kv, if a dielectric stress of 60 kv per cm can be allowed.

Contd….2.

### Code No: 320251				:: 2 ::					OR

7.	Explain in detail the following methods of improving power factor. Discuss the merits and demerits of each of the methods:

a)	Static capacitor

b)	Synchronous condenser

8.a)	What is the symmetrical components? Why they are necessary?

b)	A 3-phase unbalanced system currents are read as IR=150A, IY=130A and IB=10A. the phase sequence is RYB. Find all the three symmetrical components for the case.

@@@@@