Code No: NR-320302

Set No:

1

III-B.Tech II-Semester Examinations April/May, 2004

INSTRUMENTATION AND CONTROL SYSTEMS

(Common to Mechanical Engineering, Production Engineering, Mechatronics)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	 Distinguish between the following

(i) Accuracy and precision 		       (ii) Resolution and Threshold

(iii) Reproducibility and repeatability       (iv) Dead zone and Hysteresis

b)	A measuring system with damping ratio = 0.6 is desired to give maximum sensitivity in response to a sinusoidal input. At what value of the frequency ratio   r = (w/wn) would occur?

2. 	Describe the method of measuring speed using

(i)  Capacitor type Impulse Tachometer	(ii) Tachometers.

3.	Discuss on the characteristics of thermowells and thermistor.  Explain how constant current and constant temperature is achieved using temperature sensors.

4. a)	What way strain gauge be used to measure pressure, explain.

b)	Explain the construction and working of hydraulic load cell.

5. a)	List out the advantages and limitations of direct method of level measurement.

b)	Describe with neat sketch the functioning of any two types of displacer type liquid level measuring instruments.

6. a)	What are the advantages of piezoelectric type accelerometer?

b)	Describe any one type of industrial psycrometers used to measure dry and wet bulb temperature and calculate relative humidity.

7. a)	Write the desirable characteristics of bonding material.

b)	Explain how the strain gauge functions as transducer as deflection and measurement of elastic deformation.

8. a)	Draw the schematic block diagram for an automatic washing machine and identify the input and output of the system.

b)	Draw the block diagram of a biological control system when a human hand approaches to an object to grip it. Discuss the functions of various elements of the system.

###

Code No: NR-320302

Set No:

2

III-B.Tech II-Semester Examinations April/May, 2004

INSTRUMENTATION AND CONTROL SYSTEMS

(Common to Mechanical Engineering, Production Engineering, Mechatronics)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	Explain the following terms related to dynamic characteristics of an instrument

(i) Speed of response and measuring lag  (ii) Fidelity and dynamic error

(iii) Dead time and dead zone 	(iv) Step, ramp and linear input functions

b)	Define the following terms as applied to the dynamic response of measurement systems subjected to sinusoidal input

(i) Frequency and circular frequency

(ii)Undamped natural frequency, damped natural frequency and resonant      frequency

(iii) Phase shift and time delay.

2.	What are mechanical Tachometers?  Explain with examples.  Describe the disadvantages of mechanical Tachometers.

3. a)	A thermistor has a negative resistance temperature co-efficient of 5% over a temperature range of 25 deg centigrade.  What is the resistance at 35 degc?

b)	Discuss in detail about thermopile.

4. a)	Explain the calibration procedure of  pressure measuring devices using dead weight tester.

b)	Express the ratio of sensitivies of an inclined manometer to that of a simple manometer in terms of angle “theta”.  For an inclined manometer six times more sensitive than a simple manometer; what should be the angle of incline.

5. 	Enumerate the principle of operation of the following

a) Capacitative level indicator  b) ultrasonic level measuring instrument

c) Magnetic and

6. a)	Name the different vibration sensing systems used in practice. Explain any one such system for the measurement of vibration.

b)	Explain the method to measure the dew point temperature using dry and wet bulb hygrometer.

7. a)	Name the different types of strain gauges used in practice and explain how the selection of a strain gauge affect the measurement of strain.

b)	How resistive strain gauges are calibrated?

8. a)	Describe the working of a system which automatically turns off the street lamps at dawn and turns on at dusk. Draw a schematic diagram of the system.

b)	Draw the functional diagram of thermostat controlled home heating system and identify the system parameters and components. Describe the working of the system.

###

Code No: NR-320302

Set No:

3

III-B.Tech II-Semester Examinations April/May, 2004

INSTRUMENTATION AND CONTROL SYSTEMS

(Common to Mechanical Engineering, Production Engineering, Mechatronics)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	Distinguish between the following and give appropriate examples in each case

(i) Range and span (ii) Error and accuracy (iii) Drift and reproducibility             (iv) Threshold and resolution

b)	Explain the following with block diagrams.

i. Zero order systems	ii. First order systems	 iii. Second order systems

2. a)	Describe the construction and working of a D.C. tachometer generator.  Explain its advantages and disadvantages.

b)	Explain the construction and working of a Flyball Tachometer.  Discuss its merits and demerits.

3.	With neat diagrams explain the construction, working principle of different types of pressure thermometers, compare them.

4. a)	Compare and contrast between pirani gauge and Thermocouple type conductivity gauge.

b)	Define gauge pressure show three different constructions of elastic pressure sensing elements.  Assuming that the stresses in a metallic diaphragm are linearly proportional to stress applied to the diaphragm.

5. a)	Certain meters are known as variable head meter.  Explain clearly what is meant by the designation variable head.

b)	Compare and contrast the use of venturimeter, flow nozzle and orifice meter as primary element for flow measurement.

6. a)	Compare the bonded strain gauge accelerometer and piezoelectric accelerometer of their salient features and applications.

b)	Name the different types of hygrometers used for measuring humidity.

c)	How dew point temperature is measured.

7. a)	Drive an equation for gauge factor for a metallic strain gauge.

b)	Explain the working of servo accelerometer with neat sketch.

8. a)	An automobile driver uses a control system to maintain the speed of the car at a prescribed level. Sketch a block diagram to illustrate this feedback system. Explain various functional elements of this system.

b)	The student-teacher learning process is inherently a feedback process intended to reduce the system error to a minimum. Construct a feedback model of the learning process and identify each block of the system.

###

Code No: NR-320302

Set No:

4

III-B.Tech II-Semester Examinations April/May, 2004

INSTRUMENTATION AND CONTROL SYSTEMS

(Common to Mechanical Engineering, Production Engineering, Mechatronics)

Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	Measurement systems are classified frequently as first order or second order systems. Explain the meaning of terminology.

b)	A thermometer has been suddenly plunged into a steaming water bath whose temperature remains steady at 100oC. It takes 10 seconds for the thermometer to reach the equilibrium condition which occurs at five time constants (t = 5   ).

2. a)	Explain the construction and working of an A.C. Tachometer generator.  Describe its limitations.

b)	Explain the construction, working of a photoelectric tachometer. Explain its advantages and disadvantages.

3.	What are different mechanical transducers used for temperature measurement? Explain any two types of them.

4. a)	Describe the reasons for the popularity of the Bourdon tube element for pressure measurement and show how the elements are constructed.

b)	Describe the constructional features of

i) Bellow type gauges

ii) Diaphragm types gauges and show how their output signals are processing for indication.

5. a)	Describe the operation of electrical liquid level sensors.

b)	Explain with the neat sketch cryogenic fuel level indicators.

6. a)	State two applications of an accelerometer.

b)	Calculate the RH value using dry and wet bulb thermometer readings.

c)	Name the different vibration sensing systems used in practice. Explain any one such system for the measurement of vibration.

7. a)	What is a vibrometer? With a neat diagram explain the working of a vibrometer.

b)	Describe the scheme adopted for the calibration of vibration pickup accelerometer.

8. 	A common example of a two-input control system is a home shower with separate valves for hot and cold water. The objective is to obtain (i) a desired temperature of the shower water and (ii) a desired flow of water. Sketch a block diagram of the closed loop control system. Discuss the salient feature of this multivariable control system.

###