Code No: NR-321003.

Set. No:

1

III-B.Tech -II-Semester Regular Examination April/May 2004

PRINCIPLES OF BIO-MEDICAL INSTRUMENTATION

( Electronics and Instrumentation Engineering )

Time: 3 hours.							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1. a)	Explain the terms Resting  Potential and Active potential . How are these generated in Muscles?

b)	With the help of sketches explain about polarized cell and depolarized cell.

2. a)	With the help of a  neat sketch explain about the  physiology of the heart.

b)	What are the different parts and how are bioelectrical potentials generated within it?

3. a)	What is Metal-Electrolyte interface? Explain.

b) 	Discuss the different tape recording methods used in medical systems. List its advantages and disadvantages.

4. a)	Draw and explain a typical strength-duration curve.

b)	Derive the expressions for rheobase and chronaxie.

5. a) 	What   is electrocardiogram?

b)     Differentiate electro cardiograph from electrocardiogram.

c)	Discuss about the origin of electrocardiogram.

6. a)  	Explain the system of placement of electrodes while recording the brain      activity of a human.

b)  	Describe the features EEG.

c)   	What are the characteristics of an abnormal EEG.

7. a)	What is fibrillation? With a schematic diagram, explain the working of a			 DC fibrillator.

b)	Write brief note on the following:

i)    Defibrillator electrodes.

ii)   Implantable defibrillators.

8. 	Write short notes on:

a)  	Displays used in patient monitoring system.

b) 	Calibration and repeatability of patient monitoring equipment.

~ ~ ~ ~

Code No: NR-321003.

Set. No:

2

III-B.Tech -II-Semester Regular Examination April/May 2004

PRINCIPLES OF BIO-MEDICAL INSTRUMENTATION

( Electronics and Instrumentation Engineering )

Time: 3 hours.							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1. a)	Draw the wave-form for the active potential and explain the same.

b)	Explain the terms relative refractory period and absolute refractory period.

2. a)	Explain  about the non -electrical systems of the heart .

b)	What are the functions of SA node and AV node?

3. a) 	Write the equivalent circuit of biopotential electrodes and explain briefly.

b) 	Explain the operation of ink jet recorder used for biomedical signals.

4.a)	Describe the components of a typical EMG recording system.

b)	What are the technical differences between the recorders used for EMG and ECG?

5.	Write short notes on:

a) 	Electrodes and leads in ECG.

b) 	Einthonen triangle.

6. a)	What is meant by the 10 – 20  EEG electrode placement system? Describe it.

b)  	Name five common EEG machine malfunctions.

7. a)	With a circuit diagram explain the working of a short wave diathermy unit.

b)	Explain the terms w.r.t shortwave diathermy treatment:

- Condensor method.

- Inductive method.

8. a)	Explain the types of leakage currents.

b)	What are the precautions to be taken to minimize electric shock hazards?

~ ~ ~ ~

Code No: NR-321003.

Set. No:

3

III-B.Tech -II-Semester Regular Examination April/May 2004

PRINCIPLES OF BIO-MEDICAL INSTRUMENTATION

( Electronics and Instrumentation Engineering )

Time: 3 hours.							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1. a)	Explain how action potentials are generated in the muscles. Also explain Depolarization and Repolarization of  cells.

b)	What are the different types of Bioelectric potentials generated in the body? Explain.

2. a)	With the help of a neat block diagram explain the principle of operation of heart lung machine.

b)	Explain how the ECG wave form helps in assessing the functioning of the heart.

3. a) 	Define Half cell potential. What are polarizable and non polarizable electrodes?

b) 	What are the uses of the electrode paste applied during biomedical recording?

4. a)	What are the different types of muscles? Explain the importance of motor unit in 			the muscular contraction.

b)	Discuss about the various electrodes used in EMG.

5. a)	Explain the lead configuration in ECG with neat sketches

b) 	Draw the basic building blocks of electro cardiograph and explain.

6. a)  	With a neat block diagram explain the operation of an eight – channel EEG machine.

b)  	Give all possible typical specifications of an EEG machine.

7. a)	Write a note on cardiac arrhythmias.

b)	With a basic block diagram of arrhythmia monitor explain its principle			 of working.

8. a)	Describe the possibilities of occurrence of electrical accidents for a patient in a hospital.

b)	What are microshocks and macroshocks?

~ ~ ~ ~

Code No: NR-321003.

Set. No:

4

III-B.Tech -II-Semester Regular Examination April/May 2004

PRINCIPLES OF BIO-MEDICAL INSTRUMENTATION

( Electronics and Instrumentation Engineering )

Time: 3 hours.							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.  a)	Describe the different Physiological systems of the body.

b)	Give an account on the different chemical compositions in the intra and extra cellular fluids and their effects in the case of blood serum.

2. 	Write notes on any two of the following:

a)   Heart Lung Machine

b)  	Sources of Bioelectric potentials

c) 	Electro physical properties of muscles.

3. a)	Draw the electrical equivalent circuit of a microelectrode and explain its electrical 	nature.

b)	Discuss the different types of surface electrodes and their uses.

4. a)	Explain the stimulators used in EMG.

b) 	Explain the controlled muscular contraction with block diagram.

5. a)	Draw the typical electrocardiogram and explain its working.

b)	Briefly mention the uses of ECG.

c)	Draw a power amplifier circuit used in ECG recorder and explain its working.

6. a)  	List out six typical characteristics of EEG preamplifier.

b) 	List the main sections of typical EEG machine block diagram and describe the   flow of signals.

7. 	Write short notes on the following:

a)   Pace makers.

b)   Defibrillators.

8. a)	Describe a digital computer along with its biomedical applications.

b)	Describe any one of the biomedical equipment controlled by a microprocessor.

~ ~  ~ ~