Code No: NR-321102

Set No:

1

III-B.Tech. II-Semester Regular Examinations, April/May-2004

ADVANCED BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

# 1.	Draw and explain the block diagram of MRI system.

2.a) 	What is meant by Evoked Response Audiometry System?

b) 	Define Masking and how it is done.

3.	Explain the working of Retinoscope with the help of a suitable diagram.

4.a) 	Define Organ, Artificial Organ.

b) 	Suggest few Artificial organs.

5.	Does Artificial Hand functions same as that of an Ordinary Hand?  If yes, justify it. Draw suitable sketches also.

6.	How do you Test a ‘ Prosthetic Heart Valve’ using a Pulse Duplicator?

7.	Draw the diagram of a simple Haemodialyser machine and explain.

# 8.	What do you mean by Larynx , Sketch and label it.

-*-*-*-

Code No: NR-321102

Set No:

2

III-B.Tech. II-Semester Regular Examinations, April/May-2004

ADVANCED BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.	Describe the Gamma Ray Camera along with it’s associated circuits to produce a Nuclear Image.

2.a) 	Write a short note on : Audiometry.

b) 	Distinguish between Air, Bone Conductions.

# 3.	Describe the block diagram of Hearing Aid.

4.a) 	Give the necessity of Artificial organs.

b) 	Write a comment on ‘Choice of Materials’, used in the process of Artificial

Organs.

5.	Does Artificial Limb functions same as that of an Ordinary Limb?  If yes, justify it. Draw suitable sketches also.

6.a) 	Explain about   Prosthetic Heart Valve.

b) 	Specify the qualitative requirements of a Prosthetic Heart Valve.

7.	Describe the general scheme of operation of Hemodialysis with the help of a suitable block diagram.

8.a) 	Write a short note on : Artificial Larynx.

b) 	What do you mean by Speech?

c) 	Define Larynx.

-*-*-*-

Code No: NR-321102

Set No:

3

III-B.Tech. II-Semester Regular Examinations, April/May-2004

ADVANCED BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.	Draw a block diagram of a MRI system and explain the Image Reconstruction using it.

2.	Write a note on:  I.A.B. P principle and its application.

# 3.	Describe working of Hearing Aid.

4.a) 	How one can prevent Corrosion?

b) 	Name few materials used in the process of preparing Artificial Organs.

5.	Does Artificial Hand functions same as that of an Ordinary Hand?  If not, give Reasons.  Draw suitable sketches also.

6.a) 	Explain the working principle of Pulse Duplicator.

b) 	Under what circumstances  we need to test a prosthetic heart valve also suggest suitable precautions to be considered.

7.	Name the different types of Exchangers and distinguish between them.

8.	Distinguish between Pneumatic and Electronic Types of Larynx.

-*-*-*-

Code No: NR-321102

Set No:

4

III-B.Tech. II-Semester Regular Examinations, April/May-2004

ADVANCED BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.	What are the four basic modes of transmission of Ultrasound?  Describe each briefly.

2.	Draw the block diagram of Audiometer and explain function of each block.

3.a) 	Explain the purpose of Hearing Aid.

b) 	Name different types of Hearing Aids.

c)	Explain why Button Cells are used behind the Ear Hearing Aid.

4.a) 	When Rejection occurs and how to overcome it.

b)	Is inflammation an active or passive process?  If so, justify it.

5.	Does Artificial Limb work same as that of an Ordinary Limb?  If not, give Reasons? Draw suitable sketches also.

6.a) 	Mention different types of Mechanical and Tissue Valves.

b) 	Sketch any one type of Prosthetic Heart Valve and label it.

7.	Draw the circuit diagram of Temperature Control and Explain.

8.	How do you analyze Artificial Electronic Larynx Speech?

-*-*-*-