Code No: NR-321104

Set No:

1

III-B.Tech. II-Semester Regular Examinations, April/May-2004

BIOMEDICAL SIGNAL PROCESSING

(Bio-medical  Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.	Explain the ECG data acquisition with block diagram.

2.	Explain the AZTEC Algorithm in its Horizontal mode.

3.	Write short notes on:

- Bigeminy

- Trigeminy

- Asystole ventricular fibrillation.

4.	Explain the conduction system of heart with neat sketch.

5.	Explain the ANC method to Enhance ECG signal from noise of ESU.

6.	Write an algorithm to implement prony’s method on

X (n) = e (0.2*n*T) Sin (2*pi*0.5*n*T) where T = 0.25, p=2, n = 80.

7.	Explain the parameter identification by Y-W method.

8.	Define Sleep. Classify it and write characteristics of each stage of sleep.

# @@@@@

Code No: NR-321104

Set No:

2

III-B.Tech. II-Semester Regular Examinations, April/May-2004

BIOMEDICAL SIGNAL PROCESSING

(Bio-medical  Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.	Define redundancy. Explain the types of redundant data.

2.	Explain the AZTEC Algorithm.

3.	Write short notes on:

- Full Compensatory pause

- Premature ventricular contraction.

- Skipped beat.

4.	Correlate the ECG signal with conduction system of heart.

5.	Explain the ANC method to Enhance fetal ECG.

6.	Write an algorithm to implement prony’s method on

y(n) =20* e(-0.1*n) cos(2*pi*f*n)  where f = 0.2, p = 2, n =100.

7.	Explain LPC (linear prediction code) from Y-W equations.

8.	Define a random process. Explain statistical properties of a Random signal.

@@@@@

Code No: NR-321104

Set No:

3

III-B.Tech. II-Semester Regular Examinations, April/May-2004

BIOMEDICAL SIGNAL PROCESSING

(Bio-medical  Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.	Define percent root mean square difference (PRD) and explain its significance in data compression.

# 2.	Explain the AZTEC Algorithm in sloping mode.

3.	Write short notes on:

a)	R on T.

b)	A trial premature beats.

c)	Interpolated PVC.

4.	What are the components of ECG signal? Write their durations and amplitudes.

5.	Describe ANC filter using LMS algorithm.

6.	Write an algorithm to implement prony’s method on

y (n) =20* e (-0.1*n) cos(2*pi*f*n)  where f = 0.4, p = 2, n = 100

7.	Explain stochastic approximation from Y-W equations. What are its advantages over LPC?

8.	Define Wide-Sense stationary random process. State and prove its properties.

# @@@@@

Code No: NR-321104

Set No:

4

III-B.Tech. II-Semester Regular Examinations, April/May-2004

BIOMEDICAL SIGNAL PROCESSING

(Bio-medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.	Explain different types of medical data. Draw and explain the block diagram to record physiological signals.

2.	Compare the turning point and AZTEC algorithms of data compression.

3.	Write short notes on:

a)	Signal averaging.

b)	Tachycardia.

c)	ECG pattern recognition.

4.	Draw and explain the block diagram of ECG Preprocessing.

5.	Write short notes on fetal ECG monitoring.

6.	Write an algorithm to implement prony’s method on

y (n) =20* e (-0.1*n) cos (2*pi*f*n) where f = 0.6, p = 2, n = 10

7.	Explain the calculation of Mean Square Error from Y-W equations.

8.	Discuss how the EEG signals are generated. Give a model of EEG signal.

@@@@@