Code No:411057

OR

IV-B.Tech. I-Semester supplementary Examinations, May-2004

POWER PLANT INSTRUMENTATION

(Electronics and Instrumentation Engineering)

# Time: 3 Hours							Max. Marks: 70

## Answer any FIVE questions

## All questions carry equal marks

# ---

# 1.	Explain how power is generated in Solar plant.

2.	Explain the Controllable parameters in nuclear power plant.

3.a) 	Describe the resonance method of measuring frequency using parallel T and bridge T networks.

# b)	Explain the heterodyne method of measuring frequency with a neat diagram.

# 4.	Explain in detail how steam pressure is measured in  power plant.  What are the sources of error and how compensation can be provided.

5.	Clearly distinguish mechanical draft and natural draft?

# Explain in detail with neat sketches spray & Gas recirculation control system used in power plants?

# Discuss the measurements needed for the determination of condenser performance.

8.	Describe the principle and constructional details of flame photometric and flame 	ionization detectors used in gas chromatography, with neat sketches.

@&@&@