Code No: OR-410351

### OR

IV-B.Tech. I-Semester Supplementary Examinations, May-2004

POWER PLANT ENGINEERING

(Common to Mechanical Engineering, Production Engineering,

Mechanical Engineering (Manufacturing))

# Time: 3 Hours							Max. Marks: 70

## Answer any FIVE questions

## All questions carry equal marks

---

1.	Describe the various mechanical devices used for coal handling in a steam power plant including its transportation to storage, reclamation and in plant handling.  What for each equipment best suited?

2.	What are the requirements of the burners used for firing pulverized coal?  Describe the various types of burners used and their relative merits and demerits?

3.a)	Draw a neat line diagram of a diesel power plant showing all the systems?

b)	What are the different types of engines used in diesel power plant?  Explain?

4.	What is the basic difference between the thermo-electric and thermoionic conversion systems?  Explain the working of thermionic system with neat sketch and explain the effects of those factors which control the power generation capacity?

5.a)	How the hydro-electric power plants are classified?

b)	What do you understand by pump storage plant? What are the advantages and limitations of this power plant?

6.a)	What are the advantages of closed cycle combined with gas cooled reactor over indirect cycle?

b)	What do you understand by breeding?  What factors control the breeding?

7.	What is the significance of two part tariff and three part tariff?  Explain the advantageous of each over other?

8.	Explain in detail the performance and operating characteristics of power plants?

@@@@@