Code No: NR-411001

Set No:

1

IV B.Tech I- Semester Supplementary Examination May, 2004

ANALYTICAL INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1. a)	With schematic diagram explain the beat frequency method for measuring 	conductivity.

b)	Draw and explain the equivalent circuit of the conductivity cell when used in 	high frequency methods.

2. a)	With neat block diagram explain any one type of sodium analyzer.

b)	Write short notes on clinical sodium analyzer.

3. 	How can infrared gas analyzer be used to determine the components such as CO, CO2 and Nitric oxide of a given sample.

4. a)	With neat sketches, explain in detail Photo Ionization detector is used in process gas chromatography system.

b)	With neat sketches, explain with detail Electron capture detector used in process gas chromatography system.

5. 	Briefly explain absorption and interference filters compare between grating and prism monochromators.

6.	Briefly explain about the atomic emission and absorption spectroscopy.

7. a) 	Write down the needs of mass Spectrometer.

b) 	Discuss the merits of various types of mass Spectrometer.

8. a)	Draw the characteristics of radiation counter tube.

b)	Discuss about proportional counter range.

###

Code No: NR-411001

Set No:

2

IV B.Tech I- Semester Supplementary Examination May, 2004

ANALYTICAL INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1. a)	Define the term Conductivitymetry.

b)	With neat sketch explain the conductivity method for the measurement of SO2 in	air sample.

2. 	With necessary diagrams explain the construction and working principle of silica analyzer.

3. 	Describe the principle of operation of infrared gas analyzer.

4. 	With the help of carrier flow diagram explain the operation of liquid chromatography in detail?

5. a)	Why is source modulation often employed in atomic absorption spectroscopy?

b)	Describe one particular technique of such spectroscopic analysis and explain its Operation.

6.	Write short notes on

a)	Electro thermal automizer.		 b)	Plasma

7. 	With neat block diagram, explain about the constructional details of NMR spectrometer.

8. a)	Enumerate the important radiation detectors used for measuring the radio activity.

b)	Explain briefly about the principle of any one of the radiation detector.

###

Code No: NR-411001

Set No:

3

IV B.Tech I- Semester Supplementary Examination May, 2004

ANALYTICAL INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1. 	With schematic diagram explain the following pH meters.

a)	Chopper Amplifier type pH meter.

b)	Vibrating Condenser Amplifier pH meter.

2. a)	Explain about hydrogen purity meter by using thermal conductivity method.

b)	Explain how thermal conductivity of hydrogen different from other gases

3.	Explain the principle of operation of thermal conductivity analyzer used for estimation of components such as CO, CO2 etc.

4. 	List the various applications of gas chromatography and explain any one application in detail?

5. a)	Explain about the advantages and Disadvantages associated with single and double beam spectrometer?

b)	What is the requirement of chopper in spectrometer?

6. a)	Explain briefly about flame photometry?

b)	Briefly discuss about the detectors of flame photometry?

7. a) 	Write down the various types of nuclear magnetic resonance spectrometer.

b) 	Write general classical descriptions of nuclear resonance spectrometer.

8. 	Write short notes on

a)	Ionization chamber.

b)	Solid state detectors.

###

Code No: NR-411001

Set No:

4

IV B.Tech I- Semester Supplementary Examination May, 2004

ANALYTICAL INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1. a)	Explain how output potential of pH electrode is related to pH value and also for H+ ion concentration? Give equations

b)	How the potential of pH electrode changes with temperature?

c)	Mention reference electrodes for PH measurement.

2. 	Explain how sodium analyzing is done in boiler water of power plant.

3.	Explain how conductivitimetry can be used in the estimation of sulphur dioxide.

4.	List the various applications of liquid chromatography and explain any one application in detail.

5. a)	Write about beer’s lamberts law.

b)	What are the deviations of beer’s lamberts law?

6. a)	What is a filter? Mention the two types of filters generally used?

b)	Explain briefly Absorption type of filter with a colorimetric setup.

7. a)	What are the different components of mass spectrometer instrument?

b)	Explain any one of those components in details.

8. 	Explain with necessary sketches and graphs the characteristics of ionization type of detectors.

###