Code No: NR-411003

Set No:

1

IV-B.Tech. I-Semester supplementary Examinations, May-2004

POWER PLANT INSTRUMENTATION

(Electronics and Instrumentation Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

1.	Explain how power is generated in thermal power plant.

# Explain topping cycle of co-generation with neat sketch.

# Mention the types of frequency meters and explain the principle of operation of electrical resonance type with a neat diagram.

4.	Describe with a neat sketch the method of measuring fuel flow rate.

# 5.	With the help of neat sketches. Explain coal handling system used in power plants?

# Explain in detail with neat sketches Bypass damper control system used in power plants?

7.	What is the importance of condenser in turbine plants . How it influences the

# turbine efficiency.

8.	Define dissociation constant. How conductivity is related to water purity? Explain 	the principle of operation of water purity meter.

# @&@&@

Code No:NR- 411003

Set No:

2

IV-B.Tech. I-Semester supplementary Examinations, May-2004

POWER PLANT INSTRUMENTATION

(Electronics and instrumentation Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

# 1.	Explain how power is generated in Solar plant.

2.	Explain the Controllable parameters in nuclear power plant.

3.a) 	Describe the resonance method of measuring frequency using parallel T and bridge T networks.

# b)	Explain the heterodyne method of measuring frequency with a neat diagram.

# 4.	Explain in detail how steam pressure is measured in  power plant.  What are the sources of error and how compensation can be provided.

5.	Clearly distinguish mechanical draft and natural draft?

# Explain in detail with neat sketches spray & Gas recirculation control system used in power plants?

# Discuss the measurements needed for the determination of condenser performance.

8.	Describe the principle and constructional details of flame photometric and flame 	ionization detectors used in gas chromatography, with neat sketches.

@&@&@

Code No:NR- 411003

Set No:

3

IV-B.Tech. I-Semester supplementary Examinations, April/May-2004

POWER PLANT INSTRUMENTATION

(Electronics and Instrumentation Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

# Explain the differences between conventional sources and Non-conventional sources of energy.

# List the important parameters that are to be monitored in a  nuclear power plant.

3.a) 	Explain the principle of a basic potentiometer used for the measurement of DC voltage.  What is meant by standardization?

# b) 	What are the two types of A.C. Potentiometer? Explain the theory and working of any one type with a neat diagram.

# 4.	Why drum pressure is to be monitored? Explain the methods of drum pressure measurement in detail.  What factors govern the choice of pressure sensor?

5 .	Explain in detail with neat sketches Drum level control system used in power plants?

6.	 Explain in detail with neat sketches hotwell & deaerator level column control system used in power plants?

7..	What is a turbine.  How it works. How steam leakages are prevented from turbine.

- List the different types of detectors used in chromatography. Explain the principle of thermal conductivity type and thermionic emission type of detectors with a neat schematic.

@&@&@

Code No:NR-411003

Set No:

4

IV-B.Tech. I-Semester supplementary Examinations, May-2004

POWER PLANT INSTRUMENTATION

(Electronics and Instrumentation Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- Explain the Non-conventional sources of energy.

2.	Give a brief description of the boiler process with a neat diagram.

3.a) 	Discuss in detail the methods of damping employed in electromechanical indicating instruments.

b) 	What is a current transformer? Explain how C.T. can be used to extend the range of a wattmeter.

4.	Describe in detail the salient features of temperature sensors used in Power

plants.

5.	Explain in detail with neat sketches air fuel ratio control system used in power plants?

- With the help of neat sketches. Explain fuel dust collection system used in power plants?

- Explain turbine control and protection.

8.	State the importance of monitoring the Purity of hydrogen. Explain the principle 	of operation of a hydrogen purity meter with a neat sketch.

@&@&@