Code No. 410254

### OR

## IV-B.Tech I-Semester Supplementary Examinations, May-2004

## INSTRUMENTATION

(Electrical and Electronics Engineering)

# Time: 3 hours							Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Describe different methods of modulation.

- Describe the classification of transducers.

2.a)	Explain dynamic performance of instrument systems.

- Describe different types of systems.

3.a)	Write advantages of electrical transducers and their types.

- Describe piezoelectric transducers and their applications.

4.a)	Describe vacuum gauges.

- Explain capacitance method for liquid level measurement.

5.a)	Explain principle and operation of digital voltmeters.

- Distinguish between peak reading and rms voltmeters and explain their construction and operation.

6.a)	Explain how flow is measured.

- Describe construction and operation of a digital frequency meter.

7.a)	Explain how strain is measured.  What is gauge sensitivity?

- Explain R, L and C transducers.

8.a)	Write a note on accelerometer.

- Write a note on calibration and standards.

- - -