Code No: NR-410804

Set No:

1

IV-B.Tech. I-Semester Supplementary Examinations, May-2004

ENVIRONMENTAL ENGINEERING

(Chemical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.	What are the ill effects of land disposal of industrial effluent?

2.a)	Why is 5 day 200c BOD taken as the standard in a BOD test?

b)	What is meant by ‘seed’ ? What is its significance in BOD test?

3.a) 	What is meant by Elevated Advective Inversion?

b) 	What is atmospheric stability?

c) 	Explain with a schematic diagram the air flow associated with cyclones and 	anticyclones?

4.	Compare and contrast:

- Gravity and cyclone separators

- Wet  and dry electrostatic precipitators

- Spray and packed towers

- Absorbers and Adsorbers.

5.		Explain removal of sulphurdioxide by using Ammonia scrubbing.

6.a) 	Explain the role of bacteria in the biological treatment of sewage.

b)  	Explain the bacteriological growth curve with a neat sketch.

7.	Design a standard rate trickling filter for a town of population 50,000 assuming the water supply as 120 lpcd and the BOD of the sewage as 220 mg/litre. Draw a neat sketch for the same.

8. 	Discuss ion exchange method of pollution control. Give suitable example of its	application.

-*-*-*-

Code No: NR-410804

Set No:

2

IV-B.Tech. I-Semester Supplementary Examinations, May-2004

ENVIRONMENTAL ENGINEERING

(Chemical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a) 	Name some of the pollutants emitted from inorganic chemical industries.

b) 	Write the chemical equations for the formation of acid rain from SO2.

2.	The 3 day 250c BOD of a sample was found to be 210mg/l. Find the ultimate BOD. Also find 5 day 200c BOD of the sample given k1 @ 200c = 0.23/d. If the flow of wastewater into a treatment plant is 20Mld, find the mass of BOD in kg flowing into the treatment plant.

3.a) 	Define the terms Cold front and Warm front?

b) 	Explain how temperature inversions are caused?

c) 	Give the importance of ventilation coefficient in measuring atmospheric dispersion?

4.	Explains the operating principles of Gravity Settling Chambers. What are their limitations and possible fields of application?

5.	Removal of sulphurdioxide by adopting Absorption of sulphur dioxide in Magnesium Oxide.

6.a) 	Explain the role of bacteria in the biological treatment of sewage.

b)  	Explain the bacteriological growth curve with a neat sketch.

7. a) 	Explain with a neat sketch, the working of a stabilization pond.

b) 	What is the effect of excess of sulphates on stabilization ponds?

8.	Write short notes on the following:

(a) Ion Exchange   (b) Reverse Osmosis (c) Ultra filtration.

-*-*-*-

Code No: NR-410804

Set No:

3

IV-B.Tech. I-Semester Supplementary Examinations, May-2004

ENVIRONMENTAL ENGINEERING

(Chemical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.	Explain with chemical equations the formation of photochemical smog in the atmosphere.

2.a)	What is meant by COD? How is it is determined in the laboratory?

b)	State valid reasons as to why COD value is greater than or equal to BOD value?

3.a) 	Define the term Mean Maximum Mixing Depth?

b) 	What are the various types of plume behaviour?

c) 	Give the equation for the estimation of dispersion coefficients.

4.	How do you define "particulate pollutants" in a flue gas coming out of the chimney attached to the boiler?  Explain how will you estimate its concentration in  this flue gas?

5.		Describe the removal of sulphurdioxide by dry process using oxidatur / reduction.

6.		Explain with the aid of flow diagrams, the following terms as applied to sewage.

- (a) Primary Treatment			(b) Secondary Treatment.

7.	Design and sketch a septic tank and a soak pit for a small colony having a population of 400 with a return wastewater of 120 lpcd. sludge accumulation is at 15 litres/capita/year and percolation capacity of filter media is 1250 litres/m3/day.

8.a)	Enlist important steps involved in the waste water treatment.

b)	Discuss importance of screening and sedimentation in the pollution abatement.

-*-*-*-

Code No: NR-410804

Set No:

4

IV-B.Tech. I-Semester Supplementary Examinations, May-2004

ENVIRONMENTAL ENGINEERING

(Chemical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.	To protect and improve the environment, what Act was passed in 1986? Discuss in detail the salient features of this Act.

2.	If the distance between the sampling point and the laboratory happened to be very long, what precautions have to be taken in preservation of samples for BOD and COD test?

3.a) 	Derive Gaussian Plume model?

b) 	Discuss the limitations of the model?

4.a)	Explain the working principle of scrubbers to remove the particulate matter?

b)	What are the different types of scrubbers? Explain with neat sketch. What are the advantages and disadvantages?

5. 		Describe the removal of sulphurdioxide by dry process using metal oxides.

6.		Briefly discuss the different alternatives available for the treatment of ammonia bearing wastewater from fertilizer plants.

7. 	Explain how F/m ratio is an important feature for the operation of activated sludge process.

8. a)	Enlist important effluents that are commonly treated.

b)	Enlist special features of tertiary treatment method.

-*-*-*-