Code No: NR: 410205

Set.No:1

IV-B.Tech I-Semester Supplementary Examinations, May, 2004

HVDC TRANSMISSION

(Electrical and Electronics Engineering)

Time: 3 hours.							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.a) 	Discuss the special design features of converter transformers.

b) 	Discuss the different methods for reducing the noise level in converter transformer.

- Derive the expression for average DC Voltage of a six pulse bridge converter, considering gate control and source reactance.

- With block diagrams explain the concepts of current and extinction angle control.

4.	Write a note on the following sources of reactive power

a) Synchronous condensers

b) Static VAR system

5.	Obtain the mathematical model of a d.c. network and d.c. converter, including converter controller.

6. a)	What are the basic principles of over current protection.

b)	Discuss  the various faults exist in converter station? Explain.

- What do you understand by characteristic harmonics in HVDC System? Using fourier analysis obtain equation for primary current of transformers connected to 12  pulse converter.

8.	What are the main design objectives of filters in HVDC station? Discuss the design of single tuned filter.

#$#$#.

Code No: NR: 410205

Set.No:2

IV-B.Tech I-Semester Supplementary Examinations, May, 2004

HVDC TRANSMISSION

(Electrical and Electronics Engineering)

Time: 3 hours.							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

- Draw a block diagram showing the various terminal equipments needed for HVDC system and explain their functions.

2.a)	Show that rating of the valve used in Graetz circuit is 2.094 Pd, where Pd is d.c power transmitted.

b) 	Explain the effect of overlap angle on the performance of converter circuit .

3	Discuss in detail the effect of source inductance on HVDC systems.

4.	Write detailed notes on the following:

a) Power control of HVDC converters.

b) Starting and Stopping of DC link.

5.a)	Compare simultaneous and sequential methods of power flow analysis

b)	Draw the flow chart for ACDC load flow.

6.	Write a short notes on:

- Over current protection.

- Smoothing reactor.

- D.C. breakers.

- How do you estimate the harmonic order based upon pulse number of HVDC      converter station? Give a detailed harmonic analysis of a 12 pulse converter for   characteristic harmonics.

- Mention the configurations and impedance characteristics of various types of filters. Give design aspects of single tuned filter.

#$#$#.

Code No: NR: 410205

Set.No:3

IV-B.Tech I-Semester Supplementary Examinations, May, 2004

HVDC TRANSMISSION

(Electrical and Electronics Engineering)

Time: 3 hours.							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.	Discuss in detail the advantages and disadvantages of HVDC transmission system over HVAC system.

2.	Draw a schematic of a 6 pulse converter circuit and derive from fundamentals, the expression for voltage and currents for the operation of converter as a rectifier and invertor with relevant waveforms.

3.	Explain the conventional control strategy employed in HVDC systems. Write a 	note on Alternate control strategies.

4.	What is meant by reactive power control? How it is achieved? Explain in detail.

5.	Deduce and explain AC/DC load flow equation problem using the sequential method.

6.	Write short notes on

- Protection against over voltages.

- Commutation failure in inverter.

- Arc through.

7.	What is the reason for using star-star and star-delta transformer  configurations for 12 pulse converter.  Derive an equation for primary current using fourier analysis.

8.	Mention the names of various types of filters that are used in HVDC converter station and draw their impedance characteristic and configuration. Give design aspects of one filter.

#$#$#.

Code No: NR: 410205

Set.No:4

IV-B.Tech I-Semester Supplementary Examinations, May, 2004

HVDC TRANSMISSION

(Electrical and Electronics Engineering)

Time: 3 hours.							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.	Discuss in detail the merits and demerits of HVDC transmission system.

2.	With the help of neat circuit diagram, derive the model for the operation of a six pulse rectifier circuit with an overlap angle of less than 600. Sketch the relevant output wave forms.

3.        Write short notes on the following:

(a) 	Equidistant pulse control.

(b) 	Individual Phase control.

4.	Discuss the constant reactive power characteristics and constant Leading power factor characteristics with regard to HVDC converter control.

5.a)	Compare between simultaneous and sequential methods of Power flow analysis.

b)	Write the mathematical model of converter.

6.	Analyse  commutation failure in detail with the help of neat diagrams.

7.	Give reasons for selecting star-star and star-delta transformer configuration instead of two star-star configurations for 12 pulse converter.  Derive an equation for primary current.

8.	Discuss the following filters:

(a) 	Doubled Tuned filter.

(b) 	High pass C type filter.

#$#$#.