Code No: NR- 410304

Set No:

1

IV-B.Tech. I-Semester supplementary Examinations, May-2004

POWER PLANT ENGINEERING

(Mechanical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

----

1.a)	What will be the future planning of power in India?

2.a)	Explain sodium carbonate feed water treatment.

b)	Explain electro – chemical theory of Corrosion.

3.a)	What are the different types of engines used in diesel power plants? Why two stroke engines are more suitable and economical when compared to four stroke engines

# b)    Discuss the factors to be considered while selecting the site for diesel power plants.

4.a)	Explain in detail the spillways, baffle piers and drainage gallery.

# b)	Explain the various factors to be considered in the selection of a hydraulic turbine.

5.a)	What are the relative merits and demerits of tidal power plants?

# b)	Describe with a neat sketch the working principle of any one type of wind mill.

6.a)	With neat sketches and equations explain the regeneration and reheating methods employed to improve the performance of gas turbine power plant.

# b)	What is governing of gas turbine power plant? Why it is required?

7.a)  	 What do you mean by Fission of nuclear fuel?

b)	 Enumerate and explain essential components of a nuclear reactor.

c) 	 Explain how radioactive wastes are disposed?

8.a) 	What are the major source of air pollution.

# b) 	What are the different methods used to control SO2 in the flue gases.

# @&@&@

Code No:NR- 410304

Set No:

2

IV-B.Tech. I-Semester supplementary Examinations, May-2004

POWER PLANT ENGINEERING

(Mechanical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

----

1.	Draw a neat line diagram of in-plant coal handling and indicate the name of equipments used at different stages?

2.a)	Describe different methods of maintaining vacuum in condensers.

b)	Explain the working of a hyperbolic cooling tower.

3.a)	Explain the advantages and disadvantages of thermal power plants over other types of power plants.

# b)	Explain briefly the specific fields of use of diesel power plants.

4.a)	Explain in detail the primary and secondary investigations for selection of a hydro electric power plant.

- What are the various advantages and disadvantages of power generation?

5.a)	What are the various factors to be considered in the selection and location of a wind mill?

# b)	Explain the construction and operation of a two blade wind mill.

6.a)	 With a neat sketches explain the centrifugal and axial flow compressors used in   gas turbine power plants

b)	Give the advantages and disadvantages of closed cycle gas turbine power plant.

7.a)      What are the criteria of selecting a suitable cladding?

b)      Give the construction and working of a gas cooled reactor.

c)      What are the advantages and disadvantages of a gas cooled reactors?

8.a) 	What are main pollutants from a power station? What is meant by air pollution ?

b) 	What are the effects of SO2 , NOx and hydrocarbons on human and vegetation ?

# @&@&@

Code No-NR- 410304

Set No:

3

III-B.Tech. II-Semester supplementary Examinations, May-2004

POWER PLANT ENGINEERING

(Mechanical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

-----

1.	Draw a general layout of a thermal power plant and explain the working of different circuits

.

2.a)	Describe “Zeolite process” with a sketch.

b) 	Explain the importance of pH value to control corrosion phenomenon.

3.a)	Explain with the help of a block diagram the fuel storage and supply system of diesel power plant

# b) 	Explain with the help of a block diagram the water cooling system of diesel power plant

4.a)	What do you understand by water hammer and what are its effects on the power plant?

b)	What are the functions of a surge tank fore bay and draft tube in a hydraulic power plant?

5.a)      What are the advantages of a fuel cell?

# b)      Discuss the problems associated with the operation of a fuel cell.

6.a)	With a neat block diagram explain the governing system of a open cycle gas turbine power plant

# b)	Discuss the advantages of gas turbine power plant over diesel power plant.

7.a)      What are the functions of reflector?

b)      Write short notes on fertile material.

c)      With neat sketch working of a Boiling Water Reactor.

8.a) 	Write briefly on "Pollution from atomic power station" .

# b) 	Discuss the dry process of purifying from sulphur dioxides.

# @&@&@

Set No:

4

# Code No:NR- 410304

IV-B.Tech. I-Semester supplementary Examinations, May-2004

POWER PLANT ENGINEERING

(Mechanical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

------

1.	Draw the line diagram of hydraulic ash handling system used for modern capacity plant? Discuss its merits with other systems?

2.a)	Explain ‘forced draught’ cooling tower with a neat sketch.

b)  	Classify the condensers and explain the differences.

3.a)	List the advantages of super charging of diesel engines.

b)	Write short notes on the following:

## i) Fuel injection system  ii) Air supply system  iii) Exhaust system.

4.a)	What are the functions of spillways, baffle piers and drainage gallery in a       hydraulic power plant?

b)	What are storage and pond age in a power plant?

5.a)      Explain the working of a fuel cell.

b)	What are the merits  and demerits of fuel cell.

6.a)	With a neat block diagram explain the governing system of a closed cycle gas turbine power plant.

b)	Discuss the advantages of gas turbine power plant over steam power plant.

7.a)      What is a fast reactor?

b)      State the properties of control rods.

c)      Explain the principle of operation of a sodium graphite reactor.

8.a) 	What are the basic radio active pollutants? What are their bad effects on human

and vegetarian life?

b)   What are principal pollutants emitted from automobile exhaust? Why carbon        monoxide is dangerous to human health?

@&@&@