Code No: NR-411102

Set No:

1

IV-B.Tech I-Semester Supplementary Examinations, May, 2004

LASERS AND FIBRE OPTICS IN MEDICINE

(Bio Medical Engineering)

# Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

## - - -

## 1.	Explain about how the lasers are used in dignosis.

## 2.	Explain about how the refractive errors of eye can be eliminated using lasers.

## 3.	Explain about the principle and working of Endoscopes in detail.

## 4.	Explain about the principle and applications of Argon ion laser.

## 5.	Explain about Laser induced carrier inhibition.

## 6.	Compare different types of optical fibers.

## 7.	Explain in detail about Ruby laser.

## 8.	Write short notes on:

## a)	Testing of Acuity using lasers.

## b)	Lasers in dentistry

#$#$#.

Code No: NR-411102

Set No:

2

IV-B.Tech I-Semester Supplementary Examinations, May, 2004

LASERS AND FIBRE OPTICS IN MEDICINE

(Bio Medical Engineering)

# Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

## - -

- How do you treat the corneal ulcers using lasers? Explain in detail.

- How do you study the structure and function of the cell using Laser? Explain.

- Explain in detail about Bronchoscope

- Explain about applications of ND-YAG lasers

- Explain about the applications of Lasers in various departments of a major hospital.

- Explain about the Laser Roman spectroscopy

- Explain in detail about Fiber optic  losses.

- Write short notes on:

  - Absorption of lasers.

  - Critical angle and acceptance angle of fiber optic cables.

#$#$#

Code No: NR-411102

Set No:

3

IV-B.Tech I-Semester Supplementary Examinations, May, 2004

LASERS AND FIBRE OPTICS IN MEDICINE

(Bio Medical Engineering)

# Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.	Explain about the effects of laser radiation on biologic tissues.

2.	Explain  in detail about laser refractor.

3.	Explain about different types of optical fibers.

4.	Explain about the principles and applications of He -  Neon lasers.

5.	Explain the precautions and safety regulations of using Lasers.

6.a)	Explain about different losses in fiber optic cables.

b)	Explain about Gastro scope in detail.

7.	Explain about the principles of application of lasers in treating Glaucoma.

8.	Write short notes on:

- Multimode graded Index fiber.

- Ruby laser.

#$#$#

Code No: NR-411102

Set No:

4

IV-B.Tech I-Semester Supplementary Examinations, May, 2004

LASERS AND FIBRE OPTICS IN MEDICINE

(Bio Medical Engineering)

# Time: 3 hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

- Explain about Characteristics of  Lasers.

- Explain in detail about photo coagulators using lasers.

- Explain about Laser therapy

- Explain the construction details of optical fibers.

- Explain the principles and applications of CO2 Laser.

- Explain the effects of Lasers on denal soft tissues.

- Explain in detail about the principle and working of Endoscopes.

- Write short notes on:

  - Laser Hazards.

  - Lasers in diagnosis.

#$#$#.