Code No: 410253

OR

IV B.Tech I-Semester Supplementary Examinations April/May 2004

POWER SYSTEMS -III

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 70

Answer any Five questions

All questions carry equal marks

---

1.	Draw equivalent circuit for finding the transmitted voltage and current surges on a forked line. Derive expressions for the transmitted voltage and currents.

2. a) 	Explain the various arrester ratings .

b) 	Differentiate from the view point of the principle of working between a surge diverter and surge absorber.

3. 	Compare the merits and demerits of different types of conventional circuit breakers.

4.	Explain direct testing of circuit breakers with a neat diagram.

5. a)	Discuss the merits and demerits of single phase and three phase auto-reclosing.

b)	Explain (i) Single shot auto-reclosing   (ii) Delayed auto-reclosing.

6. a) 	Explain clearly the V-I and polar characteristics of a directional relay. Mark clearly the operation and no operation zones.

b)	Discuss in detail with necessary circuit diagram a static directional over current relay using a rectifier bridge amplitude comparator.

7. a) 	Explain how the inclusion of resistance in the neutral earthing circuit of an alternator affects the performance of the differential protection  of the three phase stator.

b) 	Describe how protection is provided in large turbo alternators against earth fault in the rotor.

8. 	Illustrate the basic features of a 3-zone stepped distance protection scheme for a long transmission line, employing Mho characteristics for zones 1 and 2, with an offset Mho characteristic for zone 3 and starting. Briefly comment on the following:

a) High source to line impedance ratio.   (b)  Differing effective impedances with different types of faults at a given point.

###