Code No. 411153

### OR

## IV-B.Tech I-Semester Supplementary Examinations, May-2004

## MEDICAL IMAGE TECHNIQUES

(Bio-Medical Engineering)

# Time: 3 hours							Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Bring out the differences between X-rays and Gamma rays.

- What are the following:

(i) Compton scattering	(ii) Photoelectric effect.

2.a)	Explain the following:

(i) Angiography	(ii) Mammography.

- Write note on:

(i) Beam Restrictors and Grids	(ii) Intensifying screens.

3.	What do you mean by the following with regard to an X-ray image:-

(a) Image contrast	(b) Receiver operating curve (ROC).

Give necessary sketches and expressions involved.

4.a)	Explain what do you mean by Doppler shift with regard to ultrasound.

- Explain any one type of Ultrasonic Diagnostic Method.

5.a)	What do you mean by the following with regard to the ultrasound.

(i) Axial and lateral resolution	(ii) Focusing.

b)	Write about:

- Biological effects of ultrasound

- Advantages of ultrasound imaging over X-rays.

6.a)	What is Longitudinal section tomography?

b)	Write in detail regarding Dosimetry and Biological effects.

7.a)	What are the fundamentals of Nuclear magnetic resonance (NMR)?

b)	What makes the Magnetic Resonance Imaging so popular?

8.a)	Write down the Biological effects at magnetic fields.

b)	Write note on NMR spectroscopy.

***     ***     ***