Code No.:421153

OR

IV-B.Tech II-Semester Supplementary Examinations, April/May 2004

LASERS AND FIBREOPTICS IN MEDICINE

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Explain the application of laser in diagnostics.

b)	Write a note on laser photo coagulators.

2.a)	Discuss the application of laser in dermatology.

b)	Write a note on photobiology.

3.a)	What are the effects of adjurant agents used during laser treatment? Explain.

b)	Write a note on Bronchoscopes.

4.a)	Explain the use of fibre optics in gastroentrology.

b)	Write a note on laser energy level.

5.a)	Describe the instrumentation used in CO2 laser. and discuss its surgical 	applications.

b)	Write a note on laser hazards.

6.a)	Explain the use of laser in the field of dentistry medicine.

b)	Write a note on flexible endoscope.

7.a)	Explain the terms pertaining to laser:

i)	Coherence

ii)	Monochromadicity.

b)	Explain the operation of ruby laser.

8.	Write short notes on:

a)	Laser knives

b)	Optical fibre

c)	He – Neon laser.

$$$