Code No: NR-421101

Set No:

1

IV-B.Tech. II-Semester Regular Examinations, April/May-2004

BIO-MATERIALS

(Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.	Explain the surface properties of chemistry of materials in detail.

2.a)	Describe about any two types of polymers in detail.

- Explain in detail about sutures materials and tissue adhesives.

3.a)	Explain ceramic materials used in Bio-Medical applications.

b)	Write short notes on bone healing and tendon healing.

4.a)	Describe in detail invivo and invitro testing of tissue cultures and soft tissues.

b)	Explain vascular implants.

5.a)	Explain the reimplantation method of natural teeth.

b)	Explain about wires, pins, screws and intramedullary nails used for orthopaedic fixations.

6.a)	Explain the basic properties of Bone Cement.

b)	Explain about cement/bone and cement/implant interface.

7.a)	Explain in detail the semi permeable membranes used in dialysis and Blood oxygenators.

b)	Explain about Hip joint Replacement and Knee joint replacement in detail.

8.	Write short notes on the following:

a)	Metallic Corrosion

b)	Polymer Degradation

c)	Biocompatibility of soft tissues

d)	Problems with fixation devices.

@@@@@

Code No: NR-421101

Set No:

2

IV-B.Tech. II-Semester Regular Examinations, April/May-2004

BIO-MATERIALS

(Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.a)	Explain contact angle and critical surface tension of materials.

b)	Discuss how metals can be used as implantable materials.

2.	List all the polymers used as Bio materials.  Explain about any Four in detail.

3.a)	Distinguish between Reabsorbable and Non-absorbable ceramic Biomaterials.

- Explain the Bioelectric effect and Tissue reaction with metals in detail.

4.a)	Discuss about thrombosis and electro kinetic factors in the testing of implants.

b)	Discuss about various vascular implants.

5.a)	Write short Notes on testing and evaluation of dental implants.

b)	Explain about implants used for attachment of dentures.

6.a)	Explain in detail various types of orthopaedic function devices.

b)	Discuss about permanent joint replacements with an example.

7.a)	Discuss about metallic corrosion and metallic implant fractures.

b)	Explain Hydrogels with relevant examples.

8.	Write short notes on the following:

a)	Bone cements

b)	Bone Healing

c)	Materials surface characterization

d)	Problems associated with Artificial joints.

@@@@@

Code No: NR-421101

Set No:

3

IV-B.Tech. II-Semester Regular Examinations, April/May-2004

BIO-MATERIALS

(Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.a)	List the Bio materials for use in the body with examples and compare their advantages and disadvantages.

b)	Explain about any two metallic implants in detail.

2.a)	Discuss about Non-Blood interfacing implants with examples.

b)	Describe the micro organisms in polymeric implants.

c)	Explain polymer sterilization.

3.a)	Write short notes on suture materials.

b)	Explain the Bioelectric effect in bone.

c)	Define thrombosis with examples.

4.a)	Discuss about various vascular implants.

b)	Explain various electro kinetic factors of implants.

c)	Discuss about the Bio compatibility of medical implants.

5.	Explain in detail about dental implants.

6.a)	Explain about total hip replacement in detail.

b)	Explain the problems associated with artificial joints.

7.a)	Distinguish between Non-Reabsorbable and reabsorbable ceramic Bio-materials.

b)	Discuss about Hydrogels and metal polymers used as Bio mateials.

8.	Write short notes on the following:

a)	Metallic corrosion.

b)	Tissue adhesives.

c)	In vivo testing in soft tissues.

d)	Bone cements.

@@@@@

Code No: NR-421101

Set No:

4

IV-B.Tech. II-Semester Regular Examinations, April/May-2004

BIO-MATERIALS

(Bio-Medical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.a)	Explain about SS and CoCr  metallic alloys used for medical implants with examples.

b)	Explain in detail about corrosion of Metallic implants.

2.a)	Explain the requirements for soft tissue replacement with an example.

b)	Explain about any two polymers in detail.

3.a)	Discuss about sutures and tissue adhesives in detail.

b)	Explain about any two reabsorbable ceramic Biomaterials.

4.a)	Discuss the various testing mechanisms of implants with examples.

b)	Explain about materials surface characterization and Biocompatibility of implants.

5.a)	Explain the procedure for reimplantation of natural teeth.

b)	Explain the factors effecting the Bone cement properties.

6.	List different types of total joint replacement methods.  Explain about any two joint replacements in detail.

7.a)	Explain the effects of material selection for dental implants i.e. Metals and Alloys, ceramics and ceramic coating.

b)	Discuss about the materials used for Dialysis membranes and Blood oxygenators.

8.	Write short notes on the following:

a)	Surface energy of materials.

b)	Tendon Healing

c)	Non-thrombogenic surfaces

d)	Polymer Degradation.

@@@@@