Code No: NR-420305

Set No:

1

IV-B.Tech. II-Semester Regular Examinations, April/May-2004

NON-CONVENTIONAL SOURCES OF ENERGY

(Mechanical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	What is extra terrestrial radiation?

b)	Determine the L.S.T. and declination at Bhopal (lattitude 230 15’N, longitude    770 30’E) at 12:30 IST on June 19.

2.	Calculate the top loss coefficient for a single glass cover with the following details:

Plate emittance = 0.95

Plate to cover spacing = 2.54 cm

Ambient temperature = 25 C

Wind speed = 3 m/sec

Back insulation thickness = 5 cm

Insulation conductivity = 0.045 w/ mk

Mean plate temperature = 75 C

# Collector tilt = 400

3. a)	With a neat sketch, explain the suitability of solar dryer for  the products like Tea and Tobacco.

# b) 	With a neat sketch, explain the working of solar water heater.

4.	What is a wind mill?	What are the various classifications of a wind mill? Explain them in detail with neat sketches.

5. a)	Write about different materials used for biogas generation?

b)	What is meant by wet fermentation and dry fermentation? Explain.

6. a)	Explain the working of liquid dominated total flow system.  Draw a neat diagram showing different components of this system.

b)	Give the comparison of flashed system and total flow concept.

7. a)	With reference to neat layout diagrams, explain the operation of a closed cycle OTEC plant.

b)	Find the quantity of water to be pumped to OTEC plant working with surface water at 27 C and with cold water at 8 C at a depth of 600 m from the surface to obtain 1.0 MW of thermal energy.  Assume the density of ocean water as 1010 kg/m3 and the specific heat of water as 4200 J/kg K.

8.	What is the basic principle of Direct Energy Conversion systems? Describe briefly the working of a thermoelectric generator. Explain Seebeck, Peltier, Joule and Thomson effects.

###

Code No: NR-420305

Set No:

2

IV-B.Tech. II-Semester Regular Examinations, April/May-2004

NON-CONVENTIONAL SOURCES OF ENERGY

(Mechanical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	Calculate the angle made by beam radiation with normal to a flart plate collectora on December 1 at 9.00 am. Solar time for a location at 280 35’N. The collector is tilted at an angle of lattitude plus 100 with the horizontal and is pointing due south

b) 	What are the reasons for variation in solar radiation reaching the earth received at the outside of the atmosphere?

2.	Estimate collector efficiency at 10 am on June 22 for a flat plate collector located at Poona (f = 18.29’N) and tilted towards the equator with a slope equal to the latitude. The measured total insolation is 600 W/ m2   . For the collector, assume UL =6 W/ m2 C , fluid to tube heat transfer coefficient is 1000 W/ m2 C, aluminium fins and tube type construction, tube centre to centre distance of 15 cm, fin thickness of 0.05 cm, tube outside diameter of 1.5 cm, inside diameter       1 cm, cover transmittance for solar radiation is 0.9 and independent of direction, solar absorptance of absorbing plate is 0.95, collector width is 1 m and length is     3 m, water flow rate is 75 kg/hr, water inlet temperature is constant and is equal to 60 C. Ambient temperature may be assumed to 25 C.

3. a)	Explain the working of photo voltaic energy conversion with a neat sketch.

b) 	With a neat sketch explain the process of drying food grains.

4.	With neat sketches discuss about the following:

(i) Horizontal axis wind mills		(ii) Vertical axis wind mills.

5. a)	What are the factors to be considered for the selection of site for the biogas plant?

b) 	What are the factors which affect the size of biogas plant?

6. a)	Give a brief note on geo pressed and magma resources.

b)	Describe a binary cycle liquid dominated system with the help of a schematic diagram.

7. a)	Explain the closed cycle OTEC system with advantages and disadvantages over the open cycle OTEC plant.

b)	Estimate the amount of electrical energy obtained from an OTEC plant working with surface water at 27 C and with a temperature difference of 15 C.  Assume the density of ocean water as 1010 kg/m3, specific heat of water as 4200 J/kg K, turbine efficiency is 0.75, generator efficiency is 0.96 and diameter of tube is 60 cm, when the velocity of water is limited to 0.2 m/s.

8.	List the various direct energy conversion devices. With a neat sketch, explain the working of thermo-electric generator.

###

Code No: NR-420305

Set No:

3

IV-B.Tech. II-Semester Regular Examinations, April/May-2004

NON-CONVENTIONAL SOURCES OF ENERGY

(Mechanical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1. a)	Explain the working of Angstrom pyrheliometer with schematic diagram.

b) 	For the latitude of 300Nand the tilt angle 300 towards the equator, determine the   ratio Rb for 10.30 on July 25.

2. a)	Write short notes on solar driers.

b) 	Explain the role of solar energy as a heat source in crop drying.

3. a)	With suitable sketches explain the working of a solar cell.

b) 	What are the various materials used for solar cells.

4.	A wind mill is to be used to supply the electric power needs of a house hold at a location where the average wind speed is 6 m/s. What size rotor would be required if 1 Kw is to be provided. Assume a rotor efficiency of 70%, gearing efficiency of 92%, generator efficiency of 80% and storage efficiency of 85% with an air density of 1.2 Kg/m3.

5.	What are the applications of biogas? Can it be used as a fuel in IC engines? What are the modifications required in the regular SI and CI engines to adapt biogas as a fuel. Is it economical to use it for IC engines?

6. a)	What are liquid dominated hydrothermal convective systems?  Write about them.

b)	With the help of a neat diagram, explain the working of a liquid dominated double flash steam system.

7. a)	What is the basic principle of OTEC?  Describe the closed cycle OTEC system with its advantages over open cycle system.

b)	Find the quantity of water to be pumped to OTEC plant to obtain 1 MWe working with surface water at 27 C and with a temperature difference of 15 C.  Assume the density of ocean water as 1010 kg/m3, specific heat of water as 4200 J/kg K, turbine efficiency is 0.75, generator efficiency is 0.96 and diameter of tube is       60 cm.

8.	Discuss the direct and indirect energy conversion systems emphasizing on the advantages and limitations of each. How is the operation of thermoelectric generator different from that of conventional generators?

###

Code No: NR-420305

Set No:

4

IV-B.Tech. II-Semester Regular Examinations, April/May-2004

NON-CONVENTIONAL SOURCES OF ENERGY

(Mechanical Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

---

1.  a)	With neat diagram, explain the working of sun-shine recorder.

b) 	Write short notes on solar radiaition data.

2. 	Prove for air heaters, transparent cover system,

qu = F’F” (S- UL  (T1 – Ta))

3. a)	What are the losses that affect the performance of solar cells.

b) 	List out the various solar cell materials.

c) 	Draw the schematic diagram of a solar cell.

4.	How do you get power from the wind mill? Derive an expression for the power.

5. a)	What are the different methods of obtaining energy from the biomass? Explain.

b) 	Write about utilization of  biogas for cooking.

6. a)	What are the advantages and disadvantages of geo thermal energy over other energy forms?

b)	Discuss the applications of geo thermal energy.

7. a)     Explain the working of an OTEC system with  a line diagram.

b)	Show by sketches the method of harnessing the energy potential associated with              ocean tides.

8.	What is thermoelectric generator?  On what effects does its function depend?

Explain the working with a sketch.

###