Code No: NR-421002

Set No:

1

IV-B.Tech. II-Semester Regular Examinations, April/May-2004

TELEMETRY AND TELECONTROL

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)		Explain wired Telemetry system and give its limitations.

b)		Briefly explain Radio Telemetry system.

2.	Draw a sketch of optical fiber Telemetry system and explain.  How is the line loss over come in such systems?

3.	With a neat sketch explain, FM – FM Telemetry system and write about it’s functions.  List the applications of FM – FM telemetry system.

4.	Draw the sketch of low power transmitter and high power transmitter used in radio telemetry and explain.

5.	Explain with a neat sketch generation and demodulation of PWM, PPM.

6.a)	What is a multimode graded index fiber and explain about it with necessary figures and equations.

b)	What are single mode fibers and explain them in detail with necessary figures and equations.

7.	Briefly explain about analogue Tele control methods with frequency variable transmission.

8.a)	Draw the sketch of short command equipment and explain.

b)	With a neat sketch explain about the transmitter and receiver equipment used in remote signaling.

# ^^^

Code No: NR-421002

Set No:

2

IV-B.Tech. II-Semester Regular Examinations, April/May-2004

TELEMETRY AND TELECONTROL

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Write the Telemetering milestones between 1812 to 1958.

b)	What is meant by Telemetry?  Mention its future applications in Business, Communications, Industry, Military, Research, and Transportation.

2.	With a block diagram explain the multi sources multiplexed single – user fiber optic sensor array Telemetry system with different types of fiber optic data lines.

3.	Explain with a block diagram FM receiver for PDM Telemetry system.

4.	Explain about phase modulated transmitter and crystal stabilized frequency modulated transmitter used in Radio Telemetry.

5.	With a neat sketch explain each functional block of digital FSK modulator and De modulator.

6.a)	Explain the Attenuation in optical fibers with figures.

b)	Differentiate between step index and graded index fibers.

7.	What are the methods used in digital Tele control without coding method?  Explain any two of them.

8.a)		Draw the block diagram of remote switching equipment with manual inputs and explain each function.

b)	With a neat sketch explain numerical value standard command equipment.

^^^

Code No: NR-421002

Set No:

3

IV-B.Tech. II-Semester Regular Examinations, April/May-2004

TELEMETRY AND TELECONTROL

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Explain why miniaturization is required in Telemetry  system.

# b)	Give an account of the classification of wired Telemetry system and explain briefly.

2.a)	Draw a block diagram and explain Electrical Telemetry System.

# b)	Explain how electrical telemetry system is classified and write about the merits and demerits of the classified system.

3.	Write about the applications of frequency Telemetry system and explain any one system with a neat sketch.

4.	Explain the modulation techniques used in radio telemetry and explain how they help in signal processing.

5.	Explain with a neat sketch about the low-level PWM equipment which uses light beam in conjunction with galvanometer.

6.a)		Explain the historical development of optical fibres with the help of electromagnetic spectrum.

b)	Draw a graph showing the refractive index distribution of central core cladded optical fibre and explain the plot.

7.	What is meant by digital Tele control method with coding method?  Explain about Electro mechanical systems with low and high Tele graph speeds in digital pulse code method.

8.a)	Explain with a block diagram how remote supervision of several o/p stations is done using channel selector method.

# b)	Draw a sketch and explain about the Tele control installation working with cyclic address interrogation system.

# ^^^

Code No: NR-421002

Set No:

4

IV-B.Tech. II-Semester Regular Examinations, April/May-2004

TELEMETRY AND TELECONTROL

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

# Time: 3 Hours							Max. Marks: 80

## Answer any FIVE questions

## All questions carry equal marks

- - -

1.a)	Briefly explain methods of Telemetry system.

b)	Distinguish between pneumatic and Hydraulic Telemetry system.

2.	Describe the working operation of Telemetry system using the Kelvin balance as primary means of measurement, list the applications and demerits of the system.

3.	Give an account of landline telemetry examples and explain any one of them with sketch.

4.	How amplitude modulation is applied to derive the relation between the out power of an AM transmitter and the depth of modulation.

5.	Draw a neat sketch and explain about Ramp encoder and Feed back encoder used in PCM telemetry system.

6.a)		Define and explain the meaning of responsivity and quantum efficiency of photo diode and derive the expressions for the same.

b)		Discuss the advantages of PIN photodiode over PN structure in a photodiode.

7.	Draw a neat sketch and explain pulse code transmission of Tele control data.  Write about the advantages of Electronic PCM system in contrast to elector mechanical PCM system.

8.a) 	With a neat sketch explain the Tele control system used in short wave transmission installation.

b)	Give an account of Tele control console.

^^^