Code No: RR/NR211103

Set No.

1

II B.Tech. I-Semester Regular Examinations, November-2003

BIO ELECTRICITY AND ELECTRODES

(Bio Medical Engineering)

Time: 3 hours							      Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Give the electrical model of axon. Explain the different electrical properties of synaptic junction.

2.	Explain in brief the significance of Einthoren triangle.

3.	Explain the mechanical properties of micro electrodes.

4.	Write a note on physiotherapy instruments.

5.	In brief discuss the application of Analytical instruments in Medicine.

6.	Explain the electrical activity of skeletal muscles. Discuss the needle electrodes used in EMG.

7.	Explain how EEG is recorded. Explain the different patterns of the same.

8.	Write note on:

a)	12 lead system in ECG acquisition.

b)	Hodgkin –Huxley formulation.

^^^

Code No: RR/NR211103

Set No.

2

II B.Tech. I-Semester Regular Examinations, November-2003

BIO ELECTRICITY AND ELECTRODES

(Bio Medical Engineering)

Time: 3 hours							      Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Derive the Nernst equation and list its significance.

2.	Explain how the PQRST complex of the ECG wave form is generated in the heart.

3.	Explain how velocity of neuro muscular transmission measured. Discuss the changes in velocity for normal and abnormal cases.

4.	Which are the bioelectric sources used in volume conductor fields.

5.	Give the procedure for solid angle computation in case of volume conductor fields.

6.	How are motor unit potential generated? Explain.

7.	Discuss the different waves and Rhythms in Electro Encephalograne.

8.	Explain how Tissue resistance is measured.

^^^

Code No: RR/NR-211103

Set No.

3

II B.Tech. I-Semester Regular Examinations, November-2003

BIO ELECTRICITY AND ELECTRODES

(Bio Medical Engineering)

Time: 3 hours							      Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	With relevant graph define Refractory period. Give the different electrical properties of receptors.

2.	Derive relationship between the standard bipolar leads and unipolar extremity leads.

3.	Explain the electrical activity of skeletal muscles. Discuss the surface electrodes used in EMG.

4.	Write a note on electrodes used in surgery.

5.	Derive an expression for infinite cylindrical axon model in case of volume conductor.

6.	Explain the 10-20 electrode system used in the measurement of EEG. Plot the different brain waves and give its frequency and amplitude ranges.

7.	What are the forward and inverse problems of bioelectric phenomena? Discuss.

8.	Write a note on:

a)	Electrical properties of synaptic junctions.

b)	Integral equations in volume conductor fields.

^^^

Code No: RR/NR-211103

II B.Tech. I-Semester Regular Examinations, November-2003

Set No.

4

BIO ELECTRICITY AND ELECTRODES

(Bio Medical Engineering)

Time: 3 hours							      Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Give the electrical model of axon. Explain the different electrical properties of synaptic junction.

2.	Explain in brief the significance of Einthoren triangle.

3.	Explain the mechanical properties of micro electrodes.

4.	Which are the bioelectric sources used in volume conductor fields.

5.	Give the procedure for solid angle computation in case of volume conductor fields.

6.	Explain the 10-20 electrode system used in the measurement of EEG. Plot the different brain waves and give its frequency and amplitude ranges.

7.	What are the forward and inverse problems of bioelectric phenomena? Discuss.

8.	Write a note on:

a)	Electrical properties of synaptic junctions.

b)	Integral equations in volume conductor fields.