Code No. 210252

OR

II B.Tech I-Semester Supplementary Examinations, November 2003

ELECTRICAL CIRCUITS - I

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 70

Answer any Five questions

All question carry equal marks

---

1. a)	Find i(t):

b)	Find the steady state source current:

2. a)	A parallel RLC circuit is resonant at 1 MHz and its bandwidth is 10 kHz.  If         L = 50H, find Q, impedance at resonance and approximate value of C.

b)

- Find in the absence of C, IL and power absorbed

- Find value of C to make IL to be in phase with VS and power absorbed in this case.

3. a)	Find VOC.

Contd….2

Code No. 210252					.2.				OR

- Verify that all the power generated by the batteries is consumed by the resistors.

4. a)	Find VS by drawing phaser diagram:

Given Vc = Vm Cos (500t+45o)

b)	Three loads in parallel are supplied from a 440V 50Hz mains.  Load A draws

10 kVA at 0.8 pf lagging, load B draws 15 kW at a 0.5 pf lagging and load C dissipates 5 kW at unity pf.  (i) Find active power, reactive power and line current of the combined load.  (ii) Find capacitance to be connected across the mains to make the overall pf = 1.

5. a)	Sketch the magnitude of impedance between A and B as a function of angular frequency.

b)	Explain (i) current locus diagram.	(ii) Selectivity.

6. a)	Find i(t):

Fig.

b)	What do you understand by impulse response of a network?  What is its importance in circuit analysis?  If the impulse response of a network is e-at, what is its unit step response?

Contd….3

Code No. 210252					.3.				OR

7. a)	Explain (i) initial and final value theorems and their usefulness.  (ii) Bandwidth.

b)	Determine v(t) for t > 0.

8. a)	Explain series and parallel resonance and derive  factor for each case.

b)	Explain mesh and nodal analysis.

###