Code No: RR211003/NR211002

Set No.

1

II B.Tech. I-Semester Regular Examinations, November-2003

INSTRUMENTATION COMPONENTS

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Distinguish between pivots and bearings. Write down the advantages and       Disadvantages of Pivots and Bearings.

b)	Describe the different Basic Counting of Ratchets. Give its uses.

2. a)	Briefly explain about the basic pneumatic control mechanism with diagram.

b)	Give a schematic block diagram of a rapid acting pneumatic control mechanism and explain briefly.

3 a)	With neat diagrams explain the working of a synchro transmit receive system.

b)	Mention major applications of synchro system.

4. a)	Sketch the block diagram of a servo system using two phase motor and derive its transfer function.

b)	What will be the response of the system for step input?

5. a)	List the different types of windings that are employed in inductors.

b)	List the factors affecting the capacitance of capacitors.

c)	Explain the terms electrical noise, power derating and Boells effect of resistors.

d)	Explain the colour code for resistors.

6. a)  With  the  help  of  functional  diagram  and  circuit  diagram   explain  the  monostable  operation  of 555  timer.

b)  	Derive the expression for time delay of a monostable multivibrator.

7. a)	What are the materials used for manufacturing light emitting diode? Explain the manufacturing process.

b) 	How are LEDs of different colour manufactured?

c)	Draw the V-I characteristics of a LED for different electrical inputs and explain how this principle can be utilized for recording of electrical variations as a film.

8. a)	Discuss the spectral transmittance characteristics of an absorption filter.

b)	What are the parameters to be observed in the design of grating?

c)	Give two types of mounting of grating and explain the importance of mount in the grating.

###

Code No: RR211003/NR211002

Set No.

2

II B.Tech. I-Semester Regular Examinations, November-2003

INSTRUMENTATION COMPONENTS

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1. a)	Explain the construction and working principles of Gear mechanism.

b)	Explain the basic concepts of Scale and pointer type of Indicating Mechanism.

2. a) 	Enumerate all the limitation of flapper-nozzle.

b)	Suggest remedial methods to overcome the limitation of flapper nozzle.

c)	Mention the application of flopper nozzle.

3. a) 	What is the difference between a switch and a relay ?

b) 	Explain the working of a electromechanical relay with a neat sketch and give the             applications.

4. a)	In what way is a stepper motor different from an ordinary motor?

b)	Explain the working of a variable relectance stepper motor with a neat sketch.

c)	What is step angle and what is its significance?

5. a)	What are the losses that occur in capacitors and explain how they can be minimized.

b)	How can the losses be used in some special application?

c)	What is meant by self healing property of an electrolytic capacitor?

d)	List the specifications of resistors.

6. a)  	With  a  typical  connection  diagram  explain  the  circuit  operation  of  the  adjustable  positive  voltage  regulator  LM317.

b)  	Design an  adjustable  voltage  regulator  using   LM317  to  satisfy  the following  condition:  Output  voltage  Vo = 5 to 12V    Output  current  Io= 1A,  Adjustment  pin current   (Iadj)  for  LM317 =100A.

7. a)	Is LED a part of an optoisolatory?  If so how?

b)	Generally the p material is emitter in normal diodes but in LED n material made as emitter. Why?

c)	How is the spectral response of a LED determined and on what factor does it depend.

8. a) 	Discuss the spectral transmittance characteristics of an absorption filter.

b) 	What are the parameters to be observed in the design of grating?

c)	Show how an optical filter forms as a part of an optical control system.

###

Code No: RR211003/NR211002

Set No.

3

II B.Tech. I-Semester Regular Examinations, November-2003

INSTRUMENTATION COMPONENTS

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1. a)	What is the purpose of Integrators in a Measurement System?  Describe its working principle.  Give its advantages and disadvantages.

b)	Mention some of the applications of mechanical Integrators.

2. a)	What do you understand the term pneumatic amplification?

b)	Explain the operation of pneumatic amplifier with required sketches.

c)	Mention a few applications of pneumatic amplifier.

3.	Explain how d.c potentiometers are used for error detection and give the transfer         	characteristic of potentiometers.

4. a)	What is a multistock stepper moter?

b)	Describe the working of a multistock stepper motor with neat diagram.

c)	Mention two uses of stepper motor.

5. a)	What is meant by thermistor and classify them with examples.

b)	What is meant by varistors and give their applications.

c)	List the losses of a capacitor and specify their affect.

6. a)	What is the essential difference between normal amplifier and a difference amplifier.

b)	Draw the circuit of a difference amplifier and explain its operation.

c)	How can the CMRR of a difference amp be increased?

7. a)	How is LED principle utilized in calculators and other display devices?

b)	Distinguish between LED and a photodiode.

c)	In what way LDR differs from a photo conducting cell?

8. a)	Draw the schematic of an interference filter. Explain.

b) 	What are the type of lenses used in optical system? Explain any two.

c)	How is a lens useful as a part of a control system?

###

Code No: RR211003/NR211002

Set No.

4

II B.Tech. I-Semester Regular Examinations, November-2003

INSTRUMENTATION COMPONENTS

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1. a)	Describe the principle of Rack and Pinion arrangement in a mechanical system.

b)	Describe a mechanical system which utilizes Rack and Pinion principles.

2. a)	How is ON-OFF application of pneumatic amplifier.

b)	Show how ON-OFF control is implemented in pneumatic control scheme.

3. a)	Explain how a potentiometer can be used as a control component in servo control           system.

b)	Explain in detail the various characteristics of potentiometer.

4. a)	With diagram explain the operation of a permanent magnet stepper motor.

b)	How are stepper motors superior to ordinary motors under specific requirements?

5. a)	Explain the difference between transition capacitance and diffusion capacitance of a pn junction diode.

b)	Sketch the characteristics of ideal and practical diodes and explain them.

c)	Define the dynamic resistance of pn diode and explain how and why it varies with current and temperature.  Give the typical value of dynamic resistance both for Si and Ge diodes.

6. a)	Show how 555 timer can be used as monostable multivibrator.

b)	Design a monostable multi using 555 timer for a pulse width of 1m sec. (Assume necessary typical values).

7. a)	Explain the construction features of PIN diode.

b)	Sketch the V-I characteristics of a PIN diode and explain their shape.

c)	How can a PIN diode be used as a switch?

8. a)	With a block schematic explain the working of an optical setup with reference to control system.

b)	What are the advantages of optical filters?

c)	Mention two applications of optical filters.

###