Code No.21106

Set No.

1

II B.Tech. II-Semester Supplementary Examinations, November-2003

BASIC CLINICAL SCIENCES-I

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Discuss the various issues involved in renal transplantation.

b)	Explain chronic ambulatory peritoneal dialysis.

2.a)	With a schematic, explain the different components of a dialysis machine.

b)	Explain the constructional features of a parallel plate dialyser.

3.a)	Discuss the disorders involving impaired neuromuscular transmission.

b)	Explain the diagnostic procedures of the above disorders.

4.a)	Explain the scheme of a heart-lung machine.

b)	Discuss the possible risks involved with the usage of a heart lung machine.

5.a)	Explain in detail the genesis of the ECG waveform.

b)	Discuss the diagnostic importance of ECG.

6.a)	What is fibrillation? How can it be corrected?

b)	Explain the principle of a cardioverter.

7.a)	Design a typical ICCU.

b)	Discuss the applications of Echocardiography.

8.	Write short notes on:

a)	Infusion pumps

b)	Liver biopsy.

***     ***     ***

Code No.221106

Set No.

2

II B.Tech. II-Semester Supplementary Examinations, November-2003

BASIC CLINICAL SCIENCES-I

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Explain the indications for renal transplantation.

b)	Explain the basic principle of peritoneal dialysis and its advantages over 	hemodialysis.

2.a)	Discuss the techniques by which the conductivity and temperature of the dialysate 	are measured.

b)	What is the difference between hemofiltration and hemoperfusion?

3.a)	List out the important features of myasthenia gravis and prolapsed intervertebral 	disc.

b)	Discuss about pneumoencephalography.

4.a)	Describe the procedure to diagnose any muscular disorder.

b)	Discuss the diagnostic importance of electroencephalography.

5.a)	Explain the selection criteria for a cardiac pacemaker.

b)	Write about the constructional features and application of   SWAN catheter.

6.a)	Explain the technique of echocardiography and list its applications.

b)	Discuss the features of grafts used in open heart surgery.

7.a)	Explain the operation and applications of any one surgical equipment.

b)	Discuss the construction and applications of a gastroscope.

8.	Write short notes on:

a)	Chronic ambulatory peritoneal dialysis.

b)	Significance of Laparoscopy.

***     ***     ***

Code No.211106

Set No.

3

II B.Tech. II-Semester Supplementary Examinations, November-2003

BASIC CLINICAL SCIENCES-I

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Compare the different types of dialysers.

b)	Explain the blood leak detection system in a dialysis machine.

2.a)	Explain acetate dialysis and bicarbonate dialysis.

b)	Explain the terms clearance and dialysance.

3.a)	Discuss the various neurological reflexes.

b)	Justify the role of CAT in neurological diagnosis.

4.a)	Discuss the therapentic role of functional neuromuscular stimulation.

b)	Mention the features of any two muscular disorders.

5.a)	Explain the technique of blood pressure measurement indirectly.

b)	Discuss the events in the cardiac cycle in a sequence.

6.a)	Classify pacemakers. Compare temporary and permanent pacemakers.

b)	Discuss the features of pumps used in heart lung machine.

7.a)	Explain any two cardiac assist devices.

b)	Discuss the application of cine angiography in cardiology.

8.	Write short notes on:

a)	Intravenous cannulae

b)	Endoscopes.

***     ***     ***

Code No.211106

Set No.

4

II B.Tech. II-Semester Supplementary Examinations, November-2003

BASIC CLINICAL SCIENCES-I

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Explain the terms clearance and dialysance with reference to dialysis.

b)	Give the composition of the dialysate and the significance of its composition.

c)	What is sequential ultrafiltration.

2.a)	Explain the different types of dialysers.

b)	Discuss the clinical significance of renal transplantation.

3.	Discuss any two neurological diagnostic techniques.

4.a)	Explain the importance of various reflexes in neurology.

b)	Discuss the neuromuscular transmission.

5.a)	Explain the sequence of events in the cardiac cycle.

b)	Discuss the principle and procedure involved in the blood flow measurement.

6.a)	Discuss any three cardiac abnormalities diagnosed using ECG.

b)	Write about cardiac catheters.

7.a)	Explain the typical layout of an ICCU.

b)	Discuss the various features of a treadmill.

8.a)	Discuss the role of endoscopy in gastroenterology.

b)	Explain the technical features of infusion pumps.

***     ***     ***