Code No.221104

Set No.

1

II B.Tech. II-Semester Supplementary Examinations, November-2003

BIO-TRANSDUCERS AND APPLICATIONS

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.	Give the detailed classification of transducers, giving an example for each type.

2.	What is a radiation thermometer? How is it used in medical thermometry?

3.	Explain the dynamic characteristics of a medical instrumentation system.

4.	Discuss a transducer that can be used to measure angular velocity.

5.	Describe an ultrasonic transducer and its applications.

6.	What is intraocular pressure? How is it determined?

7.	Explain the constructional details and working of an electromagnetic flowmeter.

8.	Discuss the role of telemetry in medicine.

***     ***     ***

Code No.221104

Set No.

2

II B.Tech. II-Semester Supplementary Examinations, November-2003

BIO-TRANSDUCERS AND APPLICATIONS

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.	Discuss the factors which influence the choice and design of a transducer for a 	particular application.

2.	Compare the features of the various types of temperature transducers.

3.	Explain the static characteristics of a medical instrumentation system.

4.	Explain about the velocity transducers based on electromagnetic principle.

5.	Discuss in detail the piezo electric transducers used to measure acceleration.

6.	Explain the set-up to record the blood pressure of a patient continuously.

7.	Describe the cardiac output measurement using indicator dilution technique.

8.a)	List the desirable characteristics of a bioelectric amplifier. Justify.

b)	Draw a log amplifier and derive its input-output relation.

***     ***     ***

Code No.221104

Set No.

3

II B.Tech. II-Semester Supplementary Examinations, November-2003

BIO-TRANSDUCERS AND APPLICATIONS

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.	Explain the qualitative requirements of a transducer to be used for biomedical 	applications.

2.a)	Briefly explain the thermocouple laws.

b)	List out the specifications of a thermocouple.

3.	Discuss the block diagram of a medical instrumentation system.

4.a)	Explain the principle of a strain guage.

b)	Derive the guage factor of a strain guage.

5.	Classify the various displacement transducers and discuss the principle of 	inductive transducers.

6.	Explain the blood pressure measurement using the occlusive cuff technique.

7.	Discuss in detail the limb blood flow measurement using impedance 	plethysmography.

8.	Draw the circuits and derive the input output voltage relations of an integrator and 	a differentiator.

***     ***     ***

Code No.221104

Set No.

4

II B.Tech. II-Semester Supplementary Examinations, November-2003

BIO-TRANSDUCERS AND APPLICATIONS

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.	Explain in detail the terms:

a)	Amplitude distortion

b)	Phase distortion

c)	Linearity

d)	Hysterisis.

2.a)	Explain the principle of temperature measurement using thermistors.

b)	What is thermistor linearization? Explain the circuits used for this purpose.

3.	What are the different types of noise that appear in a practical measurement 	system?

4.	Discuss the various types of displacement transducers that can be used in vitro 	and in vivo.

5.	Give a detailed account of translational accelerometers.

6.	Explain the construction, working and applications of a catheter tip pressure 	transducer.

7.	Give a set-up for a transit-time ultrasonic flowmeter and explain.

8.	Draw the circuit of an instrumentation amplifier and derive the expression for its 	voltage gain.

***     ***     ***