Code No.221105

Set No.

1

II B.Tech. II-Semester Supplementary Examinations, November-2003

BIO-MECHANICS AND BIO-FLUIDS

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	How is the blood viscosity determined?

b)	What are the factors on which the blood viscosity depends?

2.a)	Explain the Fahracus-Lindquist effect.

b)	Discuss the viscoelastic features of protoplasm and saliva.

3.a)	Derive the expressions for stress-relaxation and creep of a Voigt model.

b)	Discuss the use of viscoelastic models in biomechanics.

4.a)	Draw the sketches of the stress-strain relationships of different types of fluids.

b)	Derive the equation flow rate of blood, if it obeys Newton’s law of viscosity.

5.a)	What are the factors which determine the resistance to flow?

b)	Given the radius of aorta as 1.3 x 10-2m, determine the resistance and pressure 	drop over a 0.2m distance, if the flow rate is 10-4m3/s.

c)	Write short notes on arteriosclerosis.

6.a)	Discuss the mechanism of operation of normal heart valves.

b)	Describe the qualitative requirements of  a prosthetic heart valve.

7.a)	Explain the mechanical properties of arterioles and give their significance.

b)	Draw and label a spirogram.

c)	Explain the diagnostic importance of lung ventilation parameters.

8.	Write short notes on any TWO of the following:

a)	Mechanical properties of bone.

b)	Diffusion properties of articular cartilage.

c)	Viscoelasticity of soft tissues.

***     ***     ***

Code No.221105

Set No.

2

II B.Tech. II-Semester Supplementary Examinations, November-2003

BIO-MECHANICS AND BIO-FLUIDS

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Give the blood composition.

b)	Explain the blood viscosity determination using a viscometer.

c)	Mention the factors on which the blood viscosity depends.

2.a)	Discuss the problems encountered when blood flows through an extracorporeal 	circuit.

b)	What is Fahraeus-Linquist effect? Give its application.

3.a)	What is viscoelasticity? Explain its features.

b)	Discuss the use of viscoelastic models in biomechanical studies.

4.a)	Derive the equation for Hagen-Poiscuille law.

b)	List all the assumptions used in the above derivation.

5.a)	State Hooke’s law of elasticity.

b)	Draw Maxwell’s and Voigt’s models and derive their governing equations.

6.a)	Define any eight mechanical properties of a material.

b)	Discuss the blood mechanics at a region of arteriosclerosis.

7.a)	Discuss in detail the breathing mechanism.

b)	Explain the working of any prosthetic heart valve.

8.a)	What are the mechanical properties of bone which make it suitable to perform its 	physiological function?

b)	Write short notes on tendons.

***     ***     ***

Code No.221105

Set No.

3

II B.Tech. II-Semester Supplementary Examinations, November-2003

BIO-MECHANICS AND BIO-FLUIDS

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Derive the equation for the blood flow rate, assuming that blood obeys Casson’s 	equation.

b)	Discuss the problems associated with extra corporeal blood flow.

2.a)	Discuss the flow behaviour of blood as it flows through aorto to vena cavae.

b)	What are the medical applications of blood rheology?

3.a)	Explain the effect of blood vessel size on the apparent viscosity of blood.

b)	Explain the blood viscosity measurement using a viscometer.

4.a)	Describe the viscoelastic nature of any two physiological fluids.

b)	Draw a Kelvin model and deriving its governing equation.

5.a)	Distinguish between a Newtonian and a non-Newtonian fluid.

b)	State Hooke’s law and give its any two medical applications.

c)	Write short notes on resistance to blood flow.

6.a)	Discuss the operation of any one mechanical heart valve.

b)	Compare the performance features of mechanical and tissue heart valves.

7.a)	Describe the mechanical properties of arterioles and capillaries.

b)	Describe the process of airway mechanics.

8.a)	What are the functions of tendons and ligaments?

b)	Write short notes on lubrication of joints?

c)	Draw and explain the stress-strain diagram of a human cortical bone.

***     ***     ***

Code No.221105

Set No.

4

II B.Tech. II-Semester Supplementary Examinations, November-2003

BIO-MECHANICS AND BIO-FLUIDS

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Derive the equation for blood flow rate, if blood viscosity follows Casson’s 	equation.

b)	Discuss the dependence of hematocrit on the diameter of the blood vessels.

2.a)	Discuss in detail the parameters which affect the blood viscosity.

b)	Explain the significance of constitutive equation.

3.a)	Explain the features of viscoelasticity.

b)	Discuss the mechanical properties of synovial fluid.

c)	Draw a Kelvin model and derive its basic governing equation.

4.a)	What is the use of viscoelastic models?

b)	Derive the equations for stress relaxation and creep for a Maxwell model.

5.a)	Derive the Newton’s law of viscosity.

b)	Differentiate between laminar and turbulent flow.

c)	Derive an expression for laminar resistance and mention the factors on which the 	flow resistance depends.

6.a)	Compare the mechanical properties of the arteries and veins.

b)	Discuss the qualitative requirements of prosthetic heart valves.

7.a)	Describe the mechanism involved in inspiration and expiration.

b)	Draw and label the P-V curve of a lung.

c)	Justify the airway resistance as a diagnostic parameter.

8.a)	Discuss the concept of viscoelasticity with reference to tendons and ligaments.

b)	Discuss the factors on which the mechanical behaviour of the bone depends.

***     ***     ***