Code No: 220852

OR

II B.Tech. II Semester Supplementary Examinations, November-2003

HEAT TRANSFER

(Chemical Engineering)

Time: 3 hours						       	Max. Marks: 70

Answer any Five questions

All question carry equal marks

- - -

1.	Derive the equation for steady-state heat transfer through a spherical shell of inner radius r1 and outer radius r2.  Arrange the result for easy comparison with the solution for a thick walled cylinder.

2.	Explain the method of calculation of heat transfer co-efficient ‘h’ for                    (i) Forced convection (ii) Natural convection.

3.a)	What are the assumptions made while deriving the Nusselt equation for film type condensation of vapor on a vertical surface.

b)	With the help of  q/A Vs t plot,  explain the phenomenon of pool boiling of saturated liquid.

4.	Determine the convective heat transfer co-efficient for water flowing at a velocity of 3 m/sec in an annulus formed between 25 mm O.D tube and a 38 mm I.D tube.  The water is at 820 C and is being cooled to 38oC.  The temperature of the inner wall is 380C and the outer wall of the annulus is insulated.  Neglecting entrance effect, report the results of the film co-efficient by two separate equations.  The properties of the water are given below.

| Temp oC | Viscosity (C.P) | Thermal Conductivity Kcal/ hr m oC | Specific Gravity | Specific heat k cal/ kg oC |
| --- | --- | --- | --- | --- |
| 38 | 0.69 | 0.54 | 0.994 | 1 |
| 60 | 0.47 | 0.57 | 0.982 | 1 |
| 82 | 0.31 | 0.59 | 0.974 | 1 |

5.a)	Derive an expression for  the  exchange of heat by radiation between two infinite planes of emissivities E1 and E2 and at absolute temperature of T1 and T2 respectively.

b)	Determine the heat loss by radiation in k cal/hr per meter of a pipe 20 cms in diameter, when it is placed centrally in a brick duct of square cross section of     30 cm.  The pipe surface is at 30 cms.  The pipe surface is at 2000 C and the brick duct is at 200C.  Emmissivities of the pipe surface and brick duct may be taken on 0.8 and 0.9 respectively.

Contd..2

Coe No: 220852					-2-				OR

6.	A dilute solution containing 10% solids is to be concentrated to 50% solids at the rate of 10,000 kg/hr saturated steam at 205 kN/m2 absolute pressure is available at 1210C.  Feed solution is available at 210C.  Design the evaporator for tripple effect with backward feed arrangement.  Overall heat transfer co-efficient for backward feed arrangement are 2500, 2000 and 1600 w/m2  K respectively.

Heat capacity of solution can be assumed as heat capacity of water.  Boiling point elevation can be neglected.  Third effect in tripple effect evaporation system can be operated under vaccum at 13.3 kN/m2.

B.P of water at 205 kN/m2 = 121 oC

B.P of water at 13.3 kN/m2 = 52 oC

Latest heat of  vaporization at 205 kN/m2 = 2200 kJ/kg

Latest heat of vaporization at 13.3k/m2 = 2377 kJ/kg.

Consider latest heat of  vaporization is linear with temperature.

7.	Calculate the heat transfer area required for a 1-1 shell and tube heat exchanger which is used to cool 55000 kg/hr of alcohol from 66o C to 40oC using 40,000 kg/hr of water entering at 5 oC.  U = 580 W/m2 K, consider (i) counter flow        (ii) parallel flow.

CP water = 4.18  103 J/kg K

Cp alcohol = 3.76  103 J/kg K

8.	Determine the steady-state temperature distribution T(r) and the total radial  heat flow in a hollow sphere in a region a  r  b when the boundary surfaces at r = a and r = b are maintained at uniform temperatures T0 and T1 respectively.

&&&