Code No: 221151

## OR

II B.Tech. II Semester Supplementary Examinations, November-2003

Bio-MEDICAL INSTRUMENTATION

(Bio-Medical Engineering)

Time: 3 hours						       	Max. Marks: 70

Answer any Five questions

All question carry equal marks

- - -

1.a)	Draw an equivalent circuit for electrode-electrolyte interface and explain in detail 	about it.

b)	With help of a diagram explain in detail about needle electrode and micro electrode.  State an application.

2.a)	Describe the construction and working principle of LVDT.  Also give its 	electrical characteristics.

b)	Describe the construction and working of photodiode and phototube.  State its 	application in the field of medicine.

3.a)	Explain in detail about flame photometer and spectro photometer.

b)	Describe the construction and working of centrifuge incubators.

4.a)	What are the parameters which are measured in intensive care unit?  Suggest 	schemes to monitor these system.

b)	Explain in detail about Heart-lung machine.

5.a)	Explain Log and Antilog amplifiers.

b)	With neat circuit diagram explain carrier amplifier and chopper amplifier.

6.a)	Give the general features of thermal recorder and ink-jet recorder used in        Bio-medical applications.

b)	Explain in detail about Haemodialyser.

7.a)	Explain in detail about thermocouple, thermistor, RTD.  State its application in 	the field of medicine.

b)	Describe the construction and working of Ionization chamber.

8.a)	Describe clearly the mechanism of propagation of action potential with diagram.

b)	Explain in detail about the electrodes used for surgery and physiotherapy.

@@@@@