Code No: 310805

Set No:

1

III B.Tech. I-Semester Regular Examinations, November-2003

PROCESS INSTRUMENTATION

(Chemical Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any FIVE questions

All question carry equal marks

- - -

1.	What are the static characteristics of a measuring instrument? Describe them in 	detail.

2.	Enlist the different types of pyrometers. With a neat diagram, describe the working principles of one type of pyrometer.

3. 	Why is composition analysis  required in a process industry ? Write briefly on the qualitative and quantitative measurements with suitable examples. Highlight about positive  methods of composition analysis.

4. 	Describe the method of estimation of SO2 in industrial effluent gas.

5.a)	Define pressure and vacuum.

b)	State the various pressure measuring Transducers.

c)	Write a detailed note on Gravitational Transducers for the measurement of                                                                                        pressure.

6.a)	What are the two kinds of measurements made of liquid level ?

b)	Explain the measurements with relevant equations.

7.   	When is venturi preferred to orifice?  Explain about different types of         	Venturimeters with figures.  How is a venturimeter specified ?

8.	Briefly survey the factors to be considered either in selecting an instrument or designing or developing a new one.

@@@@@

Code No: 310805

Set No:

2

III B.Tech. I-Semester Regular Examinations, November-2003

PROCESS INSTRUMENTATION

(Chemical Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any FIVE questions

All question carry equal marks

- - -

1.a)	Define a sensing element. Indicate how primary detectors are classified.

b)	Define the terms accuracy, repeatability, span, sensitivity and errors.

2.	Explain why thermal wells are necessary and explain the various factors that are to be considered in their selection.

3. 	Explain the principle involved in spectroscopic analysis of the composition of a gaseous mixture. Describe the working of an IR spectrometer.

4. 	Describe the methods of measurement of moisture in paper, textiles and Lumber. Explain the principle.

5.	Discuss in detail the applicability of (a) Elastic Transducers and (b) Elastic Diaphragms in the measurement of pressure.

6.a) 	What is the direct measurement of liquid level?

b) 	Describe various methods of direct measurement of liquid level.

7.   	Describe the construction of a venturimeter with a figure showing clearly the pressure tap connections.  Explain the salient features of the working of meter.

8. 	Discuss briefly the classification of methods of chemical analysis adopted in a process industry. Highlight their unique features.

@@@@@

Code No: 310805

Set No:

3

III B.Tech. I-Semester Regular Examinations, November-2003

PROCESS INSTRUMENTATION

(Chemical Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any FIVE questions

All question carry equal marks

- - -

1.a)	What are the essential features of a good measuring instrument?

b)	Explain the static and dynamic characteristics of instruments.

2.	Name the most commonly used thermocouples and explain the desirable properties of thermocouples for industrial use.

3. 	What are the basic differences between atomic emission and atomic fluorescence spectroscopy? Why is source modulation often emplyed in atomic absorption spectroscopy?

4. 	Why is pH ion concentration measured. Explain the most common industrial method of measuring pH. Find the relation between composition and pH value.

5.a)	What are the common manometric fluids used in the manometers?

b)	Explain in detail the working of a simple U tube manometer.

6.	Describe the bubbler system used  for pressure measurement in open vessels, with a neat diagram.

7.   	Explain the differences between the principles of operation between head meters and area meters.  State the merits and demerits of each of them.

8. 	Discuss about the various sampling techniques that are used for chemical analysis in a process industry. Give the scheme of a sample preparation system in steam analysis.

@@@@@

Code No: 310805

Set No:

4

III B.Tech. I-Semester Regular Examinations, November-2003

PROCESS INSTRUMENTATION

(Chemical Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any FIVE questions

All question carry equal marks

- - -

1.	What are the Dynamic characteristics of a measuring instrument? Describe them 	in detail.

2.	What are the difference between radiation and optical pyrometers? Explain any one with a neat sketch.

3. 	What is beer's law? Derive and give its application.

4. 	What is the sensitivity of a thermal conductivity gas analyser? What are the different methods of allowing sample in to it? How can it be used for binary mixtures?

5.a)	What is the device employed to measure the atmospheric pressure?

b) 	What is its accuracy?

c) 	With a neat diagram explain its working

6.a) 	Write the relation between head and float displacement.

b) 	Explain  differential pressure manometer for measuring liquid level

7.   	Draw the figure of an orifice meter fitted in a pipe line and show the flow pattern before and after the orifice.  Show clearly the points of pressure measurements.

8.a)  	What are the essential differences between a strip chart recorder, circular             chart recorder and an  x-y recorder.  Explain the working of x-y recorder with a figure.

b)  	When an indicating instrument is used. Discuss the three types of indicating scales with figures.

@@@@@