Code No:311103

Set No.

1

III B.Tech. I-Semester Regular Examinations, November-2003.

BASIC CLINICAL SCIENCES -II

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Explain in detail a ball and socket joint. Give examples.

b)	Write a brief note on blood transfusion.

2.a)	What are the different types of anesthesia administered to the patients?

b)	Describe the properties of anesthetic gases.

3.a)	Discuss the monitoring of patient parameters noninvasively  during surgery.

b)	What is the role of artificial respiration in an anesthetized patient?

4.a)	Discuss the application of radioisotopes in radiotherapy.

b)	What are the indications for chemotherapy?

5.a)	Discuss the effects of radiation on blood and blood forming organs.

b)	Enumerate the maximum permissible doses for the staff in radiation departments.

6.	Describe in detail the various methods involved in radiation dosimetry.

7.a)	Explain the thyroid imaging system using I-131.

b)	Explain how the radiation distribution in the body is determined.

8.	Write short notes on:

a)	CSSD.

b)	Radioimmunoassay.

$$$

Code No:311103

Set No.

2

III B.Tech. I-Semester Regular Examinations, November-2003.

BASIC CLINICAL SCIENCES -II

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Classify joints. Explain about the degree of movement at each type of joint.

b)	Discuss about blood groups.

2.a)	Explain how anaesthetic gases are useful during surgery.

b)	Discuss the monitoring of critical parameters of the patient during surgery.

3.a)	Explain in detail the technique of impedance plethysmography.

b)	Write about the equipment used in CSSD.

4.a)	Discuss the various approaches used in cancer therapy.

b)	Explain the terms radioresistivity and radio sensitivity of tumors.

5.a)	What is oxygen effect?

b)	Explain the modification of radiation response by different modifiers.

6.a)	Discuss the possible risks due to over exposure to radiation.

b)	Write short notes on radiation dosimetry.

7.a)	Discuss the use of radio- isotopes in medicine.

b)	Explain the features of radioisotopes used for liver scan.

8.	Write short notes on:

a)	Blood transfusion.

b)	Normal tissue tolerance dose.

$$$

Code No:311103

Set No.

3

III B.Tech. I-Semester Regular Examinations, November-2003.

BASIC CLINICAL SCIENCES -II

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Give an account of any four tests done in a pathology lab.

2.a)	Explain the techniques used to monitor the respiration and temperature of a patient undergoing surgery.

b)	How do you organize an operation theatre?

3.a)	Based on the cell radio sensitivity classify tumors.

b)	Explain cell survival theory and oxygen effect.

4.a)	What are possible genetic effects of radiation?

b)	What are the protective measures adopted for the staff of the radiation department.

5.	Explain radiation carcinogenesis and lenkaemogenisis.

6.a)	What are the normal tissue tolerance doses?

b)	Discuss about the tests performed before blood transfusion.

7.	Explain the techniques of imaging the cardiovascular system.

8.	Write short notes on:

a)	Thyroid function tests.

b)	CSSD.

$$$

Code No:311103

Set No.

4

III B.Tech. I-Semester Regular Examinations, November-2003.

BASIC CLINICAL SCIENCES -II

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	What are the indications for joint replacements?

b)	Explain the procedure used for blood grouping, giving an account of different blood groups.

2.a)	Discuss the properties of different anesthetic gases.

b)	Explain the precautions to be observed while handling anesthetic gases.

3.a)	Derive the expression which relates the change in impedance to blood flow.

b)	Explain the diagnostic and therapentic indications of artificial respiration.

4.	Explain the various modes of cancer therapy.

5.a)	Discuss the modification of the radiation response by physical, chemical and biomedical modifiers.

b)	Describe the effects of radiation on the human body.

6.	Discuss the various radiation protection measures.

7.a)	What are the various renal function tests?

b)	Write about Radioimmunoassay.

8.	Write short notes on:

a)	Polycythemia.

b)	Pre – and post – anesthetic care.

$$$