Code No:311304

Set No.

1

III-B.Tech., I-Semester Regular Examinations, November-2003

PROCESS CONTROL

(Electronics Control Engineering)

Time: 3hours								Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

----

1.a)	What is meant by batch process and self regulation?

b)	Define interaction in a process, derive the transfer function for the liquid level process shown below .

2.a)	Compare the Proportional controller, Proportional-integral controller and Proportional-Integral-derivative controller in terms of  its performance.

b)	Explain Ziegler-Nichols method of conhotter tuning.

3.	With a suitable example derive the step response of a first order and second order instrument and define the various terms related to it.

4.	Explain in detail about hydraulic, pneumatic and electronic proportional controller.

5.a)	Can feedforward controller be used alone. Justify your answer.

b)	Compare  feedforward and feedback control system.

c)	Comment on the tuning of cascade controller.

6.a)	Draw a neat figure of pneumatic actuator with positioner and explain. List its advantages.

b)	Write a brief note on combustion control.

7.	Write short notes on :

(a)	Drum level control

(b)	Drum pressure control.

8.	Draw a neat figure of distillation column with its major control loops and  explain.

!!!!!

Code No:311304

Set No.

2

III-B.Tech., I-Semester Regular Examinations, November-2003

PROCESS CONTROL

(Electronics Control Engineering)

Time: 3hours								Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

----

1.a)	Define liquid resistance and capacitance in case of turbulent and laminar flow.

b)	Compare batch process and continuous process.

c)	Derive the transfer function of mercury-in-glass thermometer.

2.	Consider the liquid-level control system shown in figure. The tanks are                  non-interacting.  The following information is known

(a)    The resistance on the tanks are linear.  These resistances were tested separately

and  it was found that the slope of the line   dqdh  is 2ft2min , where q is the steady state flow in cfm and h is the tank level.

(b)    The cross sectional area of each tank is 2ft2.

(c)   The control value was tested separately and it was found that a change of 1 PSi

in pressure to  the value produced a change in flow of 0.1 cfm.

(d)    There is no dynamic lag in the valve or the measuring element.

i) 	Draw the block diagram of this control system, and in each block give the transfer function, with numerical values of the parameters.

ii)	Determine the controller gain Kc for a critically damped response.

iii)	If the tanks were connected that they were interacting, What is the value of Kc needed for critical damping.

(Contd..2)

Code No:311304				-2-				Set No:2

3.	Briefly explain the various methods of measuring temperature.

4.	Given a system with transfer function

y(s)x(s)=1(P1s+1)(T2cs+1).  Find y(t) if x(t) is a unit step function.

5.	Explain feedforward and Ratio control with an appropriate example.

6.	Draw a simple schematic of heat exchanger and explain the control.  Explain how     bypassing the heat exchanger improves dynamic response.

7.	Explain the terms chemical equilibrium and reaction rate in chemical reactors.

8.a)	Explain the composition control and pressure control in distillation column.

b)	List the various variables to be measured and controlled in a Nuclear power plant.

!!!!!

Code No:311304

Set No.

3

III-B.Tech., I-Semester Regular Examinations, November-2003

PROCESS CONTROL

(Electronics Control Engineering)

Time: 3hours								Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

----

1.a)	Define degrees of freedom and explain with an example.

b)	Define offset, explain how it can be eliminated using proportionate controller and Integral controller.

c)	Can derivative controller be used alone?  Justify.

2.a)	What is meant by turning of controllers.

b)	In a second order system, comment on the value of the damping provided

c)	Write short note on automatic controller circuits.

3.a)	Briefly explain how an supply for pneumatic systems is arranged ?

b)	Draw a neat figure of electro pneumatic actuator and exaplin.

4.a)	Explain how a cascade controller as turned.

b)	What is meant by valve sizing, enumerate the procedure for the same.

c)	A value with a CV  rating of 4.0 is used to throttle the flow of glycerine for which G=1.26. Determine the maximum flow through the value for a pressure drop of 100 PSi.  (G-specific gravity relative to water).

5.a)	How would you determine the type of process that would require a cascade control and the type that would require feedforward control ?  What are the basic differences between them?

b)	Explain how to decouple temperature from flow in heat transfer control.

6.	Draw required schematics and explain the control of fuel and air in combustion.

7.	Write the significance of temperature in exothermic reactor and explain how it is controlled.

8.a)	Explain the direct and indirect method of top product composition control in distillation column.

b)	What is meant by internal and external reflux?

!!!!!

Code No:311304

Set No.

4

III-B.Tech., I-Semester Regular Examinations, November-2003

PROCESS CONTROL

(Common to Electronics Control Engineering)

Time: 3hours								Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

----

1.a)	Define the terms control variable, manipulated variable and load variable with  suitable examples.

b)	Explain how a regulatory system is different from a servo system.

c)	What are the three common different control actions used in process control system. How do they act ?

2.	Briefly explain the few pressure and flow measuring instruments.

3.	A step change of magnitude 4 is introduced into a system having the transfer function

X(s)Y(s) = 10s2+1.6s+4   Determine :

- Percent overshoot	(b)	Rise time	(c)	Maximum value of y(t)

- Ultimate value of y (t)		(e)	Period of oscillation.

4.a)	What is a ratio control system ?  Discuss such a control system with a specific process.

b)	With a specific example, explain how feedforward controller improves the performance of a conventional feedback controller.

5.a)	Sketch a pneumatic spung type actuator with a positioner and explain ?

b)	The stroke length of a sprung motoris 7.5 cm and the diameter of the diaphragm is 25 cm , what should be the sprung constant ? For a specified hysterisis of 1%, what would be the thrust and frictional forces ?

6.	Explain with diagrams the different commonly adopted techniques of boiler control?

7.a)	What are the parameters to be controlled in a heat exchanger and chemical reactor.

b)	What are the parameters required to be controlled in Nuclear power plant ?  How are they controlled.

8.	Explain the control scheme used in a barometric condenser and in a fluid bed dryer.

!!!!!