Code No: 310854

OR

III B.Tech. I-Semester Supplementary Examinations, November-2003

PROCESS INSTRUMENTATION

(Chemical Engineering)

Time: 3 Hours							Max. Marks: 70

Answer any FIVE questions

All question carry equal marks

- - -

1.	What are the static characteristics of a measuring instrument? Describe them in 	detail.

2.	Enlist the different types of pyrometers. With a neat diagram, describe the working principles of one type of pyrometer.

3. 	Why is composition analysis  required in a process industry ? Write briefly on the qualitative and quantitative measurements with suitable examples. Highlight about positive  methods of composition analysis.

4. 	Describe the method of estimation of SO2 in industrial effluent gas.

5.a)	Define pressure and vacuum.

b)	State the various pressure measuring Transducers.

c)	Write a detailed note on Gravitational Transducers for the measurement of                                                                                        pressure.

6.a)	What are the two kinds of measurements made of liquid level ?

b)	Explain the measurements with relevant equations.

7.   	When is venturi preferred to orifice?  Explain about different types of         	Venturimeters with figures.  How is a venturimeter specified ?

8.	Briefly survey the factors to be considered either in selecting an instrument or designing or developing a new one.

@@@@@