Code No: 311051

OR

III B.Tech. I-Semester Supplementary Examinations, November-2003

PROCESS CONTROL INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 hours							      Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a) 	Mercury thermometer is a first order system – Say “True” or “False”.

b)	Prove your answer by deriving the transfer function of this system.

c)	How will this system behave with a linearly varying input? Explain the dynamics.

2.a)  	Differentiate between a non-interacting system and an interacting system.

b)	Give one example each for non-interacting system and interacting system.

c)	Derive the transfer functions for the above two systems and discuss how they 	differ.

3.a)	Explain the principle of different types of  discontinuous controller modes with examples. Mention them applications.

b) 	Distinguish between multi position controller mode and floating control mode with neat sketches.

4.a)	Briefly  explain  the principle  of  operation   of  a  displacement  type  pneumatic  PD  controller.  How the derivative time can be adjusted in this controller.

b)	Outline the design steps involved in developing an electronic PI controller.

5.a) 	Describe the following types of disturbances with relevant sketches.

(i) Transient        (ii) Set point changes       (iii) Load changes.

- Write a short note on the following errors.

(i) IAE     (ii) ISE      (iii) ITAE

6.	 Explain different types of electrical actuators and give their applications.

7.a)	Give the schematic of single seated and double seated valves.

b)	What are the advantages and disadvantages of single seated and double seated valves?

8.a) 	Explain the nature of multivariable system.

b) 	Explain “Notation“ and “Interaction” used in multivariable system.

^^^